Information prepared by the Infectious Diseases, AIDS and Clinical Immunology Research Center

Enclosed please find updated list of necessary equipment requested within the project “Strengthening technical capacity of infectious diseases control service in Georgia”

Based on updated needs assessment we slightly changed the list. Namely two previously included items “System for long-term kidney replacement therapy in acute care and for intensive care” and “Automated immunoassay analyzer” were removed. Two new items were added: “Automated immunofluorescence processor” (item 13 in the new list) and “Real-time PCR system with automated extraction equipment”. Also, unit prices for some items had been clarified and quantity of several items were increased, including “Variable single- and multi-channel pipettes, medical refrigerators and freezers.

Below you can find clarifications on requested items, please let us know if more detailed specifications are needed and advise the format how you prefer specifications to be prepared.

1. Under item 10 “System for long-term kidney replacement therapy in acute care and for intensive care” is requested for acute critical conditions to support continuous renal replacement therapy (CRRT) with continuous hemodialysis, hemofiltration and hemodiafiltration. Example of such system is MultiFiltratePRO manufactured by Fresenius Medical Care.

2. Item entitle “System for liver and kidney replacement treatment” was removed from the list.

3. Under item 11 “High-throughput (next generation) sequencing system” benchtop size system is requested with high-throughput capabilities. The system will be primarily used in infectious diseases including for drug resistance surveillance of HIV; molecular characterization of emerging strains of HIV, HCV and other organisms; monitoring transmission dynamics; outbreak investigations and other clinical microbiology studies of national and international interest. Example of such system is NextSeq 550 system manufactured by Illumina.

4. For item 24 Laboratory and clinical furniture suggested forms was filled separate sheets for clinical and laboratory furniture as provided in the form.

5. Under item 25 vehicle we request 3 automobiles, including 2 small/medium sized hatchback or sedan type automobiles and 1 crossover/SUV type automobile with off-road capability.

List of necessary equipment

| # | Item | Unit cost | QTY | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | X-ray scanner stationary | 390,000 | 1 | 390,000 |
| 2 | X-ray scanner portable | 151,000 | 1 | 151,000 |
| 3 | CT scanner | 700,000 | 1 | 700,000 |
| 4 | MRI scanner | 1,300,000 | 1 | 1,300,000 |
| 5 | Ventilation and respiratory monitoring machine | 51,800 | 7 | 362,600 |
| 6 | Universal ultrasound system | 50,000 | 2 | 100,000 |
| 7 | Monitoring system for ICU department (set for 12 beds) | 161,000 | 1 | 161,000 |
| 8 | Endoscopic devices (video-grastroscope, videო-colonoscope, video-bronchoscope) | 150,000 | 1 | 150,000 |
| 9 | System for aphaeresis | 46,000 | 1 | 46,000 |
| 10 | System for long-term kidney replacement therapy in acute care and for intensive care with water purification system | 127,000 | 1 | 127,000 |
| 11 | High-throughput (next generation) sequencing system | 485,000 | 1 | 485,000 |
| 12 | Flow-cytometer | 126,000 | 1 | 126,000 |
| 13 | Automated immunofluorescence processor | 51,200 | 1 | 51,200 |
| 14 | Real-time PCR system with automated extraction equipment | 94,000 | 1 | 94,000 |
| 15 | Blood gas and electrolyte analyzer | 51,500 | 1 | 51,500 |
| 16 | ELISA system (reader, washer, incubator) | 23,800 | 1 | 23,800 |
| 17 | Centrifuge with refrigerator | 7,800 | 1 | 7,800 |
| 18 | Microplate centrifuge | 20,600 | 1 | 20,600 |
| 19 | Standard centrifuge | 6,400 | 2 | 12,800 |
| 20 | Variable single-channel pipettes | 430 | 40 | 17,200 |
| 21 | Variable multi-channel pipettes | 500 | 25 | 12,500 |
| 22 | Medical refrigerator | 4,100 | 10 | 41,000 |
| 23 | Medical freezer | 15,000 | 10 | 150,000 |
| 24 | Laboratory and clinical furniture | 335,000 | 1 | 335,000 |
| 25 | Vehicle | 18,000 | 3 | 54,000 |
|  | TOTAL |  |  | 4,970,000 |