## All Questions 1-211
HDTRA1-16-R-0027: CTRIC III - Questions and Answers (Q&As)
Original Due Date: Thursday, 6/08/17 by 9am EST
Revised Due Date: Monday, 6/12/17 by 9am EST
Note: In the event of inconsistencies between the RFP and Q&As, the RFP supersedes. All revisions noted below are reflected in the RFP Amendment 01.
# | Reference | Question Category | Questions from Potential Offerors | Government Response
1 | Attachment 2 | Contract | When the draft RFP was issued a few months ago, potential bidders noted that (unlike the language in the current CTRIC-II and BTRIC DD-254s), the wording permits ONLY US citizens with Secret clearances to perform work under CTRIC-III. DTRA stated this would be fixed in the final RFP release, but it appears that no changes in wording have been made. Will DTRA please update the DD-254 to permit the use of host country national and 3rd country national staff, as task orders are normally unclassified? | Provided: Attachment 11- revised DD254, use of host country national and 3rd country national staff will be allowed for all non-classified work.
2 | Attachment 4 | Contract | Will DTRA please reissue this form as either a Word or editable .pdf document? [The current .pdfs are not editable/bidders cannot type entries on the form, unless changes are made using the full version of Acrobat]. | Provided: Attachment 13- Revised PPQ Word File
3 | Section L.4.3, pg 94 | Technical | The instructions regarding PPQs advise bidders that “The Offeror [EMPHASIS ADDED] shall submit PPQs for each of the topics listed below” and “A maximum of 14 PPQs may be submitted and shall be submitted on the forms provided in Section J, Attachment 4.” Please clarify: a) Is DTRA requesting a maximum of 14 PPQs from the Prime only (not from teammates/subs), such that any information in a particular PPQ that is related to Past Performance from a teammate or sub is contained in one of the Offeror’s/Prime’s own PPQ submissions (a maximum of two PPQs for each of the 7 topics listed in the Page 94 table)? b) Or may up to 14 PPQs be submitted by the Prime, and up to 14 PPQs by each named sub/teammate? | Revised: a) From: The Offeror shall submit PPQs… To: The Offeror (and/or its team members) shall submit PPQs... Clarified: b) A maximum of up to 14 PPQs may be submitted from the Prime and/or its team members.
4 | SF 33 & L.1.4 | Contract | The SF 33 states "Sealed offers in original and 1 copies for furnishing the supplies…." This appears to conflict with RFP Section L.1.4 which states "Proposals will be submitted in electronic copies." Please clarify whether any paper copies are required. | Clarified: Only one (1) electronic submission of the proposal is required.
5 | L.1.3 & Section L.6.2 | Contract | Section L.1.3 states that Task Order 0002 - Senegal has a page limit of 20 pages. Does this page limit apply to only Section 2 (Management Approach and Technical Approach)? If not, how do we accommodate the Past Performance and Price portions of this Volume within the page count? | Clarified: The page limit only applies to the Management/Technical Volumes. PPQs and Cost remain unlimited.
6 | L.1.3 & Section L.7.2 | Contract | Section L.1.3 states that Task Order 0003 - Philippines has a page limit of 25 pages. Does this page limit apply to only Section 2 (Management Approach and Technical Approach)? If not, how do we accommodate the Past Performance and Price portions of this Volume within the page count? | Refer to Q5.
7 | Section L.6.5 | Contract | Given that each Volume is to stand alone, how are the "Past Performance" PPQs to be "flow[ed] down" in the Task Order Volumes? Are we to insert the appropriate PPQs in this section? | Clarified: PPQs provided by the Offeror that clearly notes Past Performance in the areas idenfitied in the RFP for each TO will be flowed down to the TO itself. There is no requirement to submit additional information. Refer to the RFP instructions.
8 | Section L.7.5 | Contract | Given that each Volume is to stand alone, how are the "Past Performance" PPQs to be "flow[ed] down" in the Task Order Volumes? Are we to insert the appropriate PPQs in this section? | Refer to Q7.
9 | Section L.2.2 & Section L.3.3 | Contract | L.2.2 lists the RFP Cross-Reference Matrix under Volume Organization; L.3.3 says the RFP Cross-Reference Matrix "only applies to Volume II." Several other volumes also include the RFP Cross-Reference Matrix in their contents for Section 1 (Volume IV, Volume V, and Volume VI). Can you please clarify in which volumes it is necessary to include the RFP Cross-Reference Matrix (which is to address only Volume II)? | Revised: Delete: This matrix only applies to Volume II.
10 | Section L.1.3 | Contract | It is suggested that we "test document submissions and gain familiarity with this tool" for electronic submission of the RFP volumes. Please provide instructions as to how to test the process. May offerors simply send a test file at a time of their convenience, and then request confirmatation of receipt from DTRA? Are there any individual electronic file size restrictions? | Clarified: Offerors may test the submission process by sending a test file to tammy.m.feige.civ@mail.mil and joyce.l.gamboa.civ@mail.mil with the title "TEST FILE" in the subject line. Upon receipt, the Government will confirm receipt of successful submission. The AMRDEC System allows a maximum of 25 files and no more than 2G for each upload. Multiple uploads are allowed, if needed.
11 | Section L.4.1 | Contract | The Section 1 for Volume III -- ID/IQ Past Performance -- does not include a List of Tables and Drawings. Is it allowable to have tables and/or drawings in the descriptions of the projects addressed in the PPQs? If so, may we include a List of Tables and Drawings in Section 1 of this Volume? | Clarified: The RFP does not require a List of Tables and Drawings for this section and shall not be submitted as a separate document. All information must be presented in one of the required sections or the PPQs. For example, including a table in Part A of the PPQ is acceptable.
12 | Section L.4.1 | Contract | The Section 1 for Volume III -- ID/IQ Past Performance -- does not include a Glossary of Abbreviations and Acronyms. May we include a Glossary of Abbreviations and Acronyms in this Volume? | Clarified: The RFP does not require a Glossary of Abbreviations and Acronyms for this section and shall not be submitted.
13 | L.1.3 & Section L.6.2 | Contract | The resumes for Key Personnel (limited to 2 pages each) for Volume V are indicated as exempt from the page count. May the schedule (down to 3 sublevels; 10 pages max for the schedule itself) also be exempted from the page count? | Clarified: Yes, schedules are not included in the the page count. Revised: From: Resumes…may be be submitted for key members of the team. To: Resumes…may be submitted for members of the team.
14 | L.1.4 vs. L.7 | Contract | Section L.1.4 (under "Page Limitations" at the top of Page 89) states, "Schedules are required for each Task Order (TO) requirement [emphasis added]. Schedules shall be submitted in as a .pdf and .mpp files and are limited to 10 pages." However, while a schedule is explicitly called out as a requirement for Task Order 0002 (Senegal) in both Section L and Section M, no similar requirement for submission of a schedule appears in the Task 0003 (Philippines) Section L.7 volume instructions, or in the Section M.7 Task 0003 evaluation criteria. Please advise if a schedule is required for Task 0003, and (if so) confirm it may be up to 10 pages and is exempt from the 25 page limitation for the Volume. | Clarified: Schedule is not included in the overall page count for each TO.
15 | Sections L.6 and L.7 | Contract | No Period of Performance (POP) is specified for Task 0002 and Task 0003. For purposes of proposal scheduling and pricing, will DTRA please specify an assumed start and end date for each Task? | Clarified: For TO 0002, the anticipated start date is 16 April 2018 with a base period of 18 months and an optional period of 12 months. For TO 0003, the anticipated start date is 01 November 2018, with no completion date as the Offeror shall propose a duration to accomplish all the tasks in the SOW. Both PoPs are inclusive of close out procedures.
16 | Attachments 6 and 7 | Contract | The SOWs provide a table identifying by name the CDRLs that will be required, but neither the CDRLs themselves or the underlying DIDs have been provided in the RFP or Bidders Library. Please provide the CDRLs and DIDs. | Provided: Attachment 15- TO 0002 CDRLs Attachment 16- TO 0003 CDRLs Attachment 17- All DIDs
17 | Section L.7.6 | Contract | Section L.7.6 instructions for pricing Task 0003 requires that "The cost summary shall be itemized by Work Breakdown Structure (WBS), Contract Line Item Number (CLIN), and cost elements," but not CLIN structure or listing of CLINs is provided in the RFP. Unlike the Section L.6 instructions for pricing Task 0002 (where offerors are tasked to propose a CLIN structure), the L.7.6 instructions contain no such tasking. Please provide a CLIN structure against which offerors should structure their bids for Task 0003. | Clarified: The Offeror shall propose a CLIN structure that is applicable and consistent with the requirements of the SOW.
18 | Sections L.2.2, L.3.2, L.4.1, L.5.1 | Contract | Can DTRA confirm that the Government's intent for the wording in each of the cited Section L paragraphs for bidders to submit "...each section in a separate document..." means that the final .pdf of a Volume should be broken into multiple (stand-alone) electronic files (as per the relevant section instructions), by section, before submission? | Clarified: Confirmed, a "separate document" means a separate electronic document.
19 | Attachment 4 and Section L.4.3 | Contract | Please confirm that (for PPQs on current or previous DTRA projects) the offeror is permitted to send the PPQ forms directly to the COR or applicable DTRA Ops POC, with a request they complete the document and send it directly back to Ms. Joyce Gamboa? | Clarified: Confirmed, PPQ Part B should be sent directly to the COR or other evaluator with a request that the document be submitted directly to Ms. Joyce Gamboa. PPQ Parts A and C should be submitted directly to Ms. Joyce Gamboa by the Offeror (or its team member). PPQs may be submitted accordingly before the proposal submission deadline.
20 | Attachments 6 and 7 | Contract | The referenced SOW sections state, "The Contractor shall be responsible for all shipping and logistics for tasks arising under this contract." However, the referenced SOO Appendix incorporates the Single Shipper SOP as an Applicable Document for the CTRIC-III IDIQ; this SOP requires the use of the Single Shipper. Please confirm if the contractor will be responsible for all international shipping on Tasks 0002 and 0003 (and thus should price and schedule these activities as part of the offeror's proposal), or if the Single Shipper will be used IAW the referenced SOP. In a related question, if indeed the Single Shipper will NOT be used for Tasks 0002 and 0003, is this applicable to future Task Orders as well, or will future task orders under the IDIQ require use of the Single Shipper? | Clarified: Logistics on both TO 0002 and TO 0003 shall be performed by the Offeror as correctly instructed in the SOW. All future TO requirements under this ID/IQ will be stand-alone requirements and logistics will be determined at the TO level.
21 | RFP Attachment 4 | Contract | The Part C instructions state, "For each contract number listed below, the same contract number shall not be submitted in a PPQ." For proposal purposes, is a different task order (perhaps for a different country) under the same overall IDIQ contract considered to be a different contract number? | Clarified: Offerors may submit different TOs under the same ID/IQ. Revised: From: …shall not be submitted in a PPQ. To: …shall not be submitted in a PPQ Part B. Provided: Attachment 12- Revised PPQ
22 | Attachment 7 (TO 0003) | Technical | Is a wifi connection acceptable for the “four (4) internet access ports”? | Yes.
23 | Attachment 7 (TO 0003) | Technical | Please clarify if the requirement is for the Contractor to only support the Philippines Stakeholders themselves in applying for commercial utilities connections or whether the Contractor must secure all the connections in the Contractor's own name (e.g., apply for the connections, pay connection fees, etc.). | Clarified: Yes, only to support the Philippine stakeholders in applying for commercial utilities.
24 | Attachment 7 (TO 0003) | Technical | Is a haul-out system required for the boats up to 45 feet? Or is the scope limited to the maintenance facility itself, and the PCG will provide the haul-out solution? | Clarified: No haul-out system is required
25 | Section L7 | Technical | For pricing purposes, how long (for how many months) shall the Contractor pay for recurring utilities? | Revised: Add: (3) In the SOW, Item 0003, assume 12 months of payments
26 | Attachment 7 (TO 0003) | Technical | As design changes and additionals are required to be integrated into the existing NCWS, if the successful offeror is not the incumbent, will DTRA provide previous SEPs and design drawings during the design phase, to ensure continuity with the system? | Clarified: Yes, if required.
27 | Attachment 7 (TO 0003) | Technical | Timing of training deliverables -- what is DTRA’s expectation on the timing of providing all training materials to DTRA and the local Philippine Government agency staff, or the local Philippines Implementing Agencies (IAs), in electronic and hard copy formats? Provided separately or concurrently? As soon as the materials are prepared? For review and comment before finalization? For final approval before conducting training? After training is finished for catalog purposes? [This may be answered once the CDRLs are provided]. | Clarified: Offerors shall follow the directions in the CDRL, as provided. Refer to Q16.
28 | Section L6 | Technical | Regarding the in-person kick-off meeting - should the contractor assume the kick-off will occur in the Washington DC area? | Revised: Add: The Offeror shall provide a cost narrative that identifies all derived assumptions relating to estimated costs. (1) In the SOW, Item 0004, assume the Contract kick-off will take place in Lorton, VA. Clarified: Technical kick-off is anticipated to take place in Senegal two weeks after contract award.
29 | Attachment 6 (TO 0002) | Technical | Should the contractor assume there will be 40 total SOPs (4 topics with 10 areas of operational use or procedure)? | Revised: Add: (2) In the SOW, Item 0002, assume a total of 40 SOPs.
30 | Attachment 6 (TO 0002) | Technical | How many days should the contractor assume for each training session? | Clarified: IAW the SOW, the Offeror is required to submit a schedule and shall propose training duration as instructed.
31 | Attachment 6 (TO 0002) | Technical | The SOW reads "The training shall take place at the NPHL or another facility in Theis, Sengal and provided by DTRA". What is being provided by DTRA -- the training facility, the logistics, or just information on the facility location? | Clarified: DTRA will provide the training facility but will not provide the logistics or training materials.
32 | Attachment 6 (TO 0002) | Technical | How much USG review time should the contractor build into the schedule for DTRA's training material review process? | Refer to Q16 for Attachment 15.
33 | Section L7 | Technical | How many QPMRs should the contractor assume will be CONUS? | Revised: Add: (4) In the SOW, Item 0001, assume two (2) PMRs to take place CONUS.
34 | Section L7 | Technical | How many participants should the contractor assume will attend each CONOPS working group? Will the contractor have to provide any travel support (i.e., hotel, transportation, meals, etc.)? Should the contractor assume that translators and equipment will be required at these working groups? | Revised: Add: Of the 75 total participants, assume 25 local participants and 50 traveling participants. Travel support shall be included and translators are not required.
35 | Attachment 7 (TO 0003) | Technical | The SOW states that "…to develop functional and performance objectives for four (4) additional substations in the NCWS." Should the contractor assume a requirement to design 4 new substations? Why are there 4 designs required if only one new facility and one renovation are being implemented? | Clarified: Of the 4 total designs, 1 is for a new facility, 1 is for a renovation, and 2 are for the maintainance facilities. Revised: From: …four (4) additional substations in the NCWS. To: …four (4) additional substations and maintanence facilities in the NCWS. Provided: Attachment 18- Revised TO 0003 SOW
36 | Attachment 7 (TO 0003) | Technical | The Design states that hybrid backup power capability is required for a minimum of 12 hours, but Item 0003 Implementaion states that both new and renovated substations require 24 hours of backup power. Which is required -- 12 hours, or 24 hours? | Revised: From: …ensure a minimum of 12 hours of power… To: …ensure a minimum of 24 hours of power… Provided: Attachment 18- Revised TO 0003 SOW
37 | Attachment 7 (TO 0003) | Technical | The SOW states that "No later than 120 days after TO award, the contractor shall update the documentation for final approval by the DTRA PO through a CDR process." Please confirm this statement means that the critical design review should occur no later than 120 days after contract award. | Confirmed.
38 | Attachment 7 (TO 0003) | Technical | What condition should the contractor assume the building to be renovated is in? Will DTRA provide a plug number for the building renovations so that all bidders price the same requirement? | Add: (5) In the SOW, Item 0002, assume the building is operable, but in disrepair. All utility systems do not comply with local building code and power is not adequate to support air conditioning. Structure is stable and assume no structural renovations are required.
39 | Attachment 7 (TO 0003) | Technical | The substation building being renovated is significantly larger than the new construction substation, but both have the same functionality requirements. Please confirm that the renovation should be on a 20m x 50m three story building. | Confirmed.
40 | Attachment 7 (TO 0003) | Technical | There is no design requirement for the maintenance facilities under Item 0002. Does a design already exist for these facilities? If so, will DTRA provide it to bidders? | Refer to Q35.
41 | Attachment 7 (TO 0003) | Technical | Is there a requirement to provide maintenance equipment for the maintenance facility? If so, will DTRA provide an equipment list? | Clarified: The required equipment for the Maintenance Facility is stated in the SOW, page 8, paragraph (3). In addition, the SOW also requires a CDRL for the Equipment Procurement Plan. The Offeror shall propose sufficient equipment and materials to ensure the functions delineated can be performed.
42 | Section L7 | Technical | The cited section contains a requirement for a two year warranty and spares and consumables. Should the contractor assume the NCWS will self-perform their own preventive and corrective maintenance on the provided equipment? | Revised: Add: (9) Assume NCWS will perform maintenance as required by user manuals in order to maintain the required warranty.
43 | Attachment 7 (TO 0003) | Technical | The cited section contains a reference to a design period, and to Preliminary and Critical Design Reviews. Should this reference be elsewhere, or (if not) what design activity is the contractor responsible for during the Sustainment period? | Clarified: There is no design requirement in the Sustainment section of the SOW.
44 | Section L7 | Technical | Is the contractor required to provide travel support (airfare, lodging, meals, etc.) for any of the training activities, workshops or exercises? If so will DTRA povide assumptions as to how many trainees will require this suport? | Add: (6) In the SOW, Item 0004, assume 10 travelers per class with full travel support.
45 | Attachment 7 (TO 0003) | Technical | When (between what months after contract award) should the contractor assume the CONOPS workshops should start? | Clarified: The CONOPS workshop shall commence as soon as the Contractor's Team has mobilized.
46 | Attachment 7 (TO 0003) | Technical | Is the equipment listed in Appendix B for the new substations or for existing substations? (Some quantity notes list 4 locations, and some list 5). Also, the implementation section only shows 2 substations being built/renovated. Can DTRA provide further clarification as to the equipment in this appendix? | Refer to Q35.
47 | Attachment 7 (TO 0003) | Technical | Many of the equipment items listed in Appendix B have both Make and Model listed as "Unidentified," but bidders are also required by Appendix B to propose a "suitable equivalent." In order to comply with the latter requirement, bidders must know the current make and model number. Alternatively (if the actual make and model numbers are unknown or unavailable), for consistency of pricing would DTRA please provide a "strawman" make/model that can use used by all bidders? (At present, only the CTRIC incumbent will be aware of the current make/model, and therefore is the only bidder in a position to be able to comply with proposing a "suitable equivalent" without additional information in the RFP). | Provided: Attachment 3- Item 12- TO 0003 Master Equipment List
48 | Attachment 7 (TO 0003) | Technical | There is equipment that requires training in Appendix C that is apparently not being provided as part of this TO. Please confirm the contractor is still required to provide training on this (previously-provided?) equipment. If training is required on this equipment, will DTRA please provide the make and model number? | Refer to Q47.
49 | Section L7 | Technical | What quantity is required for each item listed in the Appendix D: Required List of Spare Parts? | Revised: Add: (7) In the SOW, Item 0003, assume 10% delivery quantity for spare parts.
50 | Section L.5.2, page 94 | Contract | The instruction states that the Offeror shall comply with reporting requirements "identified in the SOO with reference to the Quality Assurance Plan (QASP)." There is no reference to a QASP in the SOO. Will DTRA please provide in the SOO the description of the QASP to which this requirement applies? | Provided: Attachment 10- Revised SOO.
51 |  | Contract | Reserved
52 |  | Contract | Reserved
53 | Section L.1.4, pg 89 | Contract | The requirement for Schedules does not appear in the "Volume Organization" of L.5 or L.6. Where do Schedules go? | Clarified: For L5, it's not required. Refer to RFP instructions in L6.4.
54 | Section L.1.4, pg 89 | Contract | Does the 10 pages for Schedules count against the page limits for TO002 and TO0003? | Refer to Q14.
55 | Section L.2.2, pg 90 | Contract | Only one section (Section 1) is stated in the RFP for this Volume. Do items 3 (Company Organization) through 13 (Additional Information) go in Section 1? | Yes
56 | Section L.2.12, pg 91 | Contract | This verbiage conflicts with the Section M.1.5 (pg 100) statement that, "General considerations do not receive ratings; however, the Government may consider these factors when making the best value decision." Typically, Section M governs. Should contactors assume that these business systems "may be considered" without requiring them? | Revised: The approved business systems are required at the time of award as a matter of responsibility.
57 | Section L.3.3, pg 92 | Contract | Each volume's "Volume Organization" Section 1 contains an "RFP Cross-Reference Matrix" reference. Should an RCRM appear only in Volume II? | Refer to Q9.
58 | Section L.6.2, pg 95 | Contract | What Sections count towards the 20 page limit for this Volume? | Section 2
59 | Section L.7.2, pg 96 | Contract | What Sections count towards the 25 page limit for this Volume? | Section 2
60 | Section M.1.5, pg 100 | Contract | Is it correct that only the Prime Contractor's systems will be considered? | Clarified: No, IAW FAR 52.242-7005, the requirements flow down to subcontractors to the extent that the clause is applicable. For example, if the sub is not storing or handling material on a cost type subcontract, then the material management system is not applicable. Or, if the sub is not receiving a cost type subcontract, an approved accounting system is not applicable. Refer to DFARS 252.242-7005.
61 | Section M4.2, pg 103 | Contract | The Relevancy Table lists four (4) levels of relevancy: Very Relevant, Relevant, Somewhat Relevant, and Not Relevant. However, the "Overall Relevancy Key" only lists three (3) levels and excludes "Somewhat Relevant." Is the "Overall Relevancy Key" correct as stated? | Revised: From: Overall Relevance Key: …Account for 0 to 2 of topics, then "Not Relevant" ...Account for 3 to 5 of topics, then "Relevant" ...Account for 6 to 7 of topics, then "Highly Relevant" To: Overall Relevance Key: …Account for 0 to 1 of topics, then "Not Relevant" ...Account for 2 to 3 of topics, then "Somewhat Relevant" ...Account for 4 to 5 of topics, then "Relevant" ...Account for 6 to 7 of topics, then "Highly Relevant"
62 | Attachment 2 | Contract/ Security | Please describe the Agency’s needs that would be met by mandating that contractor employees working on this contract be U.S. citizens and clarify if the DD254 security and U.S. citizenship requirements apply only at the IDIQ level or also at the TO level. | Refer to Q1.
63 | Attachment 2 | Contract/ Security | Does this statement mean that all employees of the contractor performing work on this contract (direct and indirect) shall be U.S. citizens and hold a minimum of a SECRET clearance? | Refer to Q1.
64 | Attachment 7 (TO 0003) | Technical | Will the Single Shipper contract not be available for the CITRIC III IDIQ, or just Task Order 0003? | Refer to Q20.
65 | Attachment 7 (TO 0003) | Technical | Have any radars been procured previously through either CITRIC II or another vehicle? If so what was the make and model of the system to enhance compatability and maintenance sustainment? | Clarified: The full Master Equipment List is provided, refer to Q47.
66 | Attachment 7 (TO 0003) | Technical | Have any EO/IR cameras been procured and/or installed previously under CITRIC or another vehicle? If so what was the make and model of the system to enhance compatibility, communication, and maintenance sustainment? | Clarified: The full Master Equipment List is provided, refer to Q47.
67 | Attachment 7 (TO 0003) | Technical | There are three Harris 7800M called out. Are the three locations existing sub-stations? If so then would the equipment would to be delivered and installed? Are any of the three locations sub-stations to be built or renovated as specified on pg. 8 of the TO 0003 SOW? | Refer to Q35.
68 | Attachment 7 (TO 0003) | Technical | There are four Motorola VHF Radios of an unspecified model called out. Are the four locations existing sub-stations? If so then would the equipment need to be delivered and installed? Are any of the four locations sub-stations to be built or renovated as specified on pg. 8 of the TO 0003 SOW? Can the government specify a model number, accessories, and additional specifications? | Refer to Q35.
69 | Attachment 7 (TO 0003) | Technical | There are four Coastal Surveillance Radars of an unspecified model called out. Are the four locations existing sub-stations? If so then would the equipment need to be delivered and installed? Are any of the four locations sub-stations to be built or renovated as specified on pg. 8 of the TO 0003 SOW? Can the government specify a model number, accessories, and additional specifications? | Refer to Q35.
70 | Attachment 7 (TO 0003) | Technical | There are five EO/IR Cameras of an unspecified model called out. Are the five locations existing sub-stations? If so then would the equipment need to be delivered and installed? Are any of the five locations sub-stations to be built or renovated as specified on pg. 8 of the TO 0003 SOW? Can the government specify a model number, accessories, and additional specifications? | Refer to Q35.
71 | Attachment 7 (TO 0003) | Technical | There are five "Perimeter Fence and Security" of an unspecified material, height, and length called out. Are the five locations existing sub-stations? Are any of the five locations sub-stations to be built or renovated as specified on pg. 8 of the TO 0003 SOW? Can the government provide additional detail as to dimensions (height, length) to be covered by fencing and its material type? Is there a type of access point/gate required? What does "and Security" mean? Are there lighting requirements? CCTV requirements? | Clarified: For substation info, refer to Q35. For perimeter fence and security info, this is unknown at this time. For lighting and CCTV info, this is unknown at this time but is anticipated to be minimal. Location and further details to be providing at the time of Task Order award.
72 | Section L2, pg 91 | Contract | The Solicitation released on June 1, 2017 introduced this new requirement, which was neither included in CTRIC II nor previously shared with offerors nor included in draft RFPs. The new Approved Contractor Systems requirements will be nearly impossible to implement and have approved by DCMA prior to contract award. Offerors have no insight into or control over when DCMA can subsequently review and approve such systems. Because many businesses are substantially less likely to already have such contractor systems in place, or be able to have such systems approved before contract award, these new solicitation requirements will unduly restrict competition. Will the agency please explain the rationale for imposing these new requirements? | Clarified: The approved business systems are required at the award. IAW FAR 252.242-7005, the Offeror shall have an approved accounting system prior to receiving a cost type contract. If the Offeror is ineligible to receive a cost type contract, it would be ineffective and harmful to the intended competitive environment on this ID/IQ
73 | Section L2, pg 91 | Contract | Please describe the Agency’s needs that would be met by the Approved Contractor Systems requirements. | Refer to Q72.
74 | Section L2, pg 91 | Contract | Has the Agency considered less burdensome or less restrictive means to achieve their objectives for including the Approved Contractor Systems requirements? | Refer to Q72.
75 | Section L2.12, pg 91 | Contract | Please clarify what the Agency means by “...business systems below...” The Solicitation does not identify any business systems “below.” | Revised: From: "...approval of business systems below at the time of award…" To: "...approval of business systems at the time of award…"
76 | Section L2, pg 91 | Contract | Due to the time constraints to implement the Approved Contractor Systems requirements, coupled with the fact that offerors have no control over how quickly DCMA may approve contractor systems, will the agency amend the solicitation to permit a request for approval to occur at a later date following contract award or remove the requirement for Approved Contractor Systems other than an approved Accounting System? | Clarified: IAW Section L2.9, the Offeror may request a waiver except that an approved Accounting System and Purchasing System are mandatory and will not be waived.
77 | Attachment 7 (TO 0003) | Contract | The training requirement and description of CDRL A015 does not seem to be synchronized with the information contained in Appendix C on pg 14. Can the government further refine the exact training requirement? | Clarified: In addition to all the other training tasks specified in the SOW, CDRL A015 shall include required training of all the equipment listed in Appendix C.
78 | Attachment 7 (TO 0003) | Contract | Are there any Government furnished modules of training that will be made available from previous training courses conducted under CTRIC or any other DTRA contract vehicle? | Clarified: This is a stand-alone requirement. Previous trainings are not relevant to this requirement. Proposals shall be responsive to the SOW.
79 | Attachment 7 (TO 0003) | Technical | It appears there will be a mix of new substations and existing substations. How many new substations are to be designed? How many new substations are to be constructed? And how many of the existing substations are to be renovated? | Refer to Q35.
80 | Attachment 7 (TO 0003) | Technical | Where are the locations of the new substations to be designed? Where are the locations of the new substations to be constructed? Where are the locations of the renovated substations? Are there any other additional locations to consider? | Clarified: Locations are unknown at this time.
81 | Attachment 7 (TO 0003) | Technical | What design standards are to be used for the electrical design? | Clarified: The electrical design shall be in line with local building codes and regulations. The Offeror shall propose the most appropriate approach to meet the requirements. Refer to the SOW.
82 | Attachment 7 (TO 0003) | Technical | What are the design requirements and standards for security of the sites and/or substations? | Refer to the SOW.
83 | Attachment 7 (TO 0003) | Technical | Is the contractor responsible for bringing commercial power to the site? Is there any contractor scope outside the site related to commercial power? What is in the contractor's scope regarding the commercial power provider (i.e. coordination, relocating existing, etc.)? | Clarified: To the extent that commerical power is stable and available, the Contractor is responsible for connecting to commercial power. Otherwise, the Contractor is responsible for providing alternate power solutions as indicated in the SOW.
84 | Attachment 7 (TO 0003) | Technical | Commercial communications are not addressed. What is the contractor's scope regarding bringing commercial communications to the substations (i.e. on-site/not onsite, fiber, copper, phone, internet provider, etc.)? | Clarified: The Offeror shall propose the most appropriate approach to meet the requirements. Refer to the SOW.
85 | Attachment 7 (TO 0003) | Technical | Is solar required? | Clarified: IAW the SOW page 5, the Offeror is required to provide a hybrid backup power capability that is deemed most appropriate for the location. In addition, the SOW requires a CDRL for the Systems Engineering Plan, which shall include a plan for a backup power solution.
86 | Attachment 7 (TO 0003) | Technical | Please clarify the power back-up requirements of 12 hours vs. 24 hours. | Refer to Q36.
87 | Attachment 7 (TO 0003) | Technical | Clarify if the Contractor is required to secure a reliable power source from a commercial power provider, or is the intent to have a hybrid (generator, solar, UPS) system? | Refer to Q85.
88 | Attachment 7 (TO 0003) | Technical | Please clarify the extent of the required renovation. Should the contractor assume that the existing building is already fully gutted? Are renovated buildings to be completely newly renovated? | Refer to Q38.
89 | RFP | Contracting | Given that Contractors had no previous information regarding these two OCONUS Task Orders that represent the basis for the pricing and that there have been several changes to the RFP, will the Government extend the due date two weeks to July 28th? | Clarified: Not at this time; Offerors are encouraged to monitor the FBO website for all updates and status.
90 | Attachment 6 (TO 0002) | Technical | Will the trainees be local to the training location in Senegal? | Yes.
91 | Attachment 6 (TO 0002) | Contracting | Who is responsible for the costs of the trainees to travel to the training location? i.e. Airfare, lodging, local ground transportation, etc. | Clarified: Assume no airfaire or lodging is required. However, assume local transportation to an alternate training facility may be required.
92 | Attachment 6 (TO 0002) | Contracing | Will per diem payments be required for each participant? If so, who is responsible for the per diem payments? | Clarified: Per diem payments are required and the Contractor is responsible for those payments.
93 | Attachment 6 (TO 0002) | Contracing | Who is responsible for the meals of the trainees during training days? | Clarified: The Contractor will not provide meals.
94 | Attachment 6 (TO 0002) | Technical | Is there a limit for the number of hours per day and the number of days the training should be? | Refer to Q30.
95 | Attachment 6 (TO 0002) | Contracing | Who is repsonsible for the required equipment/materials for the training of the participants? | Clarified: The Contractor is responsible for providing equipment and materials for the trainings.
96 | Attachment 6 (TO 0002) | Technical | Does the National Public Health Laboratory (NPHL) in Theis, Senegal have current SOPs for the requested topics? If so, may we be provided those current SOPs? | Clarified: No known SOPs for the NPHL exist.
97 | Attachment 6 (TO 0002) | Technical | What method does DTRA expect the contractor to communicate with DTRA for the required meetings? i.e. Phone calls, written requests, etc. | Clarified: The Offeror shall provide an effective solution for communications with the DTRA team which may include a variety of methods (e.g. email, letters, phone calls, and in person meetings).
98 | Attachment 6 (TO 0002) | Contracting | Is Senegal currently covered under the DTRA umbrella agreement for VAT expemption? | Clarified: No DTRA Umbrella Agreement exists. However, note that the SOFA agreement exists and is provided as part of the Bidder's Library.
99 | Attachment 6 (TO 0002) | Contracting | Is the contractor required to use the CLS contract mentioned at the industry day for all shipping of equipment into Senegal? | Refer to Q20.
100 | Attachment 6 (TO 0002) | Technical | Who will identitfy the two (2) laboratories for training, mentor, and preparation for participation in the proficiency testing? When will these two (2) laboratories be chosen and provided to the contractor? | Clarified: The Contractor will identify the laboratories most ready to participate in the proficiency tests. The Offeror shall propose an appropriate third party to administer the proficiency testing and the Offeoror shall propose an effective approach, including a schedule, to train and prepare the laboratory staff to participate in the proficiency training.
101 | Attachment 6 (TO 0002) | Technical | To what international standard will the proficiency test be developed? | Refer to Q100.
102 | Attachment 6 (TO 0002) | Technical | Will contractor be required to procure any equipment, offsite training or other resources needed to prepare the five (5) laboratory staff to meet the standards for certification in the subject areas? | Clarified: The Contractor will be responsible for providing all the proper equipment and materials to support the professional certification.
103 | Attachment 7 (TO 0003) | Technical | Appendix C lacks the details required to properly address each training task. Will the government please provide additional detail in regards to item description and provide make and model of item to be trained; duration of the training; and, location of the training to be conducted? Additionally, is the assumption of 20 students per training still valid for Appendix C? | Clarified: For equipment, refer to Q47. For training, the Offeror is required to submit a schedule and shall propose training duration. For pricing assumption of 20 students per training, this is correct as stated in the RFP.
104 | Attachment 7 (TO 0003) | Technical | This paragraph mentions "12 hours" of power to mission essential equipment, but page 8, paragraph (1) mentions "24 hours" of backup battery power. Question: Is the system requirement 12 or 24 hours of backup battery power? Is this requirement the same for all sites? | Refer to Q36.
105 | Attachment 7 (TO 0003) | Technical | This paragraph lists a total of 5 substations and 2 remote sensor stations, but mentions no maintenance facilities. However, page 8 in sections (1) and (2) describes only 2 substation types, and makes no mention of the "remote sensor stations". The two (2) Maintenance Facilities are noted in section (3). Appendices B for equipment allocations to sites does not align with the list given in BACKGROUND on page 1. Question: What are the sites, by location (name & island), and type (Station, Substation, Remote Sensor Station, Maint. Facility), that are in scope for this SOW? | Refer to Q80 and Q35.
106 | Attachment 7 (TO 0003) | Technical | Quantity notes in table do not seem to align with scope of work and task descriptions in SOW. Question: Does Appendix B represent the true quantity of equipment needed at the sites? If the number/name of sites is not aligned with BACKGROUND on page 1 which is correct? | Refer to Q35 for revised SOW.
107 | Attachment 7 (TO 0003) | Technical | TO003, as written, is missing critical information in order for the Offeror to adequately assess and scope the effort. Question: Will DTRA provide the as-builts and equipment at each of the NCWS substations as mentioned? From the stand point of sustainability and partner nation ability to absorb the DTRA assistance, this information will be crucial to understand what has been built and installed to ensure complete lifecycle consideration for the partner nation. | Clarified: DTRA will not provide as-built drawings.
108 | Attachment 7 (TO 0003) | Technical | TO003, as written, is missing critical information in order for the Offeror to adequately assess and scope the effort. Question: Will DTRA provide the following items as part of the bidder library: 1. Current Master Equipment List 2. Current Sustainment and Transition Plan 3. Current CONOPs Reports 4. DTRA approved SEP, Test Plan and Test Report 5. Existing Training Materials 6. Existing Surveillance Equipment Site Surveys | Clarified: The only additional information provided is the Master Equipment List, refer to Q47.
109 | Attachment 7 (TO 0003) | Technical | Question: Will DTRA provide the CDRLs and the associated DIDs? | Refer to Q16.
110 | Attachment 7 (TO 0003); L73 | Technical | RFP states: "The Contractor shall apply best efforts to avoid Value-Added Tax (VAT) incurrence. Any changes to the tax status shall be noted in the IPMR" Question: Shall the contractor bid in VAT for the purpose of the cost proposal? | Clarified: The Contractor shall not include VAT in its proposal. See changes to the Solicitation package as follows: Revised SOW: From: • For associated foreign tax considerations, the Contractor shall include all applicable local taxes that the USG can expect to encounter for the duration of this project with respect to the Offeror’s approach. The Contractor shall list and explain what each tax is, its applicability to this TO, level of risk (low/medium/high) and estimate the cost for each expected tax. The Contractor shall apply best efforts to avoid Value-Added Tax (VAT) incurrence. Any changes to the tax status shall be noted in the IPMR. To: " The Contractor shall provide support to avoid the incurrence of VAT using the USG established VAT avoidance agreement. Unless authorized by DTRA the contractor should not incur VAT Also, revision in L73 and M72 - deleted paragraph c. Revised Section L7 to include an assumption as follows: Assume that DTRA will have a VAT exemption agreement in place at time of award. No VAT shall be incurred under the contract, however, the Contractor shall be responsible for coordinating and establishing a process to effect the VAT exemption.
111 | Attachment 7 (TO 0003) | Technical | The RFP states: "The CONOPs working group shall build on the CONOPs documentation completed during prior Increments of this effort" Question: Since we are requested to "build on the CONOPS documentation completed in prior Increments" will DTRA provide those documents as part of the bidder library? | No.
112 | Attachment 7 (TO 0003) | Technical | The RFP states: "The Contractor shall deliver equipment to designated locations in new condition. The Contractor shall be responsible for all shipping and logistics for tasks arising under this contract." Question: Please confirm that DTRA is directing the Offerors to NOT use DTRA Single Shipper for international shipments related to this Task Order and to price all shipping costs. | Refer to Q20.
113 | Attachment 7 (TO 0003) | Technical | This paragraph states "Each facility shall be equipped with internet capability and services." Question: Please clarify the Government's intent of including this statement. Is the Government directing the Offerors to price the cost of internet for these facilities into our proposals? | Yes.
114 | Attachment 7 (TO 0003) | Technical | The referenced RFP paragraph requires that: "all items listed below shall be compatible with existing COP system". Question: This is difficult for a non-incumbent to do without knowing what the existing COP system is. Will DTRA provide enough detailed information on the existing COP system as part of the Bidder's Library to allow the Offerors to be responsive to DTRA's requirement? | Clarified: The existing COP system is the Maritime Information Management System by Solipsys, refer to Q47 for the Master Equipment List.
115 | Attachment 7 (TO 0003) | Technical | Question: Please provide definition of the positions "COP Watch Standers Only" and "COP IT Technicians Only" so Offerors can accurately propose the type of training required. | Clarified: A COP Watch Stander is an Operator position that will be the primary user of the COP system. A COP IT Technician is a System Administrator or Technician level position.
116 | Page 57 | Contract | Text of clause says that offerors shall not include the use of senior mentors (generally defined as O6 and above) in bids and proposals. Question: Please clarify - does the Government intend that any such senior mentor now employed by a CTRIC III bidder cannot support CTRIC III projects or task orders? | No.
117 | Attachment 2 | Contract | Clause 252.225-7040, and text at top of P. 60 of RFP discusses combatant commanders and authorization of essential host national and/or local national personnel. As this clearly envisions likely use of local national CTRIC contractor personnel, it seems in conflict with DD 254 requirement that states that all personnel performing work under this contract will be cleared US personnel. Question: Please clarify. Must all contractor employees performing work under CTRIC be U.S. citizens with an appropriate security clearance (as stated in DD 254) or can contractors employ foreigners under the CTRIC IDIQ? | Refer to Q1.
118 | Attachment 6 (TO 0002) | Technical | Question: Is DTRA aware of any SOPs used on the CTR Program which address the operations and/or procedures for Avian Influenza, Anthrax, Ebola Virus Disease and African Swine Fever? If yes, what are they? Are they GFI? Are they available to Offerors? | Clarified: No GFI's are provided with the SOW. The Offeror is responsible for providing an approach that is tailored for the NPHL SOPs.
119 | Section L6, pg. 96 | Contract | Question: Please clarify what Offerors are to include in the Past Performance sections of their Task Order 002 and 003 proposals. Are the PPQs submitted in Volume III also to be submitted in the TO volumes? | Refer to Q21.
120 | Section L.4.2, pg 93 | Contract | Paragraph 2 of L4. Volume III is titled "Description of Team"; but the detailed instructions only ask for consent letters. Question: Please confirm, based on the title of this paragraph, that the Offeror shall also include a description of their overall team in Volume III. | Confirmed.
121 | Section L.6.6, pg 96 | Contract | Vol V Senegal does not specify any kind of cost template (the Philippines TO includes Attachment 9). Question: Are offerors at liberty to create their own templates entirely for the Vol V pricing information? | Yes.
122 | 2nd Industry Day | Contract | At the December 13, 2016 industry day Mr. Andrew Kotila briefed the audience on Single Shipper and used a power point presentation to aid in his briefing. Question: As stated during industry day, will DTRA please provide that power point file as part of the Bidders' Library? | Provided: Attachment 3- Item 11- Single Shipper Presentation
123 | Section L.1 4, pg 89 | Contract | Schedules may be submitted in .mpp file format. Question: Please confirm that .mpp format is considered "tables, charts, graphs, figures" for purposes of font size restrictions. | Confirmed.
124 | Section L.1 4, pg 89 | Contract | There was a significant reduction in overall page allowances between the draft RFP and the final RFP. Question: Considering this significant reduction, and all the SOO elements we must address in our Mission Capability volume, we request the Government change the font size requirements from 12 to 10 point for our proposals and from 10 to 8 point for tables, charts, graphs, and figures. | Clarified: No, the font size remains unchanged. Revised: From: Volume II, ID/IQ Mission Capability, Page Limit, 40 To: Volume II, ID/IQ Mission Capability, Page Limit, 45
125 | Page 77 | Contract | Question: Will FAR 51 (GSA) letters be issued authorizing use of Federal supply sources for each specific task order? | Not for TO 0002 and TO 0003 in this RFP.
126 | Page 8 | Contract | This paragraph lists 33 countries in which work under CTRIC III may be performed. Question: Will the US Government ensure indemnifications with the partner nation are in place for CTRIC contractors prior to initiating work under the CTRIC IDIQ? | No.
127 | Section L2, pg 90 | Contract | Question: Do all foreign subcontractors, teammates, or vendors need DUNS and CAGE codes? | No.
128 | Attachment 4 | Contract | The Government issued a PDF version of Attachment 4, which could be onerous for Government customers to complete if they don't have the appropriate Adobe / PDF editing software. Question: Will the Government accept Word conversions of these PPQs that our customers can easily complete, as long as the converted files are consistent in every way with the Government's PDF version? | Refer to Q2.
129 | Attachment 4 | Contract | Question 1 of Part B of the PPQ states: "Provide a detailed description of the type of work performed under this contract in the appropriate boxes" (our emphasis). This implies that a COR can complete the same PPQ for multiple topics. Yet that is expressly forbidden in L.4.3, which states: "The same contract number may be used for each PPQ but a separate form must be completed for each topic." Question: Will the Government allow our Government customer POCs to use the same PPQ to cover multiple topic areas for the same contract? | No, please follow instructions PPQ Part B. The Government is requesting that the rating questionnaire be completed for each topic area identified.
130 | Section G | Contract | Does the Government plan on issuing a Section G in the solicitation? | No.
131 | Attachment 7 (TO 0003) | Technical | Attachment 7 states: "Estimation of consumable requirements shall be made through reasonable assumptions of usage based upon existing reports and/or additional information provided by the PCG, PNP-MG, and BoC." Question: DTRA is instructing Offerors to estimate consumable requirements, but did not provide the existing referenced reports on which DTRA instructs us to develop those estimates. Will DTRA provide the referenced reports as part of the Bidder's Library? | Refer to Q108.
132 | Section L.6.3, pg 95 | Technical | The TO instructions / SOO for TO 0002 (Senegal) state that resumes "may be submitted for key members of the team". Question: May offerors propose key personnel and add resumes (max 2 pages and outside overall page limitations) at their discretion for BOTH TOs? | Refer to Q13.
133 | Section L.6.6 and L.7.6 | Price | Question: Will the Government clarify that all pricing information, including supporting information, for both Task Orders is outside the 20/25 page limits for Volumes V and VI? | Refer to Q5 and Q6.
134 | Section L.1.4, pg 88 | Technical | Question: TO schedules are limited to 10 pages, but will the Government confirm this is in addition to the 20/25 pages allowed for the two TO responses? | Refer to Q13.
135 | Attachment 1 | Technical | Instructs contractor to "Coordinate international shipping request in accordance with DTRA shipping guidelines and ensure compliance." We believe this alludes to use of the Single Shipper Program. Question: When contractors use the Single Shipper Program to execute international shipments, will DTRA be the importer/exporter of record? | Yes.
136 | Section L.6.3, pg 95 | Technical | L.6.3 (instructions for TO 0002 - Senegal) requires offerors to address SOW paragraph 2.1, but that paragraph does not exist - there are no sub-paragraph numbers in Item 0002. Question: Will the Government please clarify? | Revise: From: …specified in the TO 0002 SOW paragraph 2.1 and… To: …specified in the TO 0002 SOW and…
137 | Section L.4.3, pg 94 | Past Performance | RFP Section L.4.2 states: "The same contract number may be used for each PPQ but a separate form must be completed for each topic". In light of this, it could mean that one single Government POC could be obliged to complete 7 PPQs for the same contract, which seems overly onerous. Question: Will the Government reconsider revising this requirements to ease the burden on Government customers (including, one assumes, DTRA)? | No.
138 | Attachment 4 | Past Performance | Question: Do past performance questionnaires submitted by the prime carry more weight in evaluation than subcontractor questionnaires? | No.
139 | Attachment 2 | Security | There appear to be conflicting instructions in the DD 254 issued with the RFP: Sec. 11a. Indicates the contractor will not require access to classified information at another contractors facility or government facility. Sec 13b Indicates contractors performing work under this contract shall be granted the appropriate security clearance, SECRET, based on a favorable adjudication from DISCO. Sec. 13c. Indicates proof of clearance shall be provided for visits to DTRA sites. Question: Please clarify whether contractor will or will not require access to classified information during the performance of this contract. | Refer to Q1
140 | Attachment 7 (TO 0003) | Technical | Question: Please provide the start dates of the Philippines and Senegal projects for planning and cost determination purposes | Refer to Q15.
141 | Section L2, pg 91 | Contract | Para 12 requires that Offerors have approved Accounting, Estimating, Material Management (MMAS), Property Management, and Purchasing systems at time of award. It further states that without DCMA approval of these business systems at the time of award, the Offeror will be ineligible for award. Question: We request DTRA remove MMAS as a required approved system for CTRIC III since MMAS is specific to a manufacturing-type operation whereas work performed under CTRIC III is services-based. | Refer to Q72.
142 | Section L.1 4, pg 89 | Contract | RFP states that pages shall be 8.5 x 11 inches and is silent on whether 11 x 17 fold out pages can be used. Since TO schedules are likely to be voluminous, and fonts in tables (and, we infer, schedules) are limited to no smaller than 10 pages, use of 11x17 pages for large graphics/schedules would facilitate easier review for the Government. Question: Will the Government allow the use of 11x17 foldouts for large, complex graphics and schedules? If so, will they count as two pages? | No.
143 | Attachment 7 (TO 0003) | Technical | Question: Please confirm that DTRA intent is to procure new COP software, new radars, and new cameras, completely different from Increment 1 and 2? | Clarified: No, all items shall be compatible with the existing COP. Refer to Q114.
144 | Attachment 7 (TO 0003) | Technical | Question: The number of locations for equipment installation is more than the 4 substations mentioned in the SOW. Please clarify whether the Appendix B locations are in addition to the 4 new substations | Refer to Q35.
145 | Attachment 4 | Past Performance | There are companies bidding on CTRIC III in both Prime and Sub roles that have been or are currently subcontractors to incumbent CTRIC II and BTRIC IDIQ holders. Some of these same companies have chosen to team with companies for CTRIC III that are not the Primes under which they performed the work they intend to include in Volume III (Past Performance). During the 1-on-1 following industry day on 13 December, DTRA stated that, given such a situation, they would allow PPQs in those specific instances to be filled out directly by the DTRA person responsible for that work to ensure accurate completion of the PPQ and timely submittal. Question: Will DTRA please confirm this remains a valid approach for PPQ responses, given the above situation, and that these companies can coordinate PPQ processing directly with the responsible government person? | Yes.
146 | Attachment 7 (TO 0003) | Technical | What existing communication infrastructure should bidders assume is in place and useable for bidding purposes? Specifically, what communications are available for backhauling sensor feeds to Manila? | Clarified: Currently, all sensor feeds are backhauled using commercial internet and microwave transmission.
147 | Attachment 7 (TO 0003) | Technical | What is the existing maritime radar make and model? | Refer to Q65.
148 | Attachment 7 (TO 0003) | Technical | What is the existing EO/IR camera make and model? | Refer to Q66.
149 | Attachment 7 (TO 0003) | Technical | The RFP states “The architecture shall be compatible, as required, with other architectures developed by NCWS stakeholders.” Please provide details on these other architectures. | Refer to Q47.
150 | Attachment 7 (TO 0003) | Technical | The RFP states "The Contractor shall ensure that all new equipment is fully integrated into existing PCG, PNP-MG, and/or BoC systems…” Please provide details on these systems. | Refer to Q47.
151 | Attachment 7 (TO 0003) | Technical | The RFP states "Each workstation shall be equipped with internet capability and services.” and “The substation shall include communications and/or COP equipment to be integrated into the existing NCWS network.” Is it the intent to connect the COP workstation to both the Internet and the NCWS network at the same time? Or will the NCWS network tunnel through the Internet via a VPN or other secure method? | Clarified: Access to internet and NCWS network at the same time is required. Access to NCWS network is provided via network tunnel or VPN through an internet connection.
152 | Attachment 7 (TO 0003) | Technical | The RFP states “The [Maintenance Facility] office shall include two (2) computer workstations with desks and chairs for communications and electronic records.” Shall bidders assume Internet access, NCWS network access or both is available at or near the Maintenance Facilities to support the communications requirement? | Refer to Q151.
153 | Attachment 7 (TO 0003) | Technical | Appendix B “COP-related Items (all items listed below shall be compatible with existing COP system)” What is the existing COP system? | Refer to Q114.
154 | Attachment 7 (TO 0003) | Technical | Appendix B calls for equipment for up to (5) substation locations. Please confirm if this includes the new and renovated substation locations. | Refer to Q35.
155 | Attachment 7 (TO 0003) | Technical | Confirm that “EO/IR radio training” is a typo and should be VHF/UHF radio training or EO/IR training or both? | Refer to Q35 for revised SOW.
156 | Attachment 7 (TO 0003) | Technical | Draft RFP Stated: “The next increment of work to be awarded will likely have a period of performance (PoP) of 27 months (6 months design, 18 months to implement, 3 months FTX/cleanup)”. Since no PoP was provided in the final RFP, should we assume 27 month PoP? | Refer to Q15.
157 | Attachment 7 (TO 0003) | Technical | The SOW (page 5) states “Meet with the PCG no later than 60 calendar days after TO award to develop functional and performance objectives for four (4) additional substations in the NCWS. The SOW (page 8) calls for construction of one (1) substation and renovation of one (1) substation. Please clarify quantity to designed and quantity to be constructed/renovated. | Refer to Q35.
158 | Attachment 7 (TO 0003) | Technical | Is the communications, COP equipment and 30m tower in addition to the equipment called out in Appendix B? | No
159 | Section L1.4, pg 89 | RFP Instructions | Does the page limit of 20 and 25 pages for Volumes V and VI respectively, include the proposed schedule? There is a reference on pg 89 of the task order schedules being limited to 10 pages. Please confirm these 10 pages are excluded from the page limits. Will the Government allow these schedules to be 11x17? | Refer to Q13.
160 | Section L1.3, pg 88 | RFP Instructions | Page limits – The Management Approach and Technical Approach have been allocated 40 pages. The instructions require all 46 Statement of Objectives to be addressed. Please consider an increase in page limits to allow offerors to adequately address Secton L requirements.. | Refer to Q124.
161 | Section L1.4, pg 89 | RFP Instructions | Will the Government please allow the use of 11x17s for large tables and graphics, particularly in the task orders? | No
162 | Section L2, pg 90 | RFP Instructions | #2 states "the Offeror shall submit each section in a separate document…" Is each item listed (#3, #4, etc.) to be in a separate file? Is the SF-33 to be included before the items listed in Section 1? | Refer to Q18.
163 | Section L6.5/L7.5, pg 96 | RFP Instructions | Should we include copies of the referenced PPQs in Volumes III, V, and VI or just Volume III? | No, all PPQs are submitted as part of Volume III.
164 | Attachment 4 | RFP Instructions | Please explain if this Section is to be filled out one time and include additional references from all team members for all seven topic areas or should one be completed for each topic area? Should this form be included in the PPQ sent to the client or just in the proposal submittal? | Refer to Q129
165 | Attachment 4 | RFP Instructions | Please provide Attachment 4 in a Word file to enable the expansion of fields. | Refer to Q2.
166 | Attachment 4 | RFP Instructions | Part B, Page 4, #1:Is the expectation that the client reference fill out the form for all applicable topic areas (#1 on form) or just the topic for which the PPQ is being submitted for? Can the offeror delete topics which are not applicable from the table? | Clarified: No, simply indicate Not Applicable (N/A).
167 | Section L4.3, pg 94 | RFP Instructions | The seven topic areas are not defined in the RFP or within Attachment 1, Statement of Objectives. Please define the scope of these topic areas. | Clarified: The seven topic areas are derived from the SOO, Sections 2 through 5.
168 | Section L4.3, pg 94 | RFP Instructions | Are the PPQs due from the client references by the proposal due date? | Yes.
169 | Section L5-7, pg 94 | RFP Instructions | Cost template – can an excel file be provided? Will the template include WBS and CLINS? | Provided: Attachment 14- Cost Excel File
170 | Section L7.4, pg 97 | RFP Instructions | Will the risk matrix be excluded from the 25 page limit? Can the risk matrix be 11x17? | Clarified: Yes, the risk matrix is included in the 25 page limit. No, the risk matrix cannot be 11x17.
171 | Section M6.2, pg 105 | RFP Instructions | The list begins with c. Are there sections missing? | Revised: From: c. The staffing plan demonstrates… d. The approach is structured… To: a. The staffing plan demonstrates… b. The approach is structured…
172 | Attachment 6 (TO 0002) | Technical | Draft RFP Stated: “The following TO will likely have a 24 month Period of Performance (PoP)”. Since no PoP was provided in the final RFP, should we assume 24 month PoP? | Refer to Q15.
173 | L1.4, pg 88 | RFP Instructions | Is there any file size limitations? | Refer to Q10.
174 | Attachment 7 (TO 0003) | Technical | Is the Contractor required to procure Personal Radiation Detector, Endoscope, Customs Contraband Detecter, Inspection Mirror kit, Cargo Probe Kit, Personal Radiation Detector, and Radiological Isotope Identification Device? If so, please provide make, model and quantities. | Clarified: No, these items are not required. Refer to the SOW.
175 | Section L2.7, pg 90 | RFP Instructions | Please clarify what subcontractor security requirements are to be included | Refer to Q1.
176 | Attachment 6 (TO 0002) | Technical | The SOW does not specifically reference translation and interpretation - is this the responsibility of the Contractor? | Revised: The Offeror shall provide translation and interpretation services.
177 | Attachment 6 (TO 0002) | Technical | Will the Government please confirm that the Single Shipper will not be used in any capacity, including for CONUS to OCONUS shipping? | Refer to Q99.
178 | Attachment 6 (TO 0002) | Technical | Will the Government please confirm its intent for a total of 4 SOPs (1 each for AI, anthrax, Ebola, ASF), and each of these SOPs has 10 sections (areas a-j listed on page 3 of the Senegal task order SOW)? | Refer to Q29.
179 | Section K, pg 91 | Contract | While an Offeror's SAM.gov registration may be up to date, it may not contain all applicable Section K clauses. Will the Government please confirm that Offerors are only required to complete and submit with its proposal those clauses which are not provided in SAM.gov? | Yes
180 | Section K, pg 91 | Contract | Will the Government please confirm that offerors who have already submitted their DTRA contract information to DTRA prior to the release of the final RFP are NOT required to resubmit this data with proposal submission? | Clarified: The question is unclear as to what 'DTRA contract information' was previously submitted. However, if this is regarding OCIs, all potential OCIs require a Government response.
181 | Section K, pg 91 | Contract | Will the Government please confirm that the only requirement for proposal submission is to provide an affirmative statement regarding the approved business systems? Does the Offeror need to submit the copies of the business systems approval letters? | Clarified: Confirmed, approved letters are in the Contract Business Analysis Repository (CBAR).
182 | Section M1, pg 100 | Contract | Section L2 only requires Offerors to have the stated approved business systems, while M1 states that both the business systems of the Offeror and teammates will be evaluated. Please confirm whether teammates are required to provide information regarding the status of each of the referenced business systems. | Clarified: The Offeror's must have approved business systems prior to contract award. The requirement for approved business systems is required for teammates only if the Offeror intends to award a cost type subcontract to the subcontractor.
183 | Section L5, pg 94 | Contract | Attachment 1, SOO does not contain a reference to the 50% task order participation requirement or a QASP. Will the Government please confirm whether a 50% task order participation is required? Will a QASP be provided? | Provided: Attachment 10- Revised SOO
184 | Attachment 6 (TO 0002) | Contract | Attachment_6-_Section_L_TO_0002_SOW does not contain a paragraph 2.1. Will the Government please clarify this requirement? | Refer to Q136.
185 | Section M6, pg 105 | Contract | Would the Government please clarify the relative weighting of Factor 1 (Mission Capability) versus Factor 3 (Cost)? The provided language does not appear to explicitly specify. | Refer to Section M as it is explicitly stated. Factor 1 (Mission Capability) is more important than Factor 3 (Cost). Reference Section M.1.5.
186 | Section L5, pg 94 | Contract | L5 states that price information shall only be addressed in Volume IV, Section 3, however, Volume I contains a requirement to submit Attachment 8, Cost/Price Summary. Will the Government please revise the RFP to clarify all Volumes/Sections in which price information may be addressed? | Clarified: IAW the RFP instructions, the prohibition is to not include any cost/price information in the Mangagement/Technical narratives or documents.
187 | Attachment 6 (TO 0002) | Contract | L6 states that price information shall only be addressed in Volume V, Section 4, however, Volume I contains a requirement to submit Attachment 8, Cost/Price Summary. Will the Government please revise the RFP to clarify all Volumes/Sections in which price information may be addressed? | Refer to Q186.
188 | Attachment 7 (TO 0003) | Contract | L7 states that price information shall only be addressed in Volume V, Section 4, however, Volume I contains a requirement to submit Attachment 8, Cost/Price Summary. Will the Government please revise the RFP to clarify all Volumes/Sections in which cost/price information may be addressed? | Refer to Q186.
189 | Section L7 | Contract | L.7.6 states that "all cost/price information shall be addressed ONLY in Volume VI, Section 4 for price only", however, L7.3 states that Section 2 (Management Approach) shall include tax cost estimates. Will the Government please revise the RFP to clarify all Volumes/Sections in which cost/price information may be addressed? | Revised: From: …(low/medium/high) and estimate the cost for each expected tax. To: …(low/medium/high) and include tax cost estimates as a percentage.
190 | Attachment 1 | Contract | Does the Government have an intended Period of Performance for Task Order 0002 and Task Order 0003? | Refer to Q15.
191 | Attachment 6 (TO 0002) | Technical | Is the schedule included in the Task Order 0002 page count? Are 11x17 pages permitted to provide the schedule? | Refer to Q14 and Q161.
192 | Section L1, pg 89 | Contract | Are 11 x 17 pages permitted for graphics, tables, and schedules? | Refer to Q161.
193 | Attachment 7 (TO 0003) | Technical | This requirement is dependent upon NCWS providing "trained" operators. Will DTRA consider removing this technical performance parameter? | No
194 | Attachment 7 (TO 0003) | Technical | Will DTRA accept the CDR process as described in each Contractor's SEP, or will DTRA add CDRLs to specify CDR process and deliverables? | Clarified: The Government will review and provide comments/recommendations based on the Contractor's Systems Engineering Plan (SEP).
195 | Attachment 7 (TO 0003) | Technical | Will the Government please clarify whether the backup power requirement is for a minimum of 24 hours or a minimum of 12 hours? | Refer to Q36.
196 | Attachment 7 (TO 0003) | Technical | Please clarify the total # of buildings to be constucted/renovated. Is Item 0002 only for the design of 4 potential substation sites and then two (2) of these four sites will be selected and implemented? Is the contractor to bid 1 new construction, 1 renovation and 2 maintenance facilities? | Refer to Q35.
197 | Attachment 7 (TO 0003) | Technical | Please provide lists of sites and quantities required for TO 0003. | Refer to the SOW.
198 | Attachment 7 (TO 0003) | Technical | Will the Government please confirm if this bullet should state "EO/IR Camera Training"? | Revised: From: EO/IR Radio Training To: EO/IR Camera Training
199 | Section L2, pg 90 | Contract | The Volume I organization instructions contain only one section. Will the Government please provide the required organization for the remaining Volume I requirements, or confirm that all Volume I data is to be provided in Section I? | Clarified: Offerors shall organize Volume I in the order in which it is stated in the RFP.
200 | Section L1, pg 89 | Contract | The RFP only TO 0002 provides instructions for submitting a schedule. Please confirm whether a schedule is required ONLY for TO 0002 or if it is also required for TO 0001 and TO 0003. | Clarified: Schedules are required for TO 0002 and TO 0003.
201 | Section L1, pg 89 | Contract | Please confirm that Section 3 Past Performance is excluded from page limits for TO 0002 and TO 0003. Is Section 4:Price in Vol IV, V and VI excluded from page limit for each Task Order? | Refer to Q5.
202 | Section L3, pg 92 | Contract | The requirement for an RCRM is also listed for Section 1 in Vol IV, V, and VI. Will the Government please confirm whether the RCRM is required only in Vol II, or whether each TO volume is required to have an RCRM applicable to each respective Volume? | Refer to Q9.
203 | Section L2, pg 90 | Contract | Will the Government please clarify this subcontractor requirement? Are Offerors to only required to provide each subcontractor's facility clearance and the contact information for the Offeror’s security office information? | Refer to Q1.
204 | Section L4, pg 94 | Contract | If an Offeror intends to submit PPQs from its team members, may those completed PPQs be submitted directly to the Government? | Refer to Q19.
205 | Section F, pg 12 | Contract | Will the Government please provide a mapping between the CLINs and each Task Order? | Refer to Q17.
206 | Section L6, pg 96 |  | Is the Government's intent for the cost/price narrative to be in Adobe PDF and the cost model in Microsoft Excel format? | Yes.
207 | Attachment 9 |  | Is the "Proposed rate %" column intended to be blended rates over the entire task order? Does the “Direct Labor (including all labor additives)” row include OH, or will that be added in the “OH” row? Is the "Travel" row at inclusive of all non-fee burdens? | Clarified: No, do not blend rates for %. The proposed indrect rates should be coonsistent with your DCMA disclosures. If more rows are required to specify multiple indirect rates, add more rows.
208 | Attachment 4 |  | Can the IDIQ contract be used as a referenced contract for the PPQs? | Clarified: If there is no performance on the IDIQ, it is not an acceptable reference for the PPQs. In this case, each TO is an individual reference. We will not count all task orders under an IDIQ as one reference.
209 | Attachment 4 |  | Is DTRA looking for PPQ references for Program Management in Overseas projects only in countries referenced in the footnote? | Yes.
210 | Attachment 4 |  | To comply with the requirement to obtain write-ups/ratings from the USG POCs for each of the referenced Task Orders, we would need to send this specific Topic 7 PPQ submission to multiple POCs/CORs, causing the KO to receive multiple COR input/responses for this single PPQ Topic Area. Is this considered compliant (e.g., will multiple PPQ submissions from multiple different individual TO CORs in response to a single topic area) be considered permissible by DTRA, and still have this submission treated as only one of our two permissible "Topic 7" responses. | Clarified: DTRA is requesting two references (PPQ, PART A and B) for each Topic Area listed. Two COR evaluation responses are anticipated for each Topic Area.
211 | Attachment 4 |  | How does the Offeror provide Past Performance of entities previously merged into another entity when the previous entity had a different cage code? | Clarified: Provide a summary of the corporate/organizational history that explains the relevance of the entity’s past performance as part of the PPQ Part A submission and how that previous entity fits in within the make-up of the Offeror’s current team.
212 | Section L212, M15 |  | Are all business systems identified in DFARS 252.242-7005 required? | Revised: From: IAW DFARS 252.242-7005, the Offeror shall have the following approved business systems: Accounting, Estimating, Material Management, Property Management, and Purchasing. Without DCMA approval of business systems below at the time of award, the Offeror will be ineligible for award. Note that an approved Earned Value Management System is not required at the time. To: IAW DFARS 252.242-7005, the Offeror shall have the following approved business systems: Accounting, Estimating, Property Management, and Purchasing. Without DCMA approval of business systems below at the time of award, the Offeror will be ineligible for award. Note that an approved Earned Value Management System and Material Management System is not required at the time.