Projects Applying for Chinese Government Assistance

Project Proposal (format)

I. Project Basic Info

- Project name - Support to Mental Health reform in Georgia by developing new infrastructure for mental health facilities.

b)  Authorities in charge – Ministry of Labour, Health and Social Affairs of Georgia.

c)  Reasons and Process for putting forward the project –

According to the public defender’s report and Council of Europe’s study in 2013, in Georgia in specialized psychiatric hospitals are met human rights violations, which are mainly caused by poor living conditions in psychiatric institutions. These institutions, unfortunately, often fail to meet quality standards of treatment and care. The physical environment and living conditions of patients are ambiguous in institutions where psychiatric beds are located. The infrastructure status, age, lack of renovation in these institutions cannot ensure adequate sanitary-hygienic conditions. In addition, besides the hospitals are located in amortized and old building, they are located far away from the patient’s family and house. For example, in the eastern Georgia (Kakheti region) there is no psychiatric hospital, which will provide inpatient service, which creates certain problems of transferring patients to another region, to provide services based on patient’s needs, besides that, the patient and his family often do not have money for transportation.

d)  The significance of implementing the project –

Implementation of this project has huge importance to develop mental health field in Georgia. Existence of psychiatric clinics in Telavi and Senaki, which will provide different services for the region’s population, will play significant role in ensuring the affordability and access of mental health services.

II. Project Implementation Conditions

- Basic information of the project site –

Within the project planned to build and renovate mental health centers in Telavi and Senaki. In Telavi mental health center provides only outpatient services, which is a serious problem for the beneficiaries to receive inpatient psychiatric service. In addition, in Senaki mental health center provides outpatient and inpatient service, but inpatient service includes only 15 beds, that is not enough to provide inpatient service to whole region’s population. Besides that, the working and treatment conditions for personnel and beneficiaries unfavorable. Therefore, it is important to create appropriate infrastructure in eastern and western Georgia, for delivering psychiatric inpatient and other required services.

- Matching conditions for project implementation –

Create appropriate infrastructure in Telavi and Senaki, for delivering psychiatric inpatient and other required services:

- In Telavi – 2-storey buildings:

  - 30-bed inpatient unit;

  - Outpatient care unit;

  - Crisis intervention unit, with home care services;

  - Psycho-social rehabilitation unit for children and adults (separately).

- In Senaki - 2-storey buildings:

  - 30-bed inpatient unit;

  - Outpatient care unit;

  - Crisis intervention unit, with home care services;

  - Psycho-social rehabilitation unit for children and adults (separately).

- Laws & regulations and environmental factors for project implementation

“About licensing and permission rules for medical activities of inpatient facilities” Resolution of Georgian Government N385 17.12.2010;

“Technical regulations – approving psycho-social rehabilitation standards” Resolution of Georgian Government N68 15.01.2014;

“Classification of medical interventions and the minimum requirements of outpatient service providers” order of Ministry of Labour, Health and Social Affairs of Georgia N01-25/N 19.06.2013.

III. Content and Scale of the Project

- Main functions of the project

Provision of mental health outpatient and in-patient care, including ambulatory services, crisis intervention services, home-based care and psycho-social rehabilitations for children and adults.

- Contents of the Project

Provision of renovate old and construct new building for mental health facility in Telavi and Senaki.

- Project scale and reason

Ensure the affordability and access of different mental health services and improve service quality within eastern and western Georgia.

IV. Project Implementation Program

- Requirements for technical proposal

Rehabilitation and equipment of the facilities must have been done as by rules established by the Georgian legislation, as well as international requirements. Power supply scheme of the facilities must incorporate a spare power supply by generator (continuous electricity demand). It must have the capacity to provide lighting and resilient temperature. Facility must have hot and cold water supply system (uninterrupted supply) and must be provided with a central ventilation system. In the facility should be considered evacuation exits and fire fighters blocks. Institutions should be provided with sufficient capacity of cooking workshop. The institution must have a conference room for conferences and to receive delegations, offices for administrative staff. The institutions must have the capacity of isolated chamber for the temporary isolation of patient with infectious disease, which must have a rabbi (the entrance should not be from corridor to chamber primary) and sanitary facility. Ventilation system is required in this chamber that provides difference pressure regimes to prevent air flow from less clean areas. The institutions must have a functioning elevator (which includes space for bedridden patients) for the facility which is layout more than two-floor; conditions for safe movement of persons with disabilities; isolated storage for temporary placement of dead body. The institution must have the security conditions. The area of the patient’s bed should be at least 40 sq. m. within the calculation of inner perimeter.

- Requirements for technical standards

Technical standards for outpatient and crisis intervention department:

For outpatient department required the following: registration space no less that 12 sq. m. and space for archive; rooms for psychiatrists, psychologists, neurologist, therapist, social worker and speech therapist (no less than 12 sq. m.); pharmacy (protected type), injection room; small room for laboratory; the bigger room for conducting therapeutic sessions; separate toilets for staff and patients.

For crisis intervention center required medium security, in particular: armored windows glasses (but it is free from the bars); have a separate entrance and the registration; procedure room, which has spare exit for personnel; protected storage, preferably near procedure room, for storage and issuance of medications; the bigger room for team interventions; a separate area for patients; separate rooms for doctor psychiatrist, psychologist, psychotherapist; room for other personnel; sanitary facilities for staff and patients.

Technical standards for inpatient department:

The area of each chamber per patient bed should not be less than 8 sq. m. and the distance between the beds – at least 1.2 m. It is not permitted existing of each of the outgoing chambers. Corridor width should be at least 1.8 m. to provide movement of wheelchair patients. The department must have the infrastructure and facilities to protect patients and staff’s self-hygiene, cleaning and disinfection of building (water supply, toilets must meet hygienic standards and must have an easy-care surface); sanitary equipment should be composed not easily breakable accessories. The chamber shall have a natural light source and the windows should be with armored glasses (but it is free from the bars). Chamber doors shall open out, towards the corridor, towards the evacuation road. The walls must be constructed from a solid material (brick, concrete). Department walls (ceiling, floor), which borders all other departments must be equipped with sound proofed means. In department must be a nurse post for constant supervision. Chambers must be provided for one or two patients and not must be each of outgoing. In the department must be one room for de-escalation. The department should have a sufficient area or room for patients daily activities. The dining room area must cover all admitted patients at the same time (1.2 sq. m. space for each patient) and must be equipped with kitchen corner for patient needs. Department must have room for personnel; procedure room, which has spare exit for personnel; rooms for psychiatrists; storeroom for patients’ clothes and other personal items; laundry/dryer; protected storage, preferably near procedure room, for storage and issuance of medications; department must have walking/sitting area outside, for patients outside activities and defined place for visitors. At least every 4 patient must have the bathroom/toilet adjoining their rooms; the area should provide an opportunity for helper approach for persons with disabilities. Preferably all chambers must be provided with their own bathrooms. The department should have a bathroom/toilet for staff. The department should have enough space for warehouse of different commodities (bedding, patient clothes).

Technical standards for psycho-social rehabilitation department:

For rehabilitation activities the area must be equipped with minimum conditions (light, heating, water and toilet use). The area per patient should not be less than 5 sq. m. Room for group therapies should be equipped with chairs, boards, with necessary materials, equipment. Room for occupational therapy should be equipped with the necessary handicrafts, tables, chairs, instruments, materials (wood, fabrics, yarn). Room for physician should be equipped with tables and chairs and in addition rooms for nurses should be equipped with necessary materials, equipment for first aid activities. The rooms, lobby, the doctor’s office and other areas must be colored with enamel paints or must be the material that can easily cleaned and disinfected. Operational areas must be covered with ceramic tiles or other similar materials not less than 1.6 m. in height from the floor.

Standards of area of psycho-social rehabilitation unit:

| N | Rooms | Area, not less |
| --- | --- | --- |
| 1 | Temporary storage of personal items of visitors. | 6 sq. m. |
| 2 | Administration Room / Registration | 16 sq. m. |
| 3 | Room for staff (Social workers) | 10 sq. m. |
| 4 | Room for physician | 16 sq. m. |
| 5 | Room for group verbal therapies | 25 sq. m. |
| 6 | Room for occupational therapy | 25 sq. m. |
| 7 | Room for art therapy | 25 sq. m. |
| 8 | Room for personnel | 25 sq. m. |
| 9 | Room for nurse | 16 sq. m. |
| 10 | Room for rest | 16 sq. m. |
| 11 | Kitchen | 12 sq. m. |
| 12 | Dining room | 1,2 sq. m. for each patient |
| 13 | Washbasin | 2 sq. m. for one washbasin |
| 14 | Shower | 4 sq. m. for one shower |
| 15 | Toilet | 3 sq. m. for one toilet seat |

- Requirements for implementation period

The project implementation period is advisable to be carried out within 1 year.

- Requirements for implementation mode

- Suggestion of responsibilities for both parties

- Chinese government is responsible to construct 2 mental health facility in Eastern (Kakheti region) and Western (Samegrelo region) Georgia.

- Ministry of Labour, Health and Social affairs of Georgia is responsible for financial support within Mental Health State Program, for further service delivery.

V. Project Investment Estimation

- Basis for investment estimation

- Project investment estimate

VI. The Follow-up Operation and Maintenance Program of the Project

- Sources of funds for the follow-up operation and maintenance of the project

Mental Health state program will ensure service delivery, which will be provided by the constructed mental health facilities.

- Technical personnel for the follow-up operation and maintenance of the project

Maintenance of the project and the follow-up will be provided by the staff of Telavi mental health center and Senaki mental health center.

VII. Relevant Special Conditions -

VIII. Conclusion

After the implementation of the project, would be provided appropriate environment and treatment for beneficiaries, considering their dignity, rights and health condition and also would be provided affordability and access of different mental health services.