## Hospital Equipment
# | HOSPITAL EQUIPMENT | TOTAL | Lisi Hospital | Batumi Hospital | Rukhi Hospital | Emergency/Ambulance Service | Infectios Desease Hospital
1 | Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 110 | 50 | 35 | 25
2 | Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 69 | 10 | 5 | 4 | 50
3 | basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 95 | 45 | 30 | 20
4 | patient monitor ECG, Resp, HR, NIBP,T2000$emp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 45 | 20 | 15 | 10
5 | patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 14 | 6 | 6 | 2
6 | patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 8 | 3 | 3 | 2
7 | central monitoring station: connects at least 30 monitors | 6 | 3 | 2 | 1
8 | ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 115 | 50 | 40 | 25
9 | ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 16 | 6 | 6 | 4
10 | anti pressure sores mattress with compressor control | 45 | 15 | 15 | 15
11 | Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 366 | 6 | 5 | 5 | 350
12 | negatoscope 35*43 | 9 | 3 | 3 | 3
13 | Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 324 | 144 | 100 | 80
14 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 46 | 21 | 15 | 10
15 | pressure infusion bag | 142 | 67 | 45 | 30
16 | high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 21 | 7 | 7 | 7
17 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3
18 | LED mobile lights for operation cabinet | 6 | 2 | 2 | 2
19 | Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 9 | 3 | 3 | 3
20 | Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 17 | 7 | 5 | 5
21 | Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 12 | 4 | 4 | 4
22 | Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 8 | 4 | 2 | 2
23 | Ambu - Masks for adults | 122 | 57 | 35 | 30
24 | Ambu - Masks pediatric | 23 | 13 | 5 | 5
25 | Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 15 | 5 | 5 | 5
26 | glucometer with strips | 30 | 10 | 10 | 10
27 | Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 6 | 2 | 2 | 2
28 | X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 3 | 1 | 1 | 1
29 | Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 3 | 1 | 1 | 1
30 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 280 | 100 | 100 | 80
31 | bronchoscope | 5 | 2 | 2 | 1
32 | gastroscope | 3 | 1 | 1 | 1
33 | pump | 150 | 50 | 50 | 50
34 | dialysis machine | 3 | 1 | 1 | 1
35 | Solution heating system | 18 | 6 | 6 | 6
36 | Portable pulse oximeter for adults | 30 | 10 | 10 | 10
37 | Multiple use silicone contour with compatible valve | 270 | 120 | 80 | 70
ER
38 | ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 3 | 1 | 1 | 1
39 | ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 6 | 2 | 2 | 2
40 | pediatric shock stretcher | 6 | 2 | 2 | 2
41 | stretcher for adults, with maximum patient weight 200 kg or higher | 60 | 20 | 20 | 20
42 | negatoscope 35*42 | 6 | 2 | 2 | 2
43 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 15 | 5 | 5 | 5
44 | high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 9 | 3 | 3 | 3
45 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3
46 | Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 3 | 1 | 1 | 1
47 | Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 15 | 5 | 5 | 5
48 | mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 3 | 1 | 1 | 1
OR
49 | An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 6 | 2 | 2 | 2
50 | Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 6 | 2 | 2 | 2
51 | Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 3 | 1 | 1 | 1
52 | Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 3 | 1 | 1 | 1
53 | Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 3 | 1 | 1 | 1
54 | solution heating system | 6 | 2 | 2 | 2
55 | patient heating system | 6 | 2 | 2 | 2
Radiology Unit
56 | Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 3 | 1 | 1 | 1
57 | Digital Xray | 3 | 1 | 1 | 1
58 | Ultrosound machine | 3 | 1 | 1 | 1
Clinical Laboratory
60 | Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 3 | 1 | 1 | 1
61 | Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 3 | 1 | 1 | 1
62 | automatic Immunological analyzer, (list of reagents provided separately) | 3 | 1 | 1 | 1
63 | Coagulometer, automatic | 3 | 1 | 1 | 1
64 | Urine analyzer, automatic | 3 | 1 | 1 | 1
65 | Centrifuge, 10-1500 rpm; general | 3 | 1 | 1 | 1
66 | Centrifuge, for small samples 2-20000b / min | 3 | 1 | 1 | 1
67 | Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 3 | 1 | 1 | 1
68 | Dispenser, for adjustable dosing | 3 | 1 | 1 | 1
69 | Laboratory Scale | 3 | 1 | 1 | 1
WARDS
70 | Standard hospital beds | 350 | 150 | 120 | 80
71 | ICU stations | 80 | 30 | 30 | 20
72 | Resuscitation beds | 65 | 20 | 20 | 25
73 | Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 25 | 10 | 10 | 5
74 | Shock table (cart) | 30 | 10 | 10 | 10
75 | Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 50 | 25 | 15 | 10
76 | Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 140 | 50 | 50 | 40
77 | Glucometer with strips (100) | 6 | 2 | 2 | 2
78 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 12 | 4 | 4 | 4
79 | Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1
80 | Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1
81 | High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 6 | 2 | 2 | 2
82 | Infusomat, volumetric: Drip compatible with different manufacturer's systems | 6 | 2 | 2 | 2
STERILAZATION
83 | 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 5 | 2 | 2 | 1
84 | Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 4 | 1 | 1 | 2
85 | Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 14 | 2 | 2 | 10
86 | Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 7 | 3 | 3 | 1
87 | Ultrasonic washer, capacity 20 l or more | 5 | 1 | 1 | 3
88 | Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 6 | 2 | 2 | 2
ADDITIONAL ITEMS
89 | Portable ECG 12 lead | 350 |  |  |  | 350
90 | portable oxygen generation system (pogs) | 90 |  |  |  | 90
91 | patient monitor for vital signs | 20 |  |  |  | 20
92 | portable oxygen concentrator | 20 |  |  |  | 20
93 | Pulse oximeters | 700 |  |  |  | 700
94 | Field Hospital tent sets for bioisolation patients | 4 |  |  |  | 4
95 | isolation patient transportation capsule | 15 |  |  |  | 15
96 | Bone Catheter for adults and pediatric patients | 1500 |  |  |  | 1500
97 | A multifunctional system for all treatment modes in therapeutic apheresis | 1 |  |  |  |  | 1
98 | Universal Ultrusound diagnoistic system Convex, linear and cardiac transducers and with liver elastograph | 1 |  |  |  |  | 1
99 | DNA and RNA Extraction system/instrument | 1 |  |  |  |  | 1

## Emergency Service Radio Station
# | Items | Quantity
1 | Set of Tetra standard hand Radio station | 490
2 | Set of Tetra standard Car Radio station | 380
3 | Tetra system dispatch control and monitoring set | 43

## Emergency Car and components
| Items | Quantity
1 | ambulance car c type (intensive care mobile unit) | 30
2 | Motorcycle ambulances | 50
3 | Motocycle for ambulance firs responders with helmets for ambulance firs responders | 50
4 | CPR machine lucas 2 | 150
5 | Rec. camera for ambulance patient cabine | 400
6 | Tablet for Ambulance Emergency Medical Care Car | 400
7 | Body worn camera for ambulance group | 700

## Laboratory
Item | NCDC | Number of Units
PCR Reagents and Consumables
Sample collection tubes with VTM and 2 plastic swab applicators | 250000 | 20000
QIAamp Viral RNA Mini Kit | 600 | 80
QIAamp Mini Collection Tubes | 150 | 20
QIAsymphony DSP Virus/Pathogen Kit, 192 preps, includes reagent cartridges, enzyme racks and accessories | 500 | 80
TaqPath™ COVID-19 CE-IVD RT-PCR Kit, 1000 tests | 200 | 10
MagMAX™ Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit, 2,000 preps | 200
KingFisher Deepwell 96 Plate, V-bottom, polypropylene, case of 50 plates | 400 | 10
KingFisher 96 KF microplate (200μL) case of 48 plates | 100 | 40
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | 200
Thermo Scientific™ Matrix™ 850-1250ul Pipette Filter Tips (960 per case) | 700
KIT COBAS 6800/8800 SARS-COV-2 192T | 1060 | 40
KIT COBAS 6800/8800 SARS-COV-2 RMC | 130 | 15
KIT COBAS 6800/8800 BUFF NEG RMC IVD | 130 | 8
Solid Waste Bag With Insert Set of 20 | 70 | 50
cobas omni Processing Plate | 140 | 3
KIT COBAS 6800/8800 SPEC DIL REAGENT IVD | 180 | 4
KIT COBAS 6800/8800 LYS REAGENT IVD | 180 | 10
cobas omni Amplification Plate | 70 | 5
KIT COBAS 6800/8800 MGP IVD | 430 | 3
KIT COBAS 6800/8800 WASH IVD | 1060 | 6
KIT COBAS PCR MEDIA SECONDARY TUBE | 200 | 20
cobas omni Pipette Tips | 270
cobas® 6800 System | 1
06612601001 LightCycler 8-Tube Strips (white) – 10 packs | 1000
04729692001 LightCycler 480 Multiwell Plate 96 – 3 packs | 350
Modular Wuhan CoV E-gene | 1000
Modular Wuhan CoV RdRP-gene | 50
LightCycler® Multiplex RNA Virus Master | 550
Elecsys® Anti-SARS-CoV-2 | 204 | roche
ProCell | 32 | roche
CleanCell | 32 | roche
SysClean | 8 | roche
Assay Tips | 32 | roche
Assay Cups | 20 | roche
SysWash | 16 | roche
Diluent MultiAssay | 12 | roche
Clean-Liner | 8 | roche
Service Kit H, Elecsys/cobas e: | 2 | roche
Service Kit Y, Elecsys/cobas e: | 2 | roche
Valve Body, Elecsys/cobas e: | 3 | roche
Sipper Wash Station, Elecsys/cobas e: | 3 | roche
Measuring cell, Elecsys/cobas e: | 2 | roche
SAP Test Elecsys/cobas e | 4 | roche
BlankCell Elecsys.cobas e | 6 | roche
CellCheck Elecsys/cobas e | 6 | roche
TSH Elecsys cobas e 200 | 4 | roche
Logix Smart Coronavirus disease 2019 (COVID19) kit | 50000
RealStar® SARS-CoV-2 RT-PCR Kit 1.0, 384rxn, Prod. No 821015, Altona | 105
SARS-CoV-2 Amplification Reagent Kit 4*24 | 1000 | Abbott
SARS-CoV-2 Control Kit | 200 | Abbott
TECAN ASPS 1ML PIPETTE TIPS 24 X 96 | 1300 | Abbott
TECAN ASPS 0.2 ML PIPETTE TIPS 24 X 97 | 300 | Abbott
ASPS REACT VESSELS 500X | 1000 | Abbott
M2K 200 ML REAGENT VESSEL (6X15) | 1000 | Abbott
ASPS 96WELL DP PLATES 32 X | 2000 | Abbott
M2K 96WELL OPT PLATE 20X | 800 | Abbott
M2K OPTICAL AD COVERS100X | 100 | Abbott
mSample Preparation System DNA, 1*96 | 2000 | Abbott
Xpert® Xpress SARS-CoV-2 test | 100000 | Cepheid
Molecular grade Ethanol, 500 ml bottle | 500
RT-PCR Grade Water | 50
Real-time PCR plates with optical seals, 0.2 ml, compatible for ABI QS5/7 and Biorad CFX96, 100 per case | 100
PIPETTE TIP FILTER (MetlerToledo) , 0.1 - 10 ul, ster., box-960 | 700
PIPETTE TIP FILTER (MetlerToledo) , 10 - 100 ul, ster., box-960 | 100
PIPETTE TIP FILTER (MetlerToledo) , 20 - 200 ul, ster., box-960 | 100
PIPETTE TIP FILTER (TipOne) , 20 - 200 ul, ster., box-960 | 700
PIPETTE TIP FILTER (MetlerToledo) , 100 - 1200 ul, ster., box-960 | 700
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 350000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 200
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 100000
swab with breakpoint for collection of nasopharyngeal specimens | 350000
nCov-2019 Rapid detection kit (IgM/IgG) | 100000
nCov-2019 Rapid detection kit (Antigen) | 100000

## PPE
PPE | Total | NCDC | Emergency Service
GOGGLE | 54000
GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 4000 | 50000
GOWN | 2040000
GOWN, AAMI level 3, non sterile, disp., size L |  | 16000 | 2000000
GOWN, AAMI level 3, non sterile, disp., size M |  | 16000 | 0
GOWN, AAMI level 3, non sterile, disp., size XL |  | 7000 | 0
GOWN, AAMI level 3, non sterile, disp., size XXL |  | 1000 | 0
GLOVE | 1200000
GLOVE EXAMINATION, nitrile, pf, size L |  | 39000 | 1000000
GLOVE EXAMINATION, nitrile, pf, size M |  | 80000 | 0
GLOVE EXAMINATION, nitrile, pf, size S |  | 80000 | 0
GLOVE EXAMINATION, nitrile, pf, size XL |  | 1000 | 0
MASK | 3390315
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 15000 | 3000000
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 15000 | 0
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 10000 | 0
RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 50000 | 300000
FACE SHIELD, clear plastic, disp. |  | 300 | 0
N95 mask fit test kit |  | 10 | 5
SANITAZER LIQUID | 126000 |  | 0
ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 1000 | 100000
Antibacterial liquid soap (liters) |  | 0 | 0
Alcohol-based hand rub (70%, liters) |  | 5000 | 0
Chlorine-based cleaning solution for surfaces |  | 5000 | 10000
Disposable paper tissue rolls |  | 5000 | 0
OTHER CONSUMABLES | 160920 |  | 0
BOX, triple packaging, biological substance UN3373 +pouch |  | 50 | 0
Thermometers (standard) |  | 200 | 0
Infrared thermometers |  | 20 | 500
headband |  | 40000
boot covers |  | 80000
biohazard bag 19/24 |  | 40000
SAFETY bag for PPE equipment |  | 100
Papr |  | 50

## Specs
Diagnostics | Min Specs
nCov-2019 Rapid detection kit (IgM/IgG) | Utilizes human whole blood (preferably peripheral), serum, or plasma· Built-in control (sensitivity) ≥ 90%, specificity ≥ 95%, number of samples used for clinical evaluation ≥ 100; · Absence of cross-reactions: human coronavirus panel, HBV, HCV HIV-1 HIV-2 Adenovirus, Parainfluenza virus 1-4, Influenza A, Influenza B, Respiratory syncytial virus, Rhinovirus· Preferably: Follow up with additional positive and negative control samples, sample collection kit and cross-examination: Human Metapneumovirus (hMPV) Chlamydia pneumoniae Streptococcus pneumoniae Mycobacterium tuberculosis Mycoplasma pneumoniae EB Virus, Enterovirus 71· Used in rapid, qualitative and differential detection of IgG and IgM antibodies· Delivers clinical results between 10 and 20 minutes at the point-of-care· Visual interpretation of results· No special equipment needed· CE-Marked, IVD, Safe Packaging, Labeling Method: Immunochromatographic· STANDARD: to be approved by FDA
nCov-2019 Rapid detection kit (Antigen)
nCOV-19 Real-time PCR (with extraction kits) | The kit should be multiplex assay with capability of detection of at least two target genes and internal extraction control. Negative and positive PCR controls as well as master mix should be included in the kit.The limit of detection with 95% confidence interval (LoD 95) for screening / confirmatory assays should be at least 8 / 10 copies per reaction.The specificity of the kit should be tested to demonstrate the analytical specificity to Coronavirus SARS-CoV-2. It should not show the cross amplification with other human pathogens including human coronaviruses (229 E, HKU1, MERS, SARS, NL63, OC43), Influenza, RSV and other respiratory viruses.The limit of detection with 95% confidence interval (LoD 95) for screening / confirmatory assays should be at least 8 / 10 copies per reaction.The specificity of the kit should be tested to demonstrate the analytical specificity to Coronavirus SARS-CoV-2. It should not show the cross amplification with other human pathogens including human coronaviruses (229 E, HKU1, MERS, SARS, NL63, OC43), Influenza, RSV and other respiratory viruses.
ECG 12 lead | 12-lead ECG with colour screen, with ECG recording manual and automatic function, with battery, charging time no more than 4 hours. With the ability to print on paper not less than 80 mm, with ECG cable, with multiple electrodes. with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan)
patient monitor for vital signs | Patient monitor, with colour display, for adults, pediatric and neonatal patients options, with wall or shelf mounting device, (ECG, NIBP, SpO2, T, HR, P), ECG chanels: I, II, III, aVR, aVL, aVF, V, Equipped with a set of electrodes, transportation battery( 12W და 220W Charging device), storage working duration at least 5 hours. ISO, CE Certificate existence, with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan)
portable oxygen concentrator | Concentrator with a capacity not less than 5 liters of oxygen per minute, with flow regulation, with inhalation function, oxygen production not less than 93%
Pulse oximeters | Portable Pulse oximeter, with color screen, on display - pulse, percentage of oxygen, with battery, with hanger and protective bag
Infrared thermometers | Non-contact thermometer. Measurement of body temperature. Hygienic and safe-measure without skin contact. Measurement in <1 second Infrared measurement technology Display in Celsius or Fahrenheit Free high temperature alarm setting with battery
portable transport ventilator for adults pediatric and neonatal patients, aproved for use helicopters and airplanes | transport ventilator for adults, pediatric and neonatal patients (IPPV, SIMV, CPAP, PEEP mode, pressure controllated ventilation mode) peep from 0 to no less than 20 mBar (cmH20), with battery (DC12v and AC220v charging device). Multiple flow sensor, the basic and a spare countour for adult and neonatal patients, (countour with test lung and face mask) brand new, color display, wall mounting, with transportation bag, with central and local pipe of the oxygen, with own oxygen cylinder, working temperature range at least from ‐18 c to +50 c‐ , the oxygen concentration mixed and 100% , storage battery at least 5 hours working time, charging time not more than 5 hours, must have a certificate of ISO 10651-3, CE certificate, agreeng document to EN 1789. ventilator should have certificate for using at air transport.
Defibrilator with patient monitoring system for adults and pediatric peds | External biphasic Defibrillator, output energy levels from 5 to not less than 270 J with adult and pediatric integrated paddles, with battery, with colour display, ECG, SpO2, P index, external pacing , battery operation time in full charge at least 300 min. ISO, CE Certificate existence, with wall mounting device. with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan)
ECG 12 lead | 12-lead ECG with colour screen, with ECG recording manual and automatic function, with battery, charging time no more than 4 hours. With the ability to print on paper not less than 80 mm, with ECG cable, with multiple electrodes. with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan)
portable oxygen generation system (pogs) | Equipment with the ability to quickly transport and arrange oxygen in case of emergency, in order to be used in field missions. It should be possible to supply oxygen to the patient directly from the device, as well as to pump oxygen cylinders. It should be possible to provide oxygen for the breathing ventilator with this device.
patient monitor for vital signs | Patient monitor, with colour display, for adults, pediatric and neonatal patients options, with wall or shelf mounting device, (ECG, NIBP, SpO2, T, HR, P), ECG chanels: I, II, III, aVR, aVL, aVF, V, Equipped with a set of electrodes, transportation battery( 12W და 220W Charging device), storage working duration at least 5 hours. ISO, CE Certificate existence, with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan)
portable oxygen concentrator | Concentrator with a capacity not less than 5 liters of oxygen per minute, with flow regulation, with inhalation function, oxygen production not less than 93%
Pulse oximeters | Portable Pulse oximeter, with color screen, on display - pulse, percentage of oxygen, with battery, with hanger and protective bag
Field Hospital tent sets for bioisolation patients | The tent should be at least 30 sq.m. with a floor, lighting system, heating and cooling system, if necessary with a compressor, the possibility of integration with another tent, in order to manage infectious patients, in case of need the patient should be isolated in the tent.
isolation patient transportation capsule | Transport isolation capsules, especially for transportation of patients with dangerous infections, should be available medical manipulations with the patient placed in the capsule, if necessary, without unisolation, with a set of appropriate filters and a gas circulation device.
CPR machine lucas 2 | Automatic cardiac resuscitation device, the ability to automatically perform chest compressions without the involvement of medical personel, frequency not less than 100 pressures per minute
Bone Catheter for adults and pediatric patients | Bone catheter for adults and pediatric patients (1000 pieces for adults and 500 pieces for pediatric)
Rec. camera for ambulance patient cabine | Recorder with data storage and transmission (wifi / lan). It should be possible to start / finish recording manually as well as set it to automatic mode
Tablet for Ambulance Emergency Medical Care Car | Tablets for ambulances, with the appropriate standard of drop, vibration safety, GPS, WIFI function, with the ability to support at least 4 G Internet, equipped with charger, car mount device
Body worn camera for ambulance group | body worn recording camera with data storage and transmission capability,with manually start / finish recording function, with the ability to store data for at least 24 hours

## Specs Ambulance
N | Name | ambulance car
1 | Minibus-type ambulances | New -Not used (Mileage -No more than 1000 km), manufacturing yaer - No earlier than 2019
2 | Vehicle body | Full body
3 | Vehicle Color | white
4 | wheel location | left
5 | Four Wheel Drive or/and on/off of axle, locking differential, low transmit | set
6 | Power Steering hydraulic | set
7 | ABS system | set
8 | A mandatory requirement | directional stability system (ESP, ESC or/and another one)
9 | A mandatory requirement | audio system Radio
10 | Protective cushion (airbag) in the driver's cab | 2 or more
11 | Engine nominal power (not less than euro 5 standarts) | not less than 125 hp
12 | Fuel Type | diesel
13 | fuel tank | not lees 70 Lt
14 | Gearbox | Mechanics 7 step( 6+1, including rear moving step)
15 | protective shield of engine lower part | set
16 | Rear salon length | not less than 3.45 meters
17 | Rear salon width | Not less than 1.7 meters, width between the rear wheel arches at least 1.35 meters
18 | The height of the rear cabin (from floor) | not lees 1,85 meters
19 | Side Door width of the patient's booth (From the opposite side of the steering wheel), with glass (opening / closing function) | not lees 1,1 meters
20 | Rear door Height | not lees 1,5 meters
21 | The width of the rear doorway | not lees 1,3 meters
22 | Rear door type | 2 (two) aside open door
23 | number of doors | 5
24 | ground clearence | not lees 0.15 meters
25 | not less R 16 diameter tires. ( including same size spare tire) * | set
26 | Patient cabin’s each doors should be provided with support device, to prevent the arbitrary closing of the door. | set
27 | Storage battery | 2 (two) pieces or more, each not less 90 Ampère
28 | Storage battery charging spare device | set
29 | Design
30 | Thermal insulation | set
31 | Front and Rear salons heating / cooling system. For regulator In rear saloon electric sensor board | set
32 | Front and Rear salons dividing partition with sliding window (window should have a lock with fixator, Front and rear salon must have a full body construction) sizes with agreeng buyer | set
33 | Ceiling and wall coating (Heat, sound and hydro insulation) | set
34 | Extinguisher (Car) for Front and Rear salons | set
35 | Floor (antibacterial) water resistant insulation, floor cover anti static and must overlap on the wall and shelves not less by 5 cm | set
36 | Rear doors with semi-transparent covers glass. Rear door should have installed steps (level), so that Med- Staff did not find it difficult to access from the back door. | set
37 | Rear salon Glass with semi-transparent covers | set
38 | Handle stick on entire length of rear cabin ceiling (solid construction) | set
39 | Infusion system hanger, (Built-in ceiling or hanging-on) | not less 4 set
40 | Number of seats in front cabin (including the driver) | 3
41 | interior of rear saloon should be made with "fiber glass" or "ABS plastik" material, with hydroisolation, made with fire-proof, desifenctant liquid durable material | set
42 | Oxygen system, cylinders with mounting accessories, gas regulator removable crunch, with regulators | set, total volume of oxygen not less than 40 liters, number of cylinders agreeng with buyer
43 | Oxygen volume regulator | 1
44 | Oxygen pressure regulators | not less 2
45 | Cabinets, shelves, store boxes, hooks ** | set
46 | Chairs and Seats in the rear cabin for med-personnel: seat with folding chair, in parallel to the stretcher, with safety belts | 1
47 | med-personnel's rotating seat with handles (turn around 90 degrees both sides), with safety belt, placed parallel to the stretcher, at top part of the stretcher. | 1
48 | Folding chair seat (Seat backrest on the Salons partition, Not less than 0.4 m wide) with safety belt. | 1
49 | bin for medical waste, capacity non less 5 liters | 1
50 | Electrical equipment, power
51 | One unit fleshing signal on the roof front side with diod fleshing, with outside transparent glasses (with side illumination), fleshing signal with blue and white light (with function projector), with animation remote control to change lighting options. working voltage -12 wolt, protection class not less than IP 65, length not less than 120 cm, with ce, R65 and SAEJ845 certificates, Two units on front bumper with blue-white LED-Diod technology, 3 units on both sides and 2 units at the back. with airtight performance, One unit fleshing signal on the roof rear side. | set
52 | Loudspeaker system at least 150 watts, Power output 115 dB, "loudspeaker" built-in flashlights or other place,, hermetic performance, at least nine standard regimens of voice, power supply constant electricity 12 volt, remote control integrated with fleshing signal. | set
53 | Ambulances vehicle relevant ceiling lighting with white color light (for possibility of good observation patient's vital signs: skin color, eye pupil reflex, etc.) | set
54 | Spot lights in celling (for stretcher) | 2 or more
55 | Patient cabin lighting and heating-cooling system Control Board should be installed on proper location, (not to make discomfort for the patient) | 1
56 | 12-220 voltage inverter (not less than 2 KWT) | set
57 | Back run headlight | 1
58 | front and rear fog lamps | set
59 | possibility of connection between driver and rear salon
60 | Back run voice signal | set
61 | 220 volt outlet in rear salon (european standard) | not less than 6
62 | 12 volt outlet in rear salon not less than 4 and in front salon not less than 2 | not less than 6
63 | Outside outlet for 220 voltage supply internal operation, with protective sheet and connecting cable 15 meters. | 1
64 | Ventilation set of the rear cabin | set
65 | car doors central locker, key with remote, with posibility to open rear and front cabines independently, alarm signal if door is open or not fully closed | set
66 | fuel tank hood with locking function | set
67 | video recorder, mounted in the drivers cabine, watching front area, vision not less than 150 degrees, memory not less than 60 gb, capacity at least 24 hours of video recording, with a minimum recording quality of 1920x1080, 30 fps (speed), equipped with GPS and Wi-Fi function | 1
68 | parking control system not less than 8 sensor and rear view camera | set
69 | Immobilizer Utilities
70 | Stretcher with receiver device, for adults . With its lower stand (made with rustproof material) with Height control mechanism, also lower stand with Height control mechanism, for stretcher download, to have appropriate movment capacity. lower stand - Possibility of width movement in the cabin. lower stand with damping system. stretcher with folding tires (locking device on wheels), with their guides, at least three belt for patient, Load capacity not less 220 kg; Mattress dimensions: no less than 55 cm X200 cm X85 cm (width, length, height), inaccuracy ± 5 cm; Weight: not more than 40 kg. made with desifenctant liquid durable material | set
71 | Stretcher infusion tripod (set on / set off function) | 1
72 | Spare Stretcher, (Folding, with an opportunity to get seat shape, with tires, wheel locks, with spetial equipment for moving on the stairs) comfortably fixed, not to create discomfort to the patient. | 1
73 | vacuum matress with appropriate suction | 1
74 | Immobilization shield (Patient safety belts type spyder, head fixator) The minimum length 1, 70 m, load capacity not less then 150 kg. | 1
75 | Medical Equipment and Supplies
76 | transport ventilator for adults, pediatric and neonatal patients (IPPV, SIMV, CPAP, PEEP mode, pressure controllated ventilation mode) peep from 0 to no less than 20 mBar (cmH20), with battery (DC12v and AC220v charging device). Multiple flow sensor, the basic and a spare countour for adult and neonatal patients, (countour with test lung and face mask) brand new, color display, wall mounting, with transportation bag, with central and local pipe of the oxygen, with own oxygen cylinder, working temperature range at least from ‐18 c to +50 c‐ , the oxygen concentration mixed and 100% , storage battery at least 5 hours working time, charging time not more than 5 hours, must have a certificate of ISO 10651-3, CE certificate, agreeng document to EN 1789. ventilator should have certificate for using at air transport. | 1
77 | Patient monitor, with colour display, for adults, pediatric and neonatal patients options, with wall or shelf mounting device, (ECG, NIBP, SpO2, T, HR, P), ECG chanels: I, II, III, aVR, aVL, aVF, V, Equipped with a set of electrodes, transportation battery( 12W და 220W Charging device), storage working duration at least 5 hours. ISO, CE Certificate existence, with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan) | 1
78 | External biphasic Defibrillator, output energy levels from 5 to not less than 270 J with adult and pediatric integrated paddles, with battery, with colour display, ECG, SpO2, P index, external pacing , battery operation time in full charge at least 300 min. ISO, CE Certificate existence, with wall mounting device. with connection posibility via inetrnet or connection posibility with other relevant device, for transfering data (wifi/lan) | 1
79 | Infusion Pump for infusion solutions, with battery ISO, CE Certificate existence with wall mounting device | 1
80 | Pump, (2 syringes one of them not less 50 ml syringe capacity), with battery, ISO, CE Certificate existence, with wall mounting device | 1
81 | Aspirator with 1 liter jar or more, at least 3 mode of pumping, with battery, pump tube length at least 1.5 meters, with the negative pressure indicator. with wall mounting device, ISO, CE Certificate existence | 1
82 | Medical bag (Laryngoscope with set of straight and curved blades 0,1,2,3,4 sizes, ambu bag for adult, pediatric patients, oxygen cylinder 0.5 - 1 l with reducer, Medicines and medical goods storage) | 1
83 | Oxygen Device: oxygen distribution with flowmeter, Oxygen Moisture glass, Oxygen outlet 3-4 (DIN 25 standard) | set
84 | portable Oxigen cylinder with bag, with reducer and volume control set (volume not less 2.4 L) | 1
85 | kendrick fixator | 1
86 | portable refrigirator 10 liter capacity, temperature range not less -5 to +10, with posibility to fix in the patient salon | 1
87 | leg traction fixator | 1
** Spare tire and other equipment should be installed outside of the cabin, so that their use does not pose an inconvenience to the patient.
**All shelves and boxes should be fixed to each other, to reduce noise and ensure the uninterrupted use. All shelves and boxes should be screwed-on in the floor, to be able of their removing in case of the works will be required on the vehicle. Cabinets, shelves, storage should be open or closed, with drawers, with rendered or common doors, with fixator shutters, made with organic glass or solid material. Of sufficient size and configuration to provide all necessary equipment, medical consumables and medical devices placed in storage. All equipment must be readily accessible to personnel, even while loaded.Cabinets should be able closed firmly with lock (lock holder) to prevent inadvertent movement of the door. Cabinets, shelves, brackets and storage layout and dimensions should be pre-agreed with the buyer.
Emergency vehicles should be marked on with distinctive sign / symbol, which should be agreed in advance to the buyer.

## Delivery exp.
Procurement Plan |  | Immediate Procurement: % of Estimated Needs by September 2020 | Second Procurement: % of estimated need by December 2020 | Medium term (1 and 2 Quarter of 2021)
PCR Reagents and Consumables | High Priority | 50% | 50%
PPE | High Priority | 50% | 50%
Rukhi Hospital 100 beds | High Priority | 80% | 20%
Batimu hospital 150 beds | High Priority | 80% | 20%
Lisi Hospital 200 beds | Medium Priority for equipment as it should be refurbished first | 20% | 30% | 50%
Infectios Disease Hospital | High Priority | 100%
Emergency/Embulance Service | High Priority | 80% | 20%
Regulatory and Drug Agency | High Priority | 60% |  | 40%

## Data Validation (hidden)
Selection:
Available through existing LTA/Contracts
Available stock
Not available