*************************************************************************************************************************

ÖFFENTLICHE AUSSCHREIBUNG / PUBLIC ANNOUNCEMENT

Install sampling valves for all residential houses

in Frankfurt am Main - Germany

**************************************************************************************************************************

The U.S. Consulate General Frankfurt invites you to submit offers for a firm fixed price for:

Das US Konsulat Frankfurt bittet Sie ein Pauschalangebot für die folgenden Leistungen zu übermitteln:

I.	GENERAL INFORMATION

This Statement of Work is intended to identify basic requirements for the installation of two sampling valves in each heating room of the 32 residential houses at Carl-Schurz-Siedlung (CSS), located in Frankfurt am Main, Germany.

Hereinafter known as the Work and to provide applicable criteria which the Local Contractor must use for the preparation of construction of the Work.

II.	PROJECT REQUIREMENTS

- Description of Project

The United States Government (USG) Department of State (DOS), Consulate General Frankfurt is planning the installation of manual sampling valves in the heating rooms of all residential houses at Carl-Schurz-Siedlung (CSS), located in Frankfurt am Main, Germany. The requirements below are the basis for the installation.

B.	General Requirements

- Installation of two manual sampling valves (one to be installed on the hot water supply of the domestic water heaters and one on the circulation piping) for all heating rooms at Carl-Schurz-Siedlung Housing Complex.

A sketch is included with this SOW and shows the location of each of the two sampling valves per heating room.

- The Contractor shall maintain a system of quality assurance and quality control to ensure a high level of quality.

The price should include all materials, which are required to complete the installation. Only high quality, first class materials and fittings should be used.

- Specific Requirements / Product Features

- Gunmetal sampling valves for taking samples from a potable water installation for analysis of microbiological and chemical parameters according to German Water Directive (TrinkwV)

- Gunmetal, DN 10, G 3/8

- Sampling pipes should be able to be disinfected by flame

- DVGW approval

## D.	Special Requirements

- The contractor must employ a German/English speaking site supervisor responsible for the work the respective know-how required, as well as representative skilled staff. These persons shall be present on site during all working hours.

- Working hours will be from 8:00 am to 4:30 pm and it is not allowed to schedule any work on German or U.S. Federal Holidays. The Contractor must take waiting time into his price account.

- Contractor must fill out all required security paperwork and obtain the necessary clearances from the security office before beginning and performing the work.

- The Contractor shall be responsible that the work will be performed with materials, equipment and systems that provide operational dependability and are easy to be maintained or replaced. Emphasis must be placed on the uniformity of parts and components to maximize interchangeability.

- Only components and building elements with officially tested components are to be used; EC type examination certificates and official approvals must be submitted.

- The Contractor shall provide a concrete time schedule for installation to allow coordination with the families at CSS.

Performance period: 28 calendar days after the notice to proceed (NTP), for the completion of this project.

- Upon completion of work, contractor shall provide a complete set documentation for the installed equipment to the COR.

- For all work, special protection and work safety is required. The contractor has to meet the safety standards according to the local labor protection laws and the demands of the professional association requirements.

#### III.	CODE COMPLIANCE

A.	In principle the work has to be done according to the state of the art (nach dem aktuellen Stand der Technik), according to DIN EN ISO 19458, according to the German Drinking Water Directive (TrinkwV) and to the German VOB/B.

B.	Project Schedule:

##### The Contractor shall develop a Construction schedule. Such schedule

##### shall be coordinated with and approved by the COR. Construction

##### schedule is important in order all planed works to be discussed with the families at Siedlung.

##### Performance period: 28 days after the notice to proceed (NTP), for the completion of this project.

IV.	INSPECTION

A.	The Contractor shall maintain a system of quality assurance and quality control to ensure that the documentation of the design meets the requirements of this contract.  The Government reserves the right, as provided herein, to inspect the Contractor's work as well as his system of QA/QC.

V.	ACCEPTANCE

- Acceptance of deliverable items shall be by the Contracting Officer's Representative (COR).

Sketch – Location of sampling valves at each heating room

Site visit:

Besichtigungstermin:

Not being planned at this time

Request for Quotation Number:

Ausschreibungsnummer:

PR7403359

Due date for quotation:

Letzter Abgabetermin:

30 July 2018

The responsible purchasing agent for this announcement would be:

Der zuständige Ansprechpartner für diese Ausschreibung ist:

Purchasing Agent:  Thomas Petersen

E-Mail: FrankfurtGSOProcurementTeam@state.gov

**************************************************************************************************************************