STATEMENT OF WORK (SOW):

Overview of Work

Renovation/Remodeling of Chapel at the Consulate Office Building in Frankfurt am Main.

- Demolition work

- Dry wall work

- Masonry work

- Plastering work

- Flooring work

- Ceiling work

- Tiling work

- Plumbing work

- Painting work

Work should include all material and labor costs

General Scope Requirements

General Supervision

Contractor must have a representative at the job site as needed to supervise & coordinate work.

Contractor must have one employee onsite who can communicate in intermediate level English or fluent German.

Coordination – contractor is responsible for coordination between trades as well as general coordination with the USG.

Security & Access

All contractor & subcontractor personnel must submit background check & release forms at minimum 6 weeks in advance of work to the USG

Work required is to be carried out at the following times:

Monday through Friday from 8.00 a.m. to 4.30 p.m.

In addition, staff will need to be escorted and must remain within visibility of the escorts.

Debris and Cleanup

Contractor is required to perform all cleaning to keep a clean and safe worksite. Trash and miscellaneous debris must be cleaned from the jobsite minimum once per day. Area must be clean at the end of the work day. Contractor is responsible for the disposal of the old flooring material.

Safety

  - General: The contractor shall provide and maintain work environments and procedures which will safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to contractor operations and activities; avoid interruptions of Government operations and delays in project completion dates; and, control costs in the performance of this contract.

  - All work must be carried out by German local, state and federal safety standards, and to the US Army Corps of Engineer Safety and Health Requirements Manual (EM 385-1-1), which ever standard is strictest.

  - Proper personal protective equipment (PPE) shall be used at all times. This includes proper footwear, clothing, eye protection, gloves, etc. While overhead work is occurring, hard hats must be used.