*************************************************************************************************************************

ÖFFENTLICHE AUSSCHREIBUNG / PUBLIC ANNOUNCEMENT

Purchase and installation of outdoor freight lift

**************************************************************************************************************************

The U.S. Consulate General Frankfurt invites you to submit offers for a firm fixed price for:

Das US Konsulat Frankfurt bittet Sie ein Pauschalangebot für die folgenden Leistungen zu übermitteln:

1.	GENERAL INFORMATION

There is a large basement storage area, which is currently only accessible via stairs. In order to make better use of the limited storage space at the COB, we require the purchase and installation of a outdoor platform lift.

2.	PROJECT PERFORMANCE REQUIREMENTS

Timeframe – In general, the contractor will have 30 days to complete the installation.  No delay adjustments should be considered, however, until after 45 days have elapsed.  The start date should be September/October 2018.

The platform needs to meet the following requirements

•	500 kg lift capacity.

•	4.5 meter lifting height (adjustable to specified height) .

•	All weather resistant design.

•	4.5 meter per minute lift speed.

•	Grated metal platform with full under platform visibility - Non-skid surface - 8” positive action reversible toe plate for universal access.

•	Detachable guard rail. Mounting points to secure load.

•	Platform size  100cm x 100cm.

•	Foldable platform is preferred.

Site visit:

Besichtigungstermin:

5. September, 2018 – 10:00

Shipping terms:

Lieferbedingungen:

Including delivery to the Consulate General Frankfurt.

Inklusive Lieferung an das örtliche Generalkonsulat in Frankfurt

Payment terms:

Zahlungsbedingungen:

Payment terms are to be 30 days after Government acceptance of supplies delivered/

Rechnungsstellung nach Lieferung mit 30 Tagen Zahlungsziel

Request for Quotation Number:

Ausschreibungsnummer:

PR7528175

Due date for quotation:

Letzter Abgabetermin:

14 September, 2018

The responsible purchasing agent for this announcement would be:

Der zuständige Ansprechpartner für diese Ausschreibung ist:

Purchasing Agent:  Thomas Petersen

E-Mail: FrankfurtGSOProcurementTeam@state.gov

**************************************************************************************************************************