*************************************************************************************************************************

ÖFFENTLICHE AUSSCHREIBUNG / PUBLIC ANNOUNCEMENT

Installation of sanitary connections

**************************************************************************************************************************

The U.S. Consulate General Frankfurt invites you to submit offers for a firm fixed price for:

Das US Konsulat Frankfurt bittet Sie ein Pauschalangebot für die folgenden Leistungen zu übermitteln:

Conditions:

The contractor is advised that –

- Normal US Consulate working hours are 08:00-16:30hrs Monday – Friday.

- The Principle Contractor who is awarded the project/contract shall be named within this document as the contractor.

- The contractor shall familiarize him/herself fully with this specification document and include for all materials, labor and equipment costs to complete the tasks and actions that are specified within this document.

- The Consulate operates strict security procedures for entry into the building, all tradesmen’s/women’s details shall be provided to the Contracting Officers Representative (COR) a minimum 48 hours before visiting building.

- All of his/her employees shall require security clearance before being allowed to work at the Consulate or Government owned/long term leased properties; to obtain clearance each employee shall complete all required security clearance forms.

- When working within residential buildings the contractor shall ensure that all doors remain closed/locked at all times and ensure the properties are left secure at the end of each working day.

- Security at the residential properties shall be the contractor’s responsibility throughout the duration of the project.

- Access to the property is limited and only with agreement by either the occupant or the COR.

- No work shall be started or materials ordered until the contractor has received a purchase order for the works or has been given notice by the Contracting Officer.

- The costs of additional work performed by the contractor not described in this specification and not approved in writing by the U.S. Government shall be borne by the contractor.

- No work shall be completed on American/German holidays unless by prior arrange/agreement and at no addition costs to the US Government.

- The contractor is responsible for all site management including all Health & Safety, welfare & first aid facilities, employment/managing/programming of sub-contractors and site security.

- The contractor shall provide the Contracting Officers Representative (COR) with all risk assessments and method statements prior to starting on site.

- The contractor shall provide the COR a detailed program of works mapping each major task, from project start to completion finish.

- It’s the contractor’s responsibility to ensure that all project tasks specified within the specification/drawings adhere to all HSE guidelines.

- Visually display, all health and safety documents and copy of public liability insurance and project specification/drawings.

- Where the Contractor considers that the execution of any Order for work will, or is likely to, involve any interference with asbestos-based materials, lead, gas piping or storage containers, pipes conveying steam and any other hazardous substances or installations, he shall immediately stop work and forthwith notify the COR who will give the Contractor further instructions.

- The contractor shall request a hot works permit prior to starting any soldering/welding work.

- The contractor shall provide competent a foreman or leading hand on site whilst the project is in progress and he/she shall keep a copy of the specification, visitor log, and necessary Health & Safety logs daily updated, ready for inspection at any time by the “Contracting Officers Representative”.

- Only competent skilled tradesmen shall be employed to execute all aspects of the works.

- All work must be executed strictly in accordance with the current Codes of Practice.

- The contractor shall provide a complete Health & Safety/Operations file for completed works, including all operating instructions and service manuals for all appliances, equipment and materials installed, with details of all guarantees. Include all project COSH data sheets for materials within this document.

- Complete recycle program for all materials that are to be karted away.

- All works to be completed in accordance with relevant German/American Standards.

- The contractor is responsible for their own tools at all times and shall provide a lockable tool/material box for their operative’s tools and materials if/when required.

- Portables radios or other portable music devices are only allowed at residential buildings if the volume is low and shall not cause any nuisance to neighboring occupants and residents.

- No Smoking on premises

Background:

Facility Management planned to install a new industrial kitchen in Building 338 at the US Consulate General in Frankfurt am Main. Therefore, it is necessary to modify and/or replacing all needed sanitary connections (cold water, hot water connections and drainage pipes).

There will be a pre-bid meeting during which all work areas will be visited and will allow contractors to get final measurements.

The contractor shall ensure that they familiarize themselves with the technical specification prior to the arranged site visit.

From notice to proceed the contractor has 20 calendar days to complete the project.

The contractor shall keep a clean site and ensure tools & materials stowed in a safe manner.

Description:

In the building 338, the former hotel CSA, of the American consulate general in Frankfurt / Main is to be installed a new industrial kitchen. Therefore, it is necessary to reinstall all sanitary connections (cold water, hot water connections and drainage pipes).

General Requirements/Equipment:

The successful bidder must be approved for the installation.

Keep all materials in locations approved by the owner.

Keep work areas clean and clean.

Take all necessary measures to ensure the safety of workers and passengers

General description:

In the building 338, the former hotel CSA, of the American consulate general in Frankfurt / Main is to be installed a new industrial kitchen. Therefore, it is necessary to reinstall all sanitary connections (cold water, hot water connections and drainage pipes).

Labor services:

Labor services:

1. Disassembly and disposal of all old pipes.

2. Conduct all construction work and 12 penetration work as well as the disposal of old material.

3. Installation of the cold main water pipe in the basement with the thickness 1 "/ DN 25 (length: 20m)

4. Installation of the hot main water pipe in the basement with the thickness 1 "DN 25 (length: 20m)

5. Installation of the circulation pipe in the basement with the thickness 1/2 "/ DN16 (length 20m)

6. Production of seven plumbing connections for cold water of 1/2 "/ DN 16 (each 15m long) with separate shut-off.

7. Production of a sanitary connection for 3/4 "I DN 20 cold water (15m long) with separate shut-off.

8. Production of four sanitary connections for DHW of 1/2 'I DN 16 (15m long each) with separate shut-      off.

9. Production of sanitary connections for hot water of 3/4 "/ DN 20 (15m long) with separate shut-off.

10. Installation of the main waste water drain in the basement area with the pipe thickness DNIOO      (length: 20m).

11. Production of eight drainage pipes of DN50 (15m long each).

12. Installation of three floor drains (vertical or horizontal) with removable lifter bell with the size DN       IOO (per 10m long).

13. Setup and connection of the grease separator, size DN100 according to DIN 4040-1 (for building installation), with separate exhaust duct of size DN40 (length 25 m)

14. Insulation of the pipeline cold and warm water / circulation and drainage line.

15. Connect all sanitary parts.

Material:

01. Use of hot and cold water pipes of the brand Geberit (Mepla) or alternative Brand Rehau

02. Use of drainpipes in SIM red brass.

03. Floor drains made of stainless steel with removable bubble cap and metal grid.

04. Installation of a grease separator - Manufacturer Topatec AQUA-LIPOSTAR TYPE FH or similar – size

DN100, with separate exhaust duct of the size

DN40 (length 25m), grease separator made of plastic for building installation according to

DIN EN 1825-1 and 4040-1 Mudroom min. 100 liters, fat chamber min. 40 liters.

Manufacturer Topatec AQUA-LIPOSTAR TYPE FH or similar.

To the points 1 to 15

01 .0) Dismantling and disposal of old water and drainpipe with all related construction work.

02.0) Conduct core drilling for the needed 12 holes from the ground floor to the basement, 3 times DN

150, and 9 times DN 100.

03.0) Deliver and install cold main water pipe in the basement with the thickness 1 "/ DN 25.

(Length: 20m).

03.1) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves (Make and

type see  Point 01).

04.0) Deliver and install hot main water pipe in the basement with the thickness 1 "DN

25. (Length: 20m)

04.1) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves

(Make and type see point 01).

05.0) Deliver and install circulation pipe in the cellar with the thickness 1/2 "I DN 16.

(Length 20m)

05.1) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves. (Make and

type see point 01).

06.0) Deliver and install seven sanitary connections for cold water of 1/2 "/ DN 16 (each 15 m

Long) with separate shut-off valve.

06. I) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves.

(Brand and type see point 01

07.0) Deliver and install sanitary connections for cold water of 3/4 "/ DN 20 (15m long) with

Separate shut-off valve.

07.1) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves.

(Make and type see point 01).

08.0) Deliver and install four sanitary connections for hot water of strength 1/2 DN 16 (each 15m

(Make and type see point 01).

08. I) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves

(Make and type see point 01),

09.0) Deliver and install sanitary connections for hot water of 3/4 "/ DN 20 (15m long.)

with separate shut-off valve.

09.1) Delivery includes as follows: piping, pipe clamps, fittings, insulation material and valves.

(Make and type see point 01).

10.0) Deliver and install the main waste water discharge drain for the basement area with pipe

thickness DN IOO (length: 20m).

10.1) Use of drainpipes in SLM Red Greeting.

I I.0) Deliver and install of eight drain connections, DN50 (each 15m long).

11.I) Use of drain pipes in SLM Red Greeting.

1 2,0) Delivery and installation of three floor drains (vertical or horizontal) with removable bubble cap,

DN IOO (each 15m long).

12.1) Floor drains made of stainless steel with removable bubble cap and metal grid

13.0) Delivery and installation of a grease separator, size DN100, with separate exhaust duct, DN40

(length 25 m)

13. I) Manufacturer Topatec AQUA-LIPOSTAR TYPE FH or equal.

Plastic grease separator for building installation according to

DIN EN 1825-1 and 4040-1 Mud room min. 100 liters, fat chamber min. 40 liters.

14.0) All pipes should be insulated according to construction regulations.

15.0) Connect all kitchen appliances/drains/sinks after kitchen installation completed.

15. I) Siphons/Valves/Appliance valves/Reinforced hoses and small parts must be lubricated.

Safety

Contractor and contractor employees must adhere to all US Construction safety including the following:

Have a dedicated safety coordinator on site at all times.

Conduct weekly safety meeting and record minutes and submit minutes to COR

All workers must wear US required Personal Protection Equipment (PPE) including:

Hard hats

Googles/safety glasses

Safety Shoes

Hearing protection

Protective gloves

Dust masks

Respirators

Construction safety plan

Crane operations plan

Provide all material safety data sheets and insure copies are available at project site.

Quality

Once installed, all products shall be checked if fully operational. An approved quality checklist shall be given to the COR after installation. The Government will not be liable for any breakages or damages to materials whilst they are on site and will only accept products once project is completed and snagging completed

Completion

The contractor shall conduct on site quality checks prior to project completion/acceptance and advise Facility Management Office when product is ready for snagging.

Remove all unused materials and equipment from site.

Provide detailing periodic maintenance requirements.

Personnel Security:

The US Government reserves the right to deny access to U.S.-owned and operated facilities to any individual.  The Contractor shall provide the needed Security Information’s on all personnel provided for this contract prior to their utilization.  All of his/her employees shall require security clearance before being allowed to work at the Consulate or Government owned/long term leased properties; to obtain clearance each employee shall complete all required security clearance forms.

Submission of information shall be made within 10 days of award of contract. No technician will be allowed on site without prior authorization. Note: this may include cleared personnel if advance notice of visit is not given at least one week before the scheduled arrival.

Site visit:

Besichtigungstermin:

10 September, 2018 (es wird eine Anmeldung, mindestens 48 Stunden im Voraus benötigt)

Shipping terms:

Lieferbedingungen:

Including delivery to the Consulate General Frankfurt.

Inklusive Lieferung an das örtliche Generalkonsulat in Frankfurt

Payment terms:

Zahlungsbedingungen:

Payment terms are to be 30 days after Government acceptance of supplies delivered/

Rechnungsstellung nach Lieferung mit 30 Tagen Zahlungsziel

Request for Quotation Number:

Ausschreibungsnummer:

PR7635623

Due date for quotation:

Letzter Abgabetermin:

17 September, 2018

The responsible purchasing agent for this announcement would be:

Der zuständige Ansprechpartner für diese Ausschreibung ist:

Purchasing Agent:  Thomas Petersen

E-Mail: FrankfurtGSOProcurementTeam@state.gov

**************************************************************************************************************************