Revised scope of work for Removal existing furniture and supply & installation of new modular cubicles at the 2nd Floor at American Center Building, Kasturba Gandhi Marg, New Delhi

|  | Remove existing and Supply & installation of new 22 modular cubicles at the 2nd floor, American Center Building as per provided plan, drawing and scope of work |  |  |  |
| --- | --- | --- | --- | --- |
| S.No | Description | Qty | Cost | G Total |
|  |  | cubicle |  |  |
| 1 | Supply & installation of new modular cubicles as per approved drawing, dimension attached herewith. Panels of height 1665 mm, thickness 70 to 75 mm, Finished glass on one side Panel, Fabric tiles with one writing board and pin board on tiles above the work top. Electrical Raceway to run under the table top. Work Top: MDF 25 mm post form, Edge 2mm, Laminated One of size: 7’0” by 7’0” | 18 |  |  |
| 2 | Supply & installation of new modular cubicles as per approved drawing, dimension attached herewith. Panels of height 1665 mm, thickness 70 to 75 mm, Finished glass on one side Panel, Fabric tiles with one writing board and pin board on tiles above the work top. Electrical Raceway to run under the table top. Work Top: MDF 25 mm post form, Edge 2mm, Laminated One of size: 8’0” by 8’0” | 4 |  |  |
| 3 | Three Overhead Storage with metal body in 18 gauge. These should have post lam shutter (Lift & slide type) with inbuilt track light for cubicle size: 7’0” by 7’0” Two of size: 600mmx400mmx400mm One of size: 800mmx400mmx400mm | 18 |  |  |
| 4 | Three Overhead Storage with metal body in 18 gauge. These should have post lam shutter (Lift & slide type) with inbuilt track light for cubicle size: 8’0” by 8’0” two of size: 800mmx400mmx400mm one of size: 700mmx400mmx400mm | 4 |  |  |
| 5 | Three drawer pedestal (two drawers and one filing drawer), MDF facia post lam metal body in 18 gauge of size: 450mm(W) x 500mm(D) x 700mm(H) | 22 |  |  |
| 6 | Lateral filing cabinet with two filing drawer in MDF facia post lam metal body in 18 gauge of size: 750mm(W) x 500mm(D) x 700mm (H) | 22 |  |  |
| 7 | Supply and installation of cubical as per drawing enclosed, replace the existing table with a large table. Size: 98”x48”x39. MDF 25mm post form, Edge 2mm, laminated, | 1 |  |  |
| 8 | Metal Key Board Pullout Tray with Mouse Tray | 22 |  |  |

- Contractor has to remove the existing furniture from the designated locations on second floor and stack them neatly in the exterior parking bay on ground floor for further action.

- Contractor can use freight elevator for this purpose.

- Contractor shall provide and install new modular furniture (22 cubicles, 2nd floor) as per the detailed dimensioned drawing attached herewith. The attached detailed drawing is a concept drawing. The contractor is expected to provide his own drawings and recommendations.

- Contractor shall be liable to determine the dimensions on site to ensure the proper installation of new cubicles.

- Any change from drawing shall be reported back to the US Embassy.

- Any queries about the exterior finish or other options of the furniture installation will be discussed at the time of the walk through.

- All the fixtures and locks shall be soft closing and smooth working of Hettich, Hafelle or OZONE of the heaviest quality.