SCOPE OF WORKS

USAID OFFICE WASH ROOMS FACE LIFT

OVERVIEW

Client:

The United States Government (USG), Department of State (DOS), has a requirement to renovate wash rooms

Location/Contacts: USAID Building 1st floor, 2nd floor, 3rd floor and ground floor.

COTR (Contracting officer technical representative): Ruheni Peter C +254 0713600838 for the purpose of quality control, operational facilitation, technical review, project monitoring and evaluation.

OBJECTIVE

Requirements in this SOW serve as a direction to the Contractor undertaking renovation work on the wash rooms in NOB 1st floor, 2nd floor, ground floor. (Gents and Ladies toilets). The Contractor shall perform all services in accordance with local and international safety and construction standards as generally applicable to accepted professional practices. The work shall be undertaken according to the list specifications. No variations /deviations will be implemented without prior approval from contracting officer (CO). Any foreseeable element likely to warrant cost adjustments must be discussed at the point of quotation.

TIME FRAME

Upon receipt of the order, the contractor shall be expected to submit work plan/Work break down, resource allocation ( tools, labor, materials, equipment…), time schedule (Gantt Chart),  through the COTR within 5 days, commence work within 7 days and must undertake the work as per the agreed upon schedule.

APPLICABLE STANDARDS

1.	Local Building codes: the local government (adoptive by-laws)

(Building) order 1968

2.	Local Safety regulations: OSHA 2007 (safety compliance)

3.	Nairobi city Council by laws (operational compliance)

4.	NEMA by-laws (in safe disposal of waste)

5.	US safety regulations: US Army corps of Engineers

SPECIAL REQUIREMENTS

Access into the USG premises is at the discretion of the Regional Security office and therefore approval must be obtained at least 24hours before date entry. Work must be done under escort of the appropriate clearance level as applicable in the space concerned.

SCOPE OF WORK

| # | Description | units | Quantity |
| --- | --- | --- | --- |
| 1 | Interior design work: Undertake full mobilization and demobilization to allow interior works that converts the current bathrooms spaces to be of highly modernized suite using the client supplied tiles. This involves planning, provision of equipment, safety gear, dust control features, to ensure work is done with no inconveniences to the chancery operations. The planning and mobilization shall put into consideration the following: introduction of featured walls, change of floor/wall tiles, change of toilet steel partition with panel of ” non-see through” gaps, skirting, sink counter tops, paint work, ceiling, ceiling lights and other associated features. Preliminary work schedule shall be done according to basic design discussed during site visit which must be approved through the (COTR) contracting officer technical representative. Each set means –ladies and gents suits | Lump sum | 1 |
| 2 | Gents floor tiles: In a systematic manner that guarantees minimum toilet use interruptions, remove the surfacing (Tiles) of the shown floors in preparation for new installation work. The removal shall be in such a way that the existing surfaces will not get unnecessarily damaged and remain even to allow uniform profile. Install client supplied tiles in the manner described in the site visit. Ensure the drainage ports are flush to the floor and the tiles around them are neatly cut. | Squire m | 100 |
|  | Ladies floor tiles: In a systematic manner that guarantees minimum toilet use interruptions, remove the surfacing (Tiles) of the shown floors in preparation for new installation work. The removal shall be in such a way that the existing surfaces will not get unnecessarily damaged and remain even to allow uniform profile. Install client supplied tiles | Squire m | 150 |
| 3 | Gents Wall tiles: In a systematic manner that guarantees minimum toilet use interruptions, remove the surfacing (Tiles) of the shown floors in preparation for new installation work. The removal shall be in such a way that the existing surfaces will not get unnecessarily damaged and remain even to allow uniform profile. Install client supplied tiles in the manner described in the site visit. Ensure the drainage ports are flush to the floor and the tiles around them are neatly cut. | Squire m | 150 |
| 4 | Ladies Wall tiles: In a systematic manner that guarantees minimum toilet use interruptions, remove the surfacing (Tiles) of the shown floors in preparation for new installation work. The removal shall be in such a way that the existing surfaces will not get unnecessarily damaged and remain even to allow uniform profile. Install client supplied tiles | Squire m | 150 |
| 5 | Repainting Undertake paint work on the wash room wall and doors as shown during the site visit. Above. The paint shall be of Crown brand (or equivalent high quality), moisture resistant, and matches with the theme as detailed. Allow for 50% special paint in the class of trowel applied stucco. | Squire m | 200 |
| 6 | Toilets steel partitions Allow for Un-install and re-installation of the existing toilet rooms stainless steel partitions. The gaps between the panels shall be tight, neatly done and reinforcement securely done to the roof slab and adjacent wall as applicable. All broken parts/hardware must be replaced with equivalent. | Lump sum | 1 |
| 7 | Threshold: Supply and install floors transition thresholds at the entrances of the wash rooms. The material shall be Aluminum profile with safety considerations captured appropriately in regard to trip and slip hazards. | Linear m | 10 |
| 8 | Sink Bowl and Sink faucets: Un –install the existing, supply and install new hand wash sink bowls complete with 240V/50Hz powered faucets. The faucets shall be triggered through hand motion sensing. The faucet must be fitted with the appropriate device and user’s safety features. The bowl shall be of the same volumetric capacity and material as the existing. | Each | 27 |
| 9 | Soap dispensers ( S/Steel) Supply and install battery powered, automatic stainless steel soap dispensers. The dispenser shall be triggered through hand motion sensing. (2 dispensers in ladies washrooms, 1 dispenser in Gents washroom). | Each | 24 |
| 10 | Sink counter tops Supply and install granite counter top to replace the existing as per the design theme (Black galaxy).Allow for 100mm back splash face. Allow for water proofing and effective drainage of the counter surface water. | Squire m | 30 |
| 11 | Mirror reinstallation: Remove and Reinstall the mirrors upon completion of wall details. Allow for 15% breakages | Lump sum | 1 |
| 12 | Supply and install Arabic hygiene water taps in the toilets in the shown location. The tap shall be complete with the chrome plated flexible hose, tap fitting and attachment fittings. |  | 20 |

TECHNICAL PROPOSALS EVALUATION

- Prior Experience and Past Performance.

The offeror shall demonstrated record, as confirmed by references, of successful past performance of the same or substantially similar contract efforts, including quality of services or supplies, timeliness of performance, cost control, and the offeror’s business relations.

- Qualifications of Key Personnel.

The key personnel assigned to the project possess relevant prior experience, special training and education

- Technical, Resource and Management Capability.

Offeror shall demonstrate the technical excellence, management and resource capability as required to successfully completing the project work.

- Execution plan and Quality control:

The contractor shall demonstrate that he/she understands the Scope Of Work (SOW) clearly, has a technically feasible plan to execute the project as per SOW and has quality control plan. The project tasks must be broken and presented in a work schedule not exceeding 4 weeks.

- Material Specifications:

The offer shall provide material data sheet for the materials required as proof of satisfaction of material specifications

WORKMANSHIP STANDARDS

The CONTRACTOR confirms that he is an expert in this field of work and is fully knowledgeable and experienced in all aspects of procedures, methods, regulations, codes and municipal requirements and the CONTRACTOR further acknowledges that the OWNER is relying on this expertise.
Care shall be taken to ensure that the base surfaces are properly prepared and that the materials are used correctly.

General requirements

1. All work is to comply with the local building regulations.

2. The contractor will rectify any damage to all areas on completion of the works.

3. The contractor shall supply all materials and labour in order to complete the works.

4. All waste material to be taken from site and disposed of by the contractor.

5. Site is to remain tidy at all times and cleaned up on completion of works.

7. All Documentation regarding warranties, guarantees and instructional literature are to be handed to your COR.

9. Any variations are to be priced and approved in writing by CO before proceeding with the work.

10. All measurements are to be confirmed by the contractor on site.

11. Work is expected to happen during the weekend due to the nature of office operations and therefore work program must factor the aspect sufficiently

NOTE: Any damage caused by the Contractor or his contractors is to be made good at the Contractor’s expense.

Wall in front of the hand wash basin

Mirrors

Wall mosaic tiles

White counter- top wash hand basins complete with faucets

Granite top with a face block to conceal plumbing details

Paint

Floor tiles

Diamond pattern

Mosaic tile

Framed in aluminum corner strip

Wall on the left side after entrance

Floor in

Davos Marengo tile

Giato mafil wall tile

Mosaic tile

Boundary

Wall directly in front of the Gents entrance