|  |  |  |  |  |  |  |  |  | 1. CONTRACT ID CODE |  |  |  | PAGE OF PAGES |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 3 |
| 2. AMENDMENT/MODIFICATION NO. |  |  | 3. EFFECTIVE DATE |  |  |  | 4. REQUISITION/PURCHASE REQ. NO. |  |  |  |  | 5. PROJECT NO. (If applicable) |  |  |
| ###### 0001 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. ISSUED BY |  | CODE |  |  |  |  | 7. ADMINISTERED BY (If other than Item 6) |  |  |  | CODE |  |  |  |
| General Services Office American Embassy Seoul, Korea |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. NAME AND ADDRESS OF CONTRACTOR (No. Street, county, State and ZIP: Code) |  |  |  |  |  |  |  | X |  | 9A. AMENDMENT OF SOLICITATION NO. 19KS7018Q0032 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 9B. DATED (SEE ITEM 11) July 2, 2018 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 10A. MODIFICATION OF CONTRACT/ORDER NO. |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 10B. DATED (SEE ITEM 11) |  |  |  |  |
| CODE |  |  |  |  | FACILITY CODE |  |  |  |  |  |  |  |  |  |
| 11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The above numbered solicitation is amended as set forth in Item 14. The hour and date specified for receipt of Offers is extended, is not extended. Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods: (a) By completing Items 8 and 15, and returning one (1) copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the offer submitted; or (c) By separate letter or telegram which includes a reference to the solicitation and amendment numbers. FAILURE OF YOUR ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATA SPECIFIED MAY RESULT IN REJECTION OF YOUR OFFER. If by virtue of this amendment you desire to change an offer already submitted, such change may be made by telegram or letter, provided each telegram or letter makes reference to the solicitation and this amendment, and is received prior to the opening hour and data specified. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. ACCOUNTING AND APPROPRIATION DATA (If required) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS, IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check One | A. THIS CHANGE ORDER IS ISSUED PURSUANT TO: (Specify authority) THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES (such as changes in paying office, appropriation date, etc.) SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b). |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | D. OTHER Specify type of modification and authority) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E. IMPORTANT: Contractor is not, is required to sign this document and return ____ copy to the issuing office. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. DESCRIPTION OF AMENDMENT/MODIFICATION (Organized by UCF section headings, including solicitation/contract subject matter where feasible.) Replacement of the sewer and storm water lines The purpose of this amendment is to make changes in Sections B.2.4.5, B.2.4.6, B.2.6.1 and B.2.6.4 of the solicitation, as set forth in the attached pages. The current due date and time for quotations remains unchanged. SEE NEXT PAGES. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Except at provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15A. NAME AND TITLE OF SIGNER (Type or print) |  |  |  |  |  |  | 16A. NAME AND TITLE OF CONTRACTING OFFICER (Type or print) |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ## Christian S. Yun |  |  |  |  |  |  |  |
| 15B. CONTRACTOR/OFFEROR |  |  |  |  |  | 15C. DATE SIGNED | 16B. UNITED STATES OF AMERICA |  |  |  |  |  | 16C. DATE SIGNED |  |
| ________________________________________________ (Signature of person authorized to sign) |  |  |  |  |  |  | ___________________________________________ (Signature of Contracting Officer) |  |  |  |  |  |  |  |

NSN 7540-01-152-8070				           30-105			            STANDARD FORM 30 (REV. 10-83)

PREVIOUS EDITION UNUSABLE				Computer Generated			                    Prescribed by GSA FAR (48 CFR) 5

Section B.2.4.5, B.2.4.6, B.2.6.1 and B.2.6.4 are revised to read as follows:

B.2.4.5	     The Contractor shall install new #8 storm water manhole at servant’s quarters front yard as per the drawing C-03. The new #8 storm manhole shall be a Precast Concrete (PC) manhole with 1200 square, 1500mm high and 200mm thick with rebar reinforced. The Contractor shall provide the steel grating and granite stone covers.

B.2.4.6	     The Contractor shall install new #9 and #10 storm catch basins at servant’s quarters front yard, near West gate and South middle yard as per the drawing C-03. The new #9 and #10 storm catch basins shall be a Precast Concrete (PC) manhole with 600mm square, 500mm high and 150mm thick with rebar reinforced. The Contractor shall provide the steel grating and granite stone covers.

B.2.6.1	     The Contractor shall provide sand aggregate bedding for the new underground Poly Vinyl Chloride (PVC) pipe so that the bottom of the new pipe shall be accurately graded to provide uniform bearing and support for the bottom quadrant of each section of the pipe as per the drawing C-04.

The Contractor shall provide the following new branch sewer lines as per the drawing C-03;

NEW SEWER LINE:

17 meters from #4 new sewer manhole to #5 new sewer manhole

10 meters from servant’s quarters kitchen to #4 new sewer manhole

16 meters from servant’s quarters to #1 servant’s quarter new septic tank

6 meter from #1 servant’s quarters new septic tank to #5 new sewer manhole

4 meters from west guard booth to #2 guard booth new septic tank

6 meters from #2 guard booth new septic tank to the above described new concrete Hume main sewer pipe

14 meters from #3 South restroom new septic tank to the above described new concrete Hume main sewer pipe

1.3 meters from South restroom to #3 South restroom new septic tank

B.2.6.4	     The Contractor shall provide the following new branch storm water lines as per the drawing C-03;

NEW STORM WATER LINE;

20 meters from #6 new storm manhole at West storm trench to #8 new storm manhole

18 meters from #7 new storm manhole at East storm trench to #8 new storm manhole

21 meters from #10 new South East catch basin to the above described new concrete Hume main storm water pipe

0.5 meters from #9 new catch basin at West gate to the above described new concrete Hume main storm water pipe