United States Embassy Kuwait

GSO/Procurement

Kuwait City

July 15, 2018

# To:	Prospective Quoters

Subject: Request for Quotations number 19KU2018Q0049

Enclosed is a Request for Quotations (RFQ) for the below services:

Renovate/Remodel Management Office

If you would like to submit quotation, follow all solicitation instructions and complete the required portions of the attached document.

Quote Submission:

- By Email:  Quotes, together with the signed amendment(s), if applicable, must be submitted electronically to: KuwaitProcurement@state.gov;  and

- Hard Copy: Quotes, together with the signed amendment(s), if applicable, must be submitted to American Embassy Kuwait, front gate, Reference 19KU2018Q0049  Attention: Contracting Officer

A site visit has been scheduled for August 01, 2018 at 10:00am Kuwait local time. For more information, please refer to page-28.

The U.S. Government intends to award a contract/purchase order to the responsible company submitting an acceptable offer at the lowest price.  We intend to award a contract/purchase order based on initial quotations, without holding discussions, although we may hold discussions with companies in the competitive range if there is a need to do so.

Direct any questions regarding this solicitation in writing NO later than August 02, 2018 by email to KuwaitProcurement@state.gov . No questions will be accepted beyond the due date.

Quotations are due by August 19, 2018 14:00 Kuwait local time.

Sincerely,

Royce M. Branch II

Contracting Officer

TABLE OF CONTENTS

SF-1442 cover sheet

A.   Price

B.   Scope of Work

C.  Packaging and Marking

D.  Inspection and Acceptance

E.  Deliveries OR Performance

F.  Administrative Data

G.  Special Requirements

H.  Clauses

I.    List of Attachments

J.   Quotation Information

K.  Evaluation Criteria

Attachments:

Attachment A  	Statement of Work (SOW)

Attachment B  	Facilities Management – POSHO Office – Contractor’s General Responsibilities for Post Managed Construction Projects

| SOLICITATION, OFFER, AND AWARD (Construction, Alteration, or Repair) |  | 1. SOLICITATION NO. 19KU2018Q0049 |  |  | 2. TYPE OF SOLICITATION [ ] SEALED BID (IFB) xx[] NEGOTIATED (RFQ) |  |  |  | 3. DATE ISSUED July 15,2018 | PAGE OF PAGES 1 of 52 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IMPORTANT - The “offer” section on the reverse must be fully completed by offeror. |  |  |  |  |  |  |  |  |  |  |
| 4. CONTRACT NO. |  |  | 5. REQUISITION/PURCHASE REQUEST NO. PR7443554 |  |  |  | 6. PROJECT NO. |  |  |  |
| 7. ISSUED BY CODE |  |  |  | 8. ADDRESS OFFER TO |  |  |  |  |  |  |
| GENERAL SERVICES OFFICE AMERICAN EMBASSY, KUWAIT BAYAN BLK 14 MASJED AL AQSA ST. |  |  |  | AMERICAN EMBASSY, KUWAIT RFQ: 19KU2018Q0049 MASJID AL AQSA STREET, BAYAN KUWAIT. ATTN: CONTRACTING OFFICER |  |  |  |  |  |  |
| 9. FOR INFORMATION CALL: | A. NAME Zeyad Qishawi |  |  |  |  | B. TELEPHONE NO (Include area code) (NO COLLECT CALLS) 2259-1234 – Email: QishawiZI@state.gov |  |  |  |  |
| SOLICITATION |  |  |  |  |  |  |  |  |  |  |
| NOTE: In sealed bid solicitations “offer” and “offeror” mean “bid” and “bidder.” |  |  |  |  |  |  |  |  |  |  |
| Renovate/Remodel Management Office (as per attached scope of work). Quotations are due by August 19, 2018 at 14:00 Kuwait local time. |  |  |  |  |  |  |  |  |  |  |
| 11. The Contractor shall begin performance within 5 calendar days and complete it within 10 work days after receiving award, notice to proceed. This performance period is mandatory, negotiable. (See _______________.) |  |  |  |  |  |  |  |  |  |  |
| 12A. THE CONTRACTOR MUST FURNISH ANY REQUIRED PERFORMANCE AND PAYMENT BONDS? (If “YES,” indicate within how many calendar days after award in Item 12B.) YES NO |  |  |  |  |  |  |  | 12B. CALENDAR DAYS |  |  |
| 13. ADDITIONAL SOLICITATION REQUIREMENTS: A. Sealed offers in original and ____ copies to perform the work required are due at the place specified in Item 8 by _______ (hour) local time _____________________ (date). If this is a sealed bid solicitation, offers must be publicly opened at that time. Sealed envelopes containing offers shall be marked to show the offeror’s name and address, the solicitation number, and the date and time offers are due. B. An offer guarantee is, is not required. C. All offers are subject to the (1) work requirements, and (2) other provisions and clauses incorporated in the solicitation in full text or by reference. D. Offers providing less than _____ calendar days for Government acceptance after the date offers are due will not be considered and will be rejected. |  |  |  |  |  |  |  |  |  |  |

NSN 7540-01-155-3212	1442-101	STANDARD FORM 1442 (REV. 4-85)

Computer Generated		Prescribed by GSA

FAR (48 CFR) 53.236-1(e)

| OFFER (Must be fully completed by offeror) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 14. NAME AND ADDRESS OF OFFEROR (Include ZIP Code) |  |  |  |  |  | 15. TELEPHONE NO. (Include area code) |  |  |  |  |  |  |
|  |  |  |  |  |  | 16. REMITTANCE ADDRESS (Include only if different than Item 14) |  |  |  |  |  |  |
| CODE FACILITY CODE |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. The offeror agrees to perform the work at the prices specified below in strict accordance with the terms of this solicitation, if this offer is accepted by the Government within _____ calendar days after the date offers are due. (Insert any number equal to or greater than the minimum requirement stated in Item 13D. Failure to insert any number means the offeror accepts the minimum in Item 13D. AMOUNTS |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. The offeror agrees to furnish any required performance and payment bonds. |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. ACKNOWLEDGMENT OF AMENDMENTS The offeror acknowledges receipt of amendments to the solicitation -- give number and date of each |  |  |  |  |  |  |  |  |  |  |  |  |
| AMENDMENT NO. |  |  |  |  |  |  |  |  |  |  |  |  |
| DATE |  |  |  |  |  |  |  |  |  |  |  |  |
| 20A. NAME AND TITLE OF PERSON AUTHORIZED TO SIGN OFFER (Type or print) |  |  |  |  |  | 20B. SIGNATURE |  |  |  |  | 20C. OFFER DATE |  |
| AWARD (To be completed by Government) |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. ITEMS ACCEPTED: |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. AMOUNT |  |  | 23. ACCOUNTING AND APPROPRIATION DATA |  |  |  |  |  |  |  |  |  |
| 24. SUBMIT INVOICES TO ADDRESS SHOWN IN (4 copies unless otherwise specified) |  |  |  | ITEM |  |  | 25. OTHER THAN FULL AND OPEN COMPETITION PURSUANT TO 10 U.S.C. 2304(c)( ) 41 U.S.C. 253(c)( ) |  |  |  |  |  |
| 26. ADMINISTERED BY CODE |  |  |  |  |  | 27. PAYMENT WILL BE MADE BY |  |  |  |  |  |  |
| CONTRACTING OFFICER WILL COMPLETE ITEM 28 OR 29 AS APPLICABLE |  |  |  |  |  |  |  |  |  |  |  |  |
| 28. NEGOTIATED AGREEMENT (Contractor is required to sign this document and return ____ copies to issuing office.) Contractor agrees to furnish and deliver all items or perform all work, requisitions identified on this form and any continuation sheets for the consideration slated in this contract. The rights and obligations of the parties to this contract shall be governed by (a) this contract award, (b) the solicitation, and (c) the clauses, representations, certifications, and specifications or incorporated by reference in or attached to this contract. |  |  |  |  |  | 29. AWARD (Contractor is not required to sign this document.) Your offer on this solicitation is hereby accepted as to the items listed. This award consummates the contract, which consists of (a) the Government solicitation and your offer, and (b) this contract award. No further contractual document is necessary. |  |  |  |  |  |  |
| 30A. NAME AND TITLE OF CONTRACTOR OR PERSON AUTHORIZED TO SIGN (Type or print) |  |  |  |  |  | 31A. NAME OF CONTRACTING OFFICER (Type or print) |  |  |  |  |  |  |
| 30B. SIGNATURE |  |  | 30C. DATE |  |  | 31B. UNITED STATES OF AMERICA BY |  |  |  |  | 31C. AWARD DATE |  |

omputer Generated		STANDARD FORM 1442 BACK (REV. 4-85)

REQUEST FOR QUOTATIONS - CONSTRUCTION

- PRICE

The Contractor shall complete all work, including furnishing all labor, material, insurance, equipment and services required under this purchase order for the following firm fixed price and within the time specified.  This price shall include all labor, materials, all insurances, overhead and profit.

| Total Price (including all expenses, labor, materials, overhead, Insurance including DBA insurance and profit) | …………………… |
| --- | --- |

A.1   Defense Base Act (DBA) Insurance:

The Offeror shall include Defense Base Act (DBA) insurance premium costs covering  employees.  The offeror may obtain DBA insurance directly from any Department of Labor approved providers at the DOL website at http://www.dol.gov/owcp/dlhwc/lscarrier.htm

The Contractor shall provide workers’ compensation insurance in accordance with FAR 52.228-3 to employees assigned to this contract who are either United States citizens or direct hire. Total cost of DBA should be part of the Firm-Fixed-Price.

A.2   Value Added Tax

VALUE ADDED TAX (VAT).  The Government will not reimburse the Contractor for VAT under this contract.  The Contractor shall not include a line for VAT on Invoices as the U.S. Embassy has a tax exemption certificate with the host government.

B.	SCOPE OF WORK

The character and scope of the work are set forth in the contract.  The Contractor shall furnish and install all materials required by this contract.

In case of differences between small and large-scale drawings, the latter will govern.  Where a portion of the work is drawn in detail and the remainder of the work is indicated in outline, the parts drawn in detail shall apply also to all other portions of the work.

C.	PACKAGING AND MARKING

Mark materials delivered to the site as follows:

D. 	INSPECTION AND ACCEPTANCE

The COR, or his/her authorized representatives, will inspect from time to time the services being performed and the supplies furnished to determine whether work is being performed in a satisfactory manner, and that all supplies are of acceptable quality and standards.

The Contractor shall be responsible for any countermeasures or corrective action, within the scope of this contract, which may be required by the Contracting Officer as a result of such inspection.

D.1	  Substantial Completion

(a) "Substantial Completion" means the stage in the progress of the work as determined and certified by the Contracting Officer in writing to the Contractor, on which the work (or a portion designated by the Government) is sufficiently complete and satisfactory.  Substantial completion means that the property may be occupied or used for the purpose for which it is intended, and only minor items such as touch-up, adjustments, and minor replacements or installations remain to be completed or corrected which:

(1) do not interfere with the intended occupancy or utilization of the work, and

(2) can be completed or corrected within the time period required for final 	completion.

(b) The "date of substantial completion" means the date determined by the Contracting Officer or authorized Government representative as of which substantial completion of the work has been achieved.

Use and Possession upon Substantial Completion - The Government shall have the right to take possession of and use the work upon substantial completion.  Upon notice by the Contractor that the work is substantially complete (a Request for Substantial Completion) and an inspection by the Contracting Officer or an authorized Government representative (including any required tests), the Contracting Officer shall furnish the Contractor a Certificate of Substantial Completion.  The certificate will be accompanied by a Schedule of Defects listing items of work remaining to be performed, completed or corrected before final completion and acceptance.  Failure of the Contracting Officer to list any item of work shall not relieve the Contractor of responsibility for complying with the terms of the contract.  The Government's possession or use upon substantial completion shall not be deemed an acceptance of any work under the contract.

D.2	Final Completion and Acceptance

D.2.1	 "Final completion and acceptance" means the stage in the progress of the work as determined by the Contracting Officer and confirmed in writing to the Contractor, at which all work required under the contract has been completed in a satisfactory manner, subject to the discovery of defects after final completion, and except for items specifically excluded in the notice of final acceptance.

D.2.2	The "date of final completion and acceptance" means the date determined by the Contracting Officer when final completion of the work has been achieved, as indicated by written notice to the Contractor.

D.2.3	Final Inspection and Tests.  The Contractor shall give the Contracting Officer at least five (5) days advance written notice of the date when the work will be fully completed and ready for final inspection and tests.  Final inspection and tests will be started not later than the date specified in the notice unless the Contracting Officer determines that the work is not ready for final inspection and so informs the Contractor.

D.2.4	Final Acceptance.  If the Contracting Officer is satisfied that the work under the contract is complete (with the exception of continuing obligations), the Contracting Officer shall issue to the Contractor a notice of final acceptance and make final payment upon:

- Satisfactory completion of all required tests,

- A final inspection that all items by the Contracting Officer listed in the Schedule of Defects have been completed or corrected and that the work is finally complete (subject to the discovery of defects after final completion), and

- Submittal by the Contractor of all documents and other items required upon completion of the work, including a final request for payment (Request for Final Acceptance).

E.	DELIVERIES OR PERFORMANCE

52.211-10      COMMENCEMENT, PROSECUTION, AND COMPLETION OF WORK

(APR 1984)

The Contractor shall be required to:

- commence work under this contract within 5 calendar days after the date the Contractor receives the notice to proceed,

- prosecute the work diligently, and,

- complete the entire work ready for (see schedule) after the date the Contractor receives the notice to proceed.

The time stated for completion shall include final cleanup of the premises.

52.211-12     LIQUIDATED DAMAGES - CONSTRUCTION (SEPT 2000)

(a)	If the Contractor fails to complete the work within the time specified in the contract, or any extension, the Contractor shall pay liquidated damages to the Government in the amount of US$300 for each calendar day of delay until the work is completed or accepted.

(b)	If the Government terminates the Contractor’s right to proceed, liquidated damages will continue to accrue until the work is completed.  These liquidated damages are in addition to excess costs of repurchase under the Default clause.

CONTRACTOR'S SUBMISSION OF CONSTRUCTION SCHEDULES

(a)  The time for submission of the schedules referenced in FAR 52.236-15, "Schedules for Construction Contracts", paragraph (a), is hereby modified to reflect the due date for submission as 3 calendar days after receipt of an executed contract".

(b)  These schedules shall include the time by which shop drawings, product data, samples and other submittals required by the contract will be submitted for approval.

(c)  The Contractor shall revise such schedules (1) to account for the actual progress of the work, (2) to reflect approved adjustments in the performance schedule, and (3) as required by the Contracting Officer to achieve coordination with work by the Government and any separate contractors used by the Government.  The Contractor shall submit a schedule, which sequences work so as to minimize disruption at the job site.

(d)  All deliverables shall be in the English language and any system of dimensions (English or metric) shown shall be consistent with that used in the contract.  No extension of time shall be allowed due to delay by the Government in approving such deliverables if the Contractor has failed to act promptly and responsively in submitting its deliverables.  The Contractor shall identify each deliverable as required by the contract.

(e)  Acceptance of Schedule:  When the Government has accepted any time schedule; it shall be binding upon the Contractor.  The completion date is fixed and may be extended only by a written contract modification signed by the Contracting Officer.  Acceptance or approval of any schedule or revision thereof by the Government shall not:

- Extend the completion date or obligate the Government to do so,

- Constitute acceptance or approval of any delay, or

- Excuse the Contractor from or relieve the Contractor of its obligation to maintain the progress of the work and achieve final completion by the established completion date.

Notice Of Delay

If the Contractor receives a notice of any change in the work, or if any other conditions arise which are likely to cause or are actually causing delays which the Contractor believes may result in late completion of the project, the Contractor shall notify the Contracting Officer.  The Contractor’s notice shall state the effect, if any, of such change or other conditions upon the approved schedule, and shall state in what respects, if any, the relevant schedule or the completion date should be revised.  The Contractor shall give such notice promptly, not more than ten (10) days after the first event giving rise to the delay or prospective delay.  Only the Contracting Officer may make revisions to the approved time schedule.

Notice to Proceed

(a)  After receiving and accepting any bonds or evidence of insurance, the Contracting Officer will provide the Contractor a Notice to Proceed.  The Contractor must then prosecute the work, commencing and completing performance not later than the time period established in the contract.
	(b)  It is possible that the Contracting Officer may elect to issue the Notice to Proceed before receipt and acceptance of any bonds or evidence of insurance.  Issuance of a Notice to Proceed by the Government before receipt of the required bonds or insurance certificates or policies shall not be a waiver of the requirement to furnish these documents.

Working Hours

All work shall be performed during 08:00am – 04:00pm, Sunday thru Thursday.  Other hours, if requested by the Contractor, may be approved by the Contracting Officer's Representative (COR).  The Contractor shall give 24 hours in advance to COR who will consider any deviation from the hours identified above.  Changes in work hours, initiated by the Contractor, will not be a cause for a price increase.

Preconstruction Conference

A preconstruction conference will be held 3 days after contract award at the Embassy, Kuwait to discuss the schedule, submittals, notice to proceed, mobilization and other important issues that affect construction progress.  See FAR 52.236-26, Preconstruction Conference.

| DELIVERABLES - The following items shall be delivered under this contract: |  |  |  |
| --- | --- | --- | --- |
| Description | Quantity | Deliver Date | Deliver To |
| Section G. Securities/Insurance | 1 | 5 days after award | CO |
| Section E. Construction Schedule | 1 | 5 days after award | COR |
| Section E. Preconstruction Conference | 1 | 3 days after award | COR |
| Section G. Personnel Biographies | 1 | 3 days after award | COR |
| Section F. Payment Request | 1 | End of project | COR |
| Section D. Request for Final Acceptance | 1 | 5 days before inspection | COR |

F. 	ADMINISTRATIVE DATA

652.242-70	CONTRACTING OFFICER'S REPRESENTATIVE (COR) (AUG 1999)

(a)  The Contracting Officer may designate in writing one or more Government employees, by name or position title, to take action for the Contracting Officer under this contract. Each designee shall be identified as a Contracting Officer’s Representative (COR). Such designation(s) shall specify the scope and limitations of the authority so delegated; provided, that the designee shall not change the terms or conditions of the contract, unless the COR is a warranted Contracting Officer and this authority is delegated in the designation.

(b)  The COR for this contract is Saju Pappachan- Project Manager/Safety Program Coordinator.

Payment: The Contractor's attention is directed to Section H, 52.232-5, "Payments Under Fixed-Price Construction Contracts".  The following elaborates on the information contained in that clause.

Requests for payment, may be made no more frequently than monthly.  Payment requests shall cover the value of labor and materials completed and in place, including a prorated portion of overhead and profit.

After receipt of the Contractor's request for payment, and on the basis of an inspection of the work, the Contracting Officer shall make a determination as to the amount, which is then due.  If the Contracting Officer does not approve payment of the full amount applied for, less the retainage allowed by in 52.232-5, the Contracting Officer shall advise the Contractor as to the reasons.

Under the authority of 52.232-27(a), the 14 day period identified in FAR 52.232-27(a)(1)(i)(A) is hereby changed to 30 days.

F. 1 	Invoices submission & payment terms instructions to vendors:

- Embassy payment terms are 30 days NET CREDIT.  Payment is due within 30 days after the receipt of a proper invoice, (as defined by 5CFR 1315.9-b).

- Invoice will be processed for payment as soon as the successful completion of the project.  Please note, Embassy does not make any ADVANCE payments.

- Proper invoice to include PR#, Purchase Order #, clear description of items/services ordered as per Government purchase order. (All the details should be in English language).

- Banking information to include: Account name, Bank name, branch and address, Account number, IBAN number, swift code to be mentioned either on the invoice and/or to be provided separately.

- Invoice will be processed for payment as soon as the items are delivered and/or received at our warehouse/stores facility.

- Invoice is required to be sent electronically to the Embassy Finance Office email: KuwaitDBO@state.gov to process for payment.

- Payment inquiries: For better tracking and response time on payment inquiries, all payment related inquiries to be forwarded directly to KuwaitFMCInquiry@state.gov

G.	SPECIAL REQUIREMENTS

G.1.0  RESERVED

G.2.0	Insurance - The Contractor is required by FAR 52.228-5, "Insurance - Work on a Government Installation" to provide whatever insurance is legally necessary.  The Contractor shall at its own expense provide and maintain during the entire performance period the following insurance amounts:

G.2.1	General Liability (includes premises/operations, collapse hazard, products, completed operations, contractual, independent contractors, broad form property damage, personal injury) :

| (1) Bodily Injury, On or Off the Site, in U.S. Dollars |  |
| --- | --- |
| Per Occurrence | US$ 10,000 |
| Cumulative | US$ 10,000 |
| (2) Property Damage, On or Off the Site, in U.S. Dollars |  |
| Per Occurrence | US$ 50,000 |
| Cumulative | US$ 50,000 |

G.2.2	The foregoing types and amounts of insurance are the minimums required.  The Contractor shall obtain any other types of insurance required by local law or that are ordinarily or customarily obtained in the location of the work.  The limit of such insurance shall be as provided by law or sufficient to meet normal and customary claims.

G.2.3	The Contractor agrees that the Government shall not be responsible for personal injuries or for damages to any property of the Contractor, its officers, agents, servants, and employees, or any other person, arising from and incident to the Contractor's performance of this contract.  The Contractor shall hold harmless and indemnify the Government from any and all claims arising therefrom, except in the instance of gross negligence on the part of the Government.

G.2.4	The Contractor shall obtain adequate insurance for damage to, or theft of, materials and equipment in insurance coverage for loose transit to the site or in storage on or off the site.

G.2.5	The general liability policy required of the Contractor shall name "the United States of America, acting by and through the Department of State", as an additional insured with respect to operations performed under this contract.

G.2.6   Defense Base Act (DBA) Insurance

The Contractor shall provide workers’ compensation insurance in accordance with FAR 52.228-3 to employees assigned to this contract who are either United States citizens or direct hire. Total cost of DBA should be part of the Firm-Fixed-Price.

G.3.0	Document Descriptions

G.3.1	Supplemental Documents:  The Contracting Officer shall furnish from time to time such detailed drawings and other information as is considered necessary, in the opinion of the Contracting Officer, to interpret, clarify, supplement, or correct inconsistencies, errors or omissions in the Contract documents, or to describe minor changes in the work not involving an increase in the contract price or extension of the contract time.  The Contractor shall comply with the requirements of the supplemental documents, and unless prompt objection is made by the Contractor within 20 days, their issuance shall not provide for any claim for an increase in the Contract price or an extension of contract time.

G.3.1.1.  Record Documents.  The Contractor shall maintain at the project site:

- a current marked set of Contract drawings and specifications indicating all interpretations and clarification, contract modifications, change orders, or any other departure from the contract requirements approved by the Contracting Officer; and,

- a complete set of record shop drawings, product data, samples and other submittals as approved by the Contracting Officer.

G.3.1.2	.  "As-Built" Documents:  After final completion of the work, but before final acceptance thereof, the Contractor shall provide:

- a complete set of "as-built" drawings, based upon the record set of drawings, marked to show the details of construction as actually accomplished; and,

- record shop drawings and other submittals, in the number and form as required by the specifications.

G.4.0	Laws and Regulations - The Contractor shall, without additional expense to the Government, be responsible for complying with all laws, codes, ordinances, and regulations applicable to the performance of the work, including those of the host country, and with the lawful orders of any governmental authority having jurisdiction.  Host country authorities may not enter the construction site without the permission of the Contracting Officer.  Unless otherwise directed by the Contracting Officer, the Contractor shall comply with the more stringent of the requirements of such laws, regulations and orders and of the contract.  In the event of a conflict between the contract and such laws, regulations and orders, the Contractor shall promptly advise the Contracting Officer of the conflict and of the Contractor's proposed course of action for resolution by the Contracting Officer.

G.4.1	The Contractor shall comply with all local labor laws, regulations, customs and practices pertaining to labor, safety, and similar matters, to the extent that such compliance is not inconsistent with the requirements of this contract.

G.4.2	The Contractor shall give written assurance to the Contracting Officer that all subcontractors and others performing work on or for the project have obtained all requisite licenses and permits.

G.4.3	The Contractor shall submit proper documentation and evidence satisfactory to the Contracting Officer of compliance with this clause.

G.5.0	Construction Personnel - The Contractor shall maintain discipline at the site and at all times take all reasonable precautions to prevent any unlawful, riotous, or disorderly conduct by or among those employed at the site.  The Contractor shall ensure the preservation of peace and protection of persons and property in the neighborhood of the project against such action.  The Contracting Officer may require, in writing that the Contractor remove from the work any employee that the Contracting Officer deems incompetent, careless, insubordinate or otherwise objectionable, or whose continued employment on the project is deemed by the Contracting Officer to be contrary to the Government's interests.

G.5.1	If the Contractor has knowledge that any actual or potential labor dispute is delaying or threatens to delay the timely performance of this contract, the Contractor shall immediately give notice, including all relevant information, to the Contracting Officer.

G.5.2	After award, the Contractor has 3 calendar days to submit to the Contracting Officer a list of workers and supervisors assigned to this project for the Government to conduct all necessary security checks.  It is anticipated that security checks will take 3 – 5 days to perform.  For each individual the list shall include:

Full Name

Place and Date of Birth

Current Address

Civil ID #

Failure to provide any of the above information may be considered grounds for rejection and/or resubmittal of the application.  Once the Government has completed the security screening and approved the applicants a badge will be provided to the individual for access to the site. This badge may be revoked at any time due to the falsification of data, or misconduct on site.

G.5.3	The Contractor shall provide an English speaking supervisor on site at all times.  This position is considered as key personnel under this purchase order.

G.6.0	Materials and Equipment - All materials and equipment incorporated into the work shall be new and for the purpose intended, unless otherwise specified.  All workmanship shall be of good quality and performed in a skillful manner that will withstand inspection by the Contracting Officer.

G.7.0	Special Warranties

G.7.1	Any special warranties that may be required under the contract shall be subject to the stipulations set forth in 52.246-21, "Warranty of Construction", as long as they are not in conflict.

G.7.2	The Contractor shall obtain and furnish to the Government all information required to make any subcontractor's, manufacturer's, or supplier's guarantee or warranty legally binding and effective.  The Contractor shall submit both the information and the guarantee or warranty to the Government in sufficient time to permit the Government to meet any time limit specified in the guarantee or warranty, but not later than completion and acceptance of all work under this contract.

G.8.0	Equitable Adjustments

Any circumstance for which the contract provides an equitable adjustment that causes a change within the meaning of paragraph (a) of the "Changes" clause shall be treated as a change under that clause; provided, that the Contractor gives the Contracting Officer prompt written notice (within 20 days) stating:

- the date, circumstances, and applicable contract clause authorizing an equitable adjustment and

- that the Contractor regards the event as a changed condition for which an equitable adjustment is allowed under the contract

The Contractor shall provide written notice of a differing site condition within 10 calendar days of occurrence following FAR 52.236-2, Differing Site Conditions.

G.9.0	Zoning Approvals and Permits

The Government shall be responsible for:

- obtaining proper zoning or other land use control approval for the project

- obtaining the approval of the Contracting Drawings and Specifications

- paying fees due for the foregoing; and,

- for obtaining and paying for the initial building permits.

H.	CLAUSES

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):  http://www.acquisition.gov/far/ or http://farsite.hill.af.mil/vffara.htm.  Please note these addresses are subject to change.

If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Department of State Acquisition website at http://www.statebuy.state.gov/ to access links to the FAR.  You may also use an internet “search engine” (for example, Google, Yahoo, Excite) to obtain the latest location of the most current FAR.

The following Federal Acquisition Regulation clause(s) is/are incorporated by reference (48 CFR CH. 1):

CLAUSE	TITLE AND DATE

52.202-1	DEFINITIONS (NOV 2013)

52.204-10	REPORTING EXECUTIVE COMPENSATION AND FIRST-TIER SUBCONTRACT AWARDS (OCT 2016)

52.204-12 	DATA UNIVERSAL NUMBERING SYSTEM NUMBER MAINTENANCE (OCT 2016)

52.204-13        SYSTEM FOR AWARD MANAGEMENT MAINTENANCE (OCT 2016)

52.204-18	COMMERCIAL AND GOVERNMENT ENTITY CODE MAINTENANCE (JUL 2016)

52.204-19	INCORPORATION BY REFERENCE OF REPRESENTATIONS AND CERTIFICATIONS (DEC 2014)

52.209-6	PROTECTING THE GOVERNMENT'S INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED OR PROPOSED FOR DEBARMENT (OCT 2015)

52.209-9	UPDATES OF INFORMATION REGARDING RESPONSIBILITY MATTERS (JULY 2013)

52.213-4	TERMS AND CONDITIONS –SIMPLIFIED ACQUISITIONS (OTHER THAN COMMERCIAL ITEMS) (JAN 2017)

52.216-7	ALLOWABLE COST AND PAYMENT (JUN 2013)

52.222-1          NOTICE TO THE GOVERNMENT OF LABOR DISPUTES (FEB 1997)

52.222-19	CHILD LABOR – COOPERATION WITH AUTHORITIES AND REMEDIES 			(OCT 2016)

52.222-50        COMBATING TRAFFICKING IN PERSONS (MAR 2015)

52.223-18	ENCOURAGING CONTRACTOR POLICIES TO BAN TEXT MESSAGING WHILE DRIVING (AUG 2011)

52.225-13	RESTRICTIONS ON CERTAIN FOREIGN PURCHASES (JUNE 2008)

52.225-14	INCONSISTENCY BETWEEN ENGLISH VERSION AND TRANSLATION OF CONTRACT (FEB 2000)

52.228-3	Workers’ Compensation Insurance (Defense Base Act) JUL 2014

52.228-5         INSURANCE - WORK ON A GOVERNMENT INSTALLATION (JAN 1997)

52.228-11 	PLEDGES OF ASSETS (JAN 2012)

52.228-13	ALTERNATIVE PAYMENT PROTECTION (JULY 2000)

52.228-14	irrevocable letter of credit (NOV 2014)

52.229-6	TAXES - FOREIGN FIXED-PRICE CONTRACTS (FEB 2013)

52.229-7	TAXES- FIXED PRICE CONTRACTS WITH FOREIGN GOVERNMENTS (FEB 2013)

52.232-5	PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS       (MAY 2014)

52.232-8	DISCOUNTS FOR PROMPT PAYMENT (FEB 2002)

52.232-11	EXTRAS (APR 1984)

52.232-18	AVAILABILITY OF FUNDS (APR 1984)

52.232-22	LIMITATION OF FUNDS (APR 1984)

52.232-25	PROMPT PAYMENT (JAN 2017)

52.232-27	PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS (JAN 2017)

52.232-33	PAYMENT BY ELECTRONIC FUNDS TRANSFER - SYSTEM FOR AWARD MANAGEMENT (JULY 2013)

52.232-34 	PAYMENT BY ELECTRONIC FUNDS TRANSFER – OTHER THAN 				SYSTEM FOR AWARD MANAGEMENT (JULY 2013)

52.233-1	DISPUTES (MAY 2014) Alternate I (DEC 1991)

52.233-3	PROTEST AFTER AWARD (AUG 1996)

52.236-2	DIFFERING SITE CONDITIONS (APR 1984)

52.236-3	SITE INVESTIGATION AND CONDITIONS AFFECTING THE WORK    (APR 1984)

52.236-5	MATERIAL AND WORKMANSHIP (APR 1984)

52.236-6	SUPERINTENDENCE BY THE CONTRACTOR (APR 1984)

52.236-7	PERMITS AND RESPONSIBILITIES (NOV 1991)

52.236-8	OTHER CONTRACTS (APR 1984)

52.236-9	PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS (APR 1984)

52.236-10	OPERATIONS AND STORAGE AREAS (APR 1984)

52.236-11	USE AND POSSESSION PRIOR TO COMPLETION (APR 1984)

52.236-12	CLEANING UP (APR 1984)

52.236-14	AVAILABILITY AND USE OF UTILITY SERVICES (APR 1984)

52.236-15	SCHEDULES FOR CONSTRUCTION CONTRACTS (APR 1984)

52.236-21	SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION (FEB 1997)

52.236-26	PRECONSTRUCTION CONFERENCE (FEB 1995)

52.242-14	SUSPENSION OF WORK (APR 1984)

52.243-4	CHANGES (JUN 2007)

52.243-5	CHANGES AND CHANGED CONDITIONS (APR 1984)

52.244-6	SUBCONTRACTS FOR COMMERCIAL ITEMS (JAN 2017

52.245-2	GOVERNMENT PROPERTY INSTALLATION OPERATION SERVICES (APR 2012)

52.245-9	USE AND CHARGES (APR 2012)

52.246-12	INSPECTION OF CONSTRUCTION (AUG 1996)

52.246-17       WARRANTY OF SUPPLIES OF A NONCOMPLEX NATURE (JUN 2003)

52.246-21	WARRANTY OF CONSTRUCTION (MAR 1994)

52.249-2	TERMINATION FOR CONVENIENCE OF THE GOVERNMENT (FIXED-PRICE) (APR 2012) Alternate I (SEPT 1996)

52.249-10 	DEFAULT (FIXED-PRICE CONSTRUCTION) (APR 1984)

52.249-14	EXCUSABLE DELAYS (APR 1984)

The following Department of State Acquisition Regulation (DOSAR) clause(s) is/are set forth in full text:

652.204-70 	DEPARTMENT OF STATE PERSONAL IDENTIFICATION CARD ISSUANCE (FEB 2015)

(a) The Contractor shall comply with the Department of State (DOS) Personal Identification Card Policy and Procedures for all employees performing under this contract who require frequent and continuing access to DOS facilities, or information systems.  The Contractor shall insert the substance of this clause in all subcontracts when the subcontractor’s employees will require frequent and continuing access to DOS facilities, or information systems.

(b) The DOS Personal Identification Card Policy and Procedures may be accessed at http://www.state.gov/m/ds/rls/rpt/c21664.htm.

(End of clause)

652.229-71	PERSONAL PROPERTY DISPOSITION AT POSTS ABROAD (AUG 1999)

Regulations at 22 CFR Part 136 require that U.S. Government employees and their families do not profit personally from sales or other transactions with persons who are not themselves entitled to exemption from import restrictions, duties, or taxes. Should the Contractor experience importation or tax privileges in a foreign country because of its contractual relationship to the United States Government, the Contractor shall observe the requirements of 22 CFR Part 136 and all policies, rules, and procedures issued by the chief of mission in that foreign country.

(End of clause)

CONTRACTOR IDENTIFICATION (JULY 2008)

Contract performance may require contractor personnel to attend meetings with government personnel and the public, work within government offices, and/or utilize government email.

Contractor personnel must take the following actions to identify themselves as non-federal employees:

- Use an e-mail signature block that shows name, the office being supported and company affiliation (e.g. “John Smith, Office of Human Resources, ACME Corporation Support Contractor”);

- Clearly identify themselves and their contractor affiliation in meetings;

3)   Identify their contractor affiliation in Departmental e-mail and phone listings whenever contractor personnel are included in those listings; and

4)  Contractor personnel may not utilize Department of State logos or indicia on business cards.

(End of clause)

#### 52.236-13 -- Accident Prevention.

#### As prescribed in 36.513, insert the following clause:

Accident Prevention (Nov 1991)

(a) The Contractor shall provide and maintain work environments and procedures which will --

(1) Safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to Contractor operations and activities;

(2) Avoid interruptions of Government operations and delays in project completion dates; and

(3) Control costs in the performance of this contract.

(b) For these purposes on contracts for construction or dismantling, demolition, or removal of improvements, the Contractor shall --

(1) Provide appropriate safety barricades, signs, and signal lights;

(2) Comply with the standards issued by the Secretary of Labor at 29 CFR Part 1926 and 29 CFR Part 1910; and

(3) Ensure that any additional measures the Contracting Officer determines to be reasonably necessary for the purposes are taken.

(c) If this contract is for construction or dismantling, demolition or removal of improvements with any Department of Defense agency or component, the Contractor shall comply with all pertinent provisions of the latest version of U.S. Army Corps of Engineers Safety and Health Requirements Manual, EM 385-1-1, in effect on the date of the solicitation.

(d) Whenever the Contracting Officer becomes aware of any noncompliance with these requirements or any condition which poses a serious or imminent danger to the health or safety of the public or Government personnel, the Contracting Officer shall notify the Contractor orally, with written confirmation, and request immediate initiation of corrective action. This notice, when delivered to the Contractor or the Contractor’s representative at the work site, shall be deemed sufficient notice of the noncompliance and that corrective action is required. After receiving the notice, the Contractor shall immediately take corrective action. If the Contractor fails or refuses to promptly take corrective action, the Contracting Officer may issue an order stopping all or part of the work until satisfactory corrective action has been taken. The Contractor shall not be entitled to any equitable adjustment of the contract price or extension of the performance schedule on any stop work order issued under this clause.

(e) The Contractor shall insert this clause, including this paragraph (e), with appropriate changes in the designation of the parties, in subcontracts.

(End of Clause)

Alternate I (Nov 1991). If the contract will involve (a) work of a long duration or hazardous nature, or (b) performance on a Government facility that on the advice of technical representatives involves hazardous materials or operations that might endanger the safety of the public and/or Government personnel or property, add the following paragraph (f) to the basic clause:

(f) Before commencing the work, the Contractor shall --

(1) Submit a written proposed plan for implementing this clause. The plan shall include an analysis of the significant hazards to life, limb, and property inherent in contract work performance and a plan for controlling these hazards; and

(2) Meet with representatives of the Contracting Officer to discuss and develop a mutual understanding relative to administration of the overall safety program.

636.513   Accident prevention.

(a)  The contracting officer shall insert the clause at 652.236-70, Additional Safety Measures in all solicitations and contracts that include FAR 52.236-13, Accident Prevention, Alternate I, i.e.:

(1) When a fixed-price construction contract or a fixed-price dismantling, demolition, or removal of improvements contract is contemplated and the contract amount is expected to exceed the simplified acquisition threshold and the contract will involve work of a long duration or hazardous nature; or

(2) When a contract for services to be performed at Government facilities (see FAR part 37) is contemplated, and technical representatives advise that special precautions are appropriate, such as contracts for building maintenance, building operations or infrastructure repair.

(b)  The contracting officer shall confer with OBO/OM/SHEM if there are any questions on any factors listed in paragraph (a) of the clause, or if the contracting officer has any questions regarding safety issues.

652.236-70 Additional Safety Measures

As prescribed in 636.513, insert the following clause:

ADDITIONAL SAFETY MEASURES (OCT 2017)

In addition to the safety/accident prevention requirements of FAR 52.236-13, Accident Prevention Alternate I, the contractor shall comply with the following additional safety measures.

(a)  High Risk Activities.  If the project contains any of the following high risk activities, the contractor shall follow the section in the latest edition, as of the date of the solicitation, of the U.S. Army Corps of Engineers Safety and Health manual, EM 385-1-1, that corresponds to the high risk activity.  Before work may proceed, the contractor must obtain approval from the COR of the written safety plan required by FAR 52.236-13, Accident Prevention Alternate I (see paragraph (f) below), containing specific hazard mitigation and control techniques.

(1) Scaffolding;

(2) Work at heights above 1.8 meters;

(3) Trenching or other excavation greater than one (1) meter in depth;

(4) Earth-moving equipment and other large vehicles;

(5) Cranes and rigging;

(6) Welding or cutting and other hot work;

(7) Partial or total demolition of a structure;

(8) Temporary wiring, use of portable electric tools, or other recognized electrical hazards.  Temporary wiring and portable electric tools require the use of a ground fault circuit interrupter (GFCI) in the affected circuits; other electrical hazards may also require the use of a GFCI;

(9) Work in confined spaces (limited exits, potential for oxygen less than 19.5 percent or combustible atmosphere, potential for solid or liquid engulfment, or other hazards considered to be immediately dangerous to life or health such as water tanks, transformer vaults, sewers, cisterns, etc.);

(10) Hazardous materials - a material with a physical or health hazard including but not limited to, flammable, explosive, corrosive, toxic, reactive or unstable, or any operations, which creates any kind of contamination inside an occupied building such as dust from demolition activities, paints, solvents, etc.; or

(11) Hazardous noise levels as required in EM 385-1 Section 5B or local standards if more restrictive.

(b)  Safety and Health Requirements.  The contractor and all subcontractors shall comply with the latest edition of the U.S. Army Corps of Engineers Safety and Health manual EM 385-1-1, or OSHA 29 CFR parts 1910 or 1926 if no EM 385-1-1 requirements are applicable, and the accepted contractor’s written safety program.

(c) Mishap Reporting.  The contractor is required to report immediately all mishaps to the COR and the contracting officer.  A “mishap” is any event causing injury, disease or illness, death, material loss or property damage, or incident causing environmental contamination.  The mishap reporting requirement shall include fires, explosions, hazardous materials contamination, and other similar incidents that may threaten people, property, and equipment.

(d) Records.  The contractor shall maintain an accurate record on all mishaps incident to work performed under this contract resulting in death, traumatic injury, occupational disease, or damage to or theft of property, materials, supplies, or equipment.  The contractor shall report this data in the manner prescribed by the contracting officer.

(e) Subcontracts.  The contractor shall insert this clause, including this paragraph (e), with appropriate changes in the designation of the parties, in subcontracts.

(f) Written program.  The plan required by paragraph (f)(1) of the clause entitled “Accident Prevention Alternate I” shall be known as the Site Safety and Health Plan (SSHP) and shall address any activities listed in paragraph (a) of this clause, or as otherwise required by the contracting officer/COR.

- The SSHP shall be submitted at least 10 working days prior to commencing any activity at the site.

- The plan must address developing activity hazard analyses (AHAs) for specific tasks.  The AHAs shall define the activities being performed and identify the work sequences, the specific anticipated hazards, site conditions, equipment, materials, and the control measures to be implemented to eliminate or reduce each hazard to an acceptable level of risk.  Work shall not begin until the AHA for the work activity has been accepted by the COR and discussed with all engaged in the activity, including the Contractor, subcontractor(s), and Government on-site representatives.

(3)  The names of the Competent/Qualified Person(s) required for a particular activity (for example, excavations, scaffolding, fall protection, other activities as specified by EM 385-1-1) shall be identified and included in the AHA.  Proof of their competency/qualification shall be submitted to the contracting officer or COR for acceptance prior to the start of that work activity.  The AHA shall be reviewed and modified as necessary to address changing site conditions, operations, or change of competent/qualified person(s).

(End of clause)

637.102-71  Safety considerations.

When contracting for services to be performed overseas, always consider 636.513(b) and FAR 36.513(b), and consult with technical representatives to determine whether special precautions are appropriate, such as when the services are for building operations, building maintenance or infrastructure repairs.

(End of clause)

652.242-73	AUTHORIZATION AND PERFORMANCE (AUG 1999)

(a) The Contractor warrants the following:

(1) That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

(2) That is has obtained all necessary licenses and permits required to perform this contract; and,

(3) That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

(b) If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of

this clause.

(End of clause)

652.243-70 	NOTICES (AUG 1999)

Any notice or request relating to this contract given by either party to the other shall be in writing.  Said notice or request shall be mailed or delivered by hand to the other party at the address provided in the schedule of the contract.  All modifications to the contract must be made in writing by the Contracting Officer.

(End of clause)

I.	LIST OF ATTACHMENTS

| Attachment Number | Description of Attachment |
| --- | --- |
| Attachment A | Statement of Work (SOW) |
| Attachment B | Facilities Management – POSHO Office – Contractor’s General Responsibilities for Post Managed Construction Projects |

J.    	QUOTATION INFORMATION

The Offeror shall include Defense Base Act (DBA) insurance premium costs covering  employees.  The offeror may obtain DBA insurance directly from any Department of Labor approved providers at the DOL website at http://www.dol.gov/owcp/dlhwc/lscarrier.htm

Offerors/quoters must be technically qualified and financially responsible to perform the work described in this solicitation.  At a minimum, each Offeror/Quoter must submit in their proposal the following volume(s) and must meet the following requirements:

Proposals lacking below mentioned minimum requirement, could be deemed technically not acceptable. All submittals must be in English

| Volume | Title | Number of Copies |
| --- | --- | --- |
| I | Standard Form 1442 signed and completed (Box 14, 15, 16, 17, 20A, 20B and 20C) | 1 |
| II - Introduction | - Contractor Name, Company profile/History. - Dun & Bradstreet (DUNS) Number. - Vendors must be registered in the System for Award Management (SAM) to be eligible for award for amounts exceeding US$30,000 | 1 |
| III – Technical | (1) Be able to understand written and spoken English; (2) Have an established business with a permanent address and telephone listing; (3) Be able to demonstrate 3 years of construction experience in similar type of projects/works. (3a) Provide a list of contracts previously performed over the past 3 - 5 years and point of contacts with phone numbers for the same or similar type projects/works. This needs to show that the company is involved in similar type projects as a normal business pursuit. (4) Have the necessary personnel, equipment and financial resources available to perform the work. (4a) All personnel working under this project must be legally sponsored by the contractor and possess a valid legal work permit. (all employees under the direct sponsorship plan). (5) Have all licenses and permits required by local law; (6) Meet all local insurance requirements; (7) Have the ability to obtain or to post adequate performance security, such as bonds, irrevocable letters of credit or guarantees issued by a reputable financial institution ; (8) Have no adverse criminal record; and (9) Have no political or business affiliation which could be considered contrary to the interests of the United States. (10) Interested offerors are requested to provide Performance schedule in the form of a "bar chart" indicating when the various portions of the work will be commenced and completed within the required schedule. This bar chart shall be in sufficient detail to clearly show each segregable portion of work and its planned commencement and completion date (11) Capable to meet the Warranty requirements as appropriate (as stated in the scope of work) (12) Requirements as stated as per attachment A (Scope of Work) and attachment B (POSHO Office – Contractor’s General Responsibilities for Construction Projects). (13) Products samples and Products data (all sample of products/materials used for this project should be submitted for review and approval if requested in the Sow. Product data/catalogs of products shall be provided when actual samples can’t be provided). (14) Bill of Quantity & Bill of Materials if requested in the Sow (15) Submit a work plan/technical discussion-proposal of how the company intends on executing the work showing that it is consistent with the scope of work. (16) Verification that products are as listed in SOW, or providing cut sheets of major products if not specifically listed. (17) Complete company history/profile (18) Submit Activity Hazard Analysis & Accident Prevention plans. (19) Submit a safety plan | 1 |

| IV. - Submission of Quotations | Price | 1 |
| --- | --- | --- |
| This solicitation is for the performance of the construction services described in SCOPE OF WORK, and the Attachments which are a part of this request for quotation. The Offeror/Quoter shall identify and explain/justify any deviations, exceptions, or conditional assumptions taken with respect to any of the instructions or requirements of this request for quotation in the appropriate volume of the offer. |  |  |

C.  52.236-27    SITE VISIT (CONSTRUCTION) (FEB 1995)

(a)  The clauses at 52.236-2, Differing Site Conditions, and 52.236-3, Site Investigations and Conditions Affecting the Work, will be included in any contract awarded as a result of this solicitation.  Accordingly, offerors or quoters are urged and expected to inspect the site where the work will be performed. (Due to security checks, all participating personnel should arrive early for the site visit).

(b)  A site visit has been scheduled for August 01, 2018 at 10:00pm

(c)  All security cleared attendees should be at the front gate of the Embassy at least 15 minutes earlier to allow security screening before site visit starts. Cellphones and any electronics are not allowed during the site visit.

Note: To attend the site visit, all interested offerors (max. two attendances per company) should send the following details on or before July 25, 2018 to the below email:

KuwaitProcurement@state.gov

1.  Full name

2.  Nationality

3.  Civil ID number

4.  NO access will be granted for participants that have Article/title 20 (domestic Helper), Article/title 22 (dependents), or visit visa

D.  Magnitude of Construction Project

It is anticipated that the range in price of this contract will be less than $25,000.

# E.  Late Quotations.  Late quotations shall be handled in accordance with FAR.

F.  52.252-1   SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following provisions by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer.

Also, the full text of a solicitation provision may be accessed electronically at: http://acquisition.gov/far/index.html/ or http://farsite.hill.af.mil/vffara.htm.  Please note these addresses are subject to change.

If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Department of State Acquisition website at http://www.statebuy.state.gov to access the link to the FAR, or use of an Internet "search engine" (for example, Google, Yahoo or Excite) is suggested to obtain the latest location of the most current FAR.

The following Federal Acquisition Regulation provisions are incorporated by reference (48 CFR CH. 1):

PROVISION		TITLE AND DATE

52.204-6	DATA UNIVERSAL NUMBERING SYSTEM (DUNS) NUMBER (OCT 2016)

52.204-7	SYSTEM FOR AWARD MANAGEMENT (OCT 2016)

52.204-16 	Commercial and Government Entity Code Reporting (JUL 2016)

52.214-34	SUBMISSION OF OFFERS IN THE ENGLISH LANGUAGE (APR 1991)

52.215-1 	INSTRUCTIONS TO OFFERORS--COMPETITIVE ACQUISITION (JAN 2017)

## K.	EVALUATION CRITERIA

Award will be made to the lowest priced, acceptable, responsible bidder who provided all requested volumes and requirements.  The Government reserves the right to reject quotations that are unreasonably low or high in price.

The Government will determine acceptability by assessing the offeror's compliance with the terms of the RFQ.  The Government will determine responsibility by analyzing whether the apparent successful bidder complies with the requirements of FAR 9.1, including:

- ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

- satisfactory record of integrity and business ethics;

- necessary organization, personnel, experience, and skills or the ability to obtain them;

- necessary equipment and facilities or the ability to obtain them; and

- otherwise, qualified and eligible to receive an award under applicable laws and regulations.

The following DOSAR is provided in full text:

652.209-79	REPRESENTATION BY CORPORATION REGARDING AN UNPAID DELINQUENT TAX LIABILITY OR A FELONY CRIMINAL CONVICTION UNDER ANY FEDERAL LAW (SEPT 2014) (DEVIATION per PIB 2014-21)

(a)    In accordance with section 7073 of Division K of the Consolidated Appropriations Act, 2014 (Public Law 113-76) none of the funds made available by that Act may be used to enter into a contract with any corporation that –

(1)   Was convicted of a felony criminal violation under any Federal law within the

preceding 24 months, where the awarding agency has direct knowledge of the conviction, unless the agency has considered, in accordance with its procedures, that this further action is not necessary to protect the interests of the Government; or

(2)   Has any unpaid Federal tax liability that has been assessed for which all judicial

and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability, where the awarding agency has direct knowledge of the unpaid tax liability, unless the Federal agency has considered, in accordance with its procedures, that this further action is not necessary to protect the interests of the Government.

For the purposes of section 7073, it is the Department of State’s policy that no award may be made to any corporation covered by (1) or (2) above, unless the Procurement Executive has made a written determination that suspension or debarment is not necessary to protect the interests of the Government.

(b)  Offeror represents that—

(1)        It is [   ] is not [   ] a corporation that was convicted of a felony criminal violation under a Federal law within the preceding 24 months.

(2)        It is [   ] is not [   ] a corporation that has any unpaid Federal tax liability that has been assessed for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability.

(End of provision)

L.4	Authorized Contractor Administrator

If the offeror does not fill-in the blanks below, the official who signed the offer will be deemed to be the offeror's representative for Contract Administration, which includes all matters pertaining to payments.

Name:

Telephone Number:

Address:

# Attachment “A”

STATEMENT OF WORK (SOW)

Renovate/Remodel Management Office

  - Introduction

  - The U.S. American Embassy in Kuwait has a requirement to obtain the Services of a Contractor to renovate/remodel an existing office in the embassy building. The contractor is required to visit the location and submit the quotation accordingly.

2.0 	GENERAL REQUIREMENTS

2.1	The work shall be executed in a diligent manner in accordance with a negotiated firm fixed price and performance period. The period of performance for the project shall be 10 days. All work that produces dust and noise will occur during the weekend or after hours and rest of the work shall be performed during regular office hours. This will be done in consultation with the COR/embassy.  As deemed necessary, Contractor shall not have access to other building or office spaces/ interior except with permission by the Embassy.

2.2	The Contractor shall be required to prepare his own Bill Of Quantity (BOQ) based on  Site Visit and Scope of Work. Contractor will verify dimensions of Office Space indicating for example space in Sqm or linear meter, along with a quality control schedules. The contractor shall also supply a sketch/drawing without any cost to the embassy. These documents shall provide the necessary interfaces, coordination, and communication among the Embassy and Contractor for the delivery of the completed project.

- SCOPE OF WORK

3.1   GENERAL REQUIREMENT

- The Contractor is to provide all labor, logistics, equipment and material for the Work requested based on the site visit and the specific instructions noted in this Statement of Work.

- Comments below supplement the referenced specifications and are to be

incorporated into the Work. If there are any conflicts, the most stringent standard applies.

- Except as noted, within 5 days of Notice to Proceed, the contractor shall provide to the COR a project schedule showing start to completion.

- Except as noted, within 10 days of NTP, the Contractor shall provide to the COR details of the proposed installation utilizing written description or sketches or both.

- The Contractor shall be required to prepare a price quotation and indicate the Bill of Materials [BOM] and Drawings/sketch and all product data of all materials to be used on the project.  The BOM's shall list the materials in sufficient detail and specifications, so that this document can be used by the Embassy to approve the use of all materials along with presented samples.

- The contractor is responsible for disposal of the construction debris on a daily basis. Embassy trash containers cannot be used for disposal of contractor related trash and construction debris.

- The contractor is responsible for proper layout and preparation for the installation based on locations provided by FAC/COR.

- When pursuing the work, the contractor is to take extra care as not to damage existing structure.

Demolition/Removal:

1. Contractor must supply their own dumpster to legally dispose of all debris from the project. Debris must be disposed of on a daily basis.

2. During work, contractor must supply walk off mats and plastic covers on all entries to the construction area. Contractor must keep area around site cleaning, mopping, sweeping and providing all cleaning necessary to keep the area free from any construction debris, footprints, or any other evidence of construction work.  All debris to be removed from the area in covered push carts (covered by plastic or built in cover) in order to reduce dust.

3. Parts of the existing ceiling grids and ceiling tiles to be removed and readjusted to install the dry wall and glass partition as necessary. Support all above wall items as necessary during this work and until the new partitions and ceiling system are re-installed/adjusted.

4. HVAC supply, return and exhaust diffusers shall be maintained in place.

5. Provide cleaning throughout and specifically after the demolition phase and a professional, final cleaning after all construction work is finished.

6. Protect all existing finishes, surrounding areas from dust/debris. Contractor shall install plastic protective sheets to cover surrounding areas, office equipment, office furniture if any to prevent dust entering in to it.  Contractor will be responsible for any damaged material or finishes as a result of their work.

Note: Embassy will supply a HEPA negative air machine/air purifier to be used during construction activity to minimize the dust generated by construction activity

Construction/Renovation Work:

- Contractor shall partially demolish the existing drywall partitions, ceiling grids, ceiling tiles, floor carpets to remodel the Management Office as per the following scope of work:

- Contractor shall supply, install and erect new gypsum wall and glass partitions up to ceiling tile level.  The existing gypsum partition walls shall be modified to reinforce the new dry wall and glass partitions. Existing ceiling grids and ceiling tiles to be removed and readjusted to install the dry wall and glass partitions. The contractor shall install metal framing, studs, bracing, metal supports to install the partitions. The approximate area that need remodeling is 3.10m(W)x2.70m(H), which include drywall partition, glass door and glass partition installation.

- The height of the drywall partition from the ground level is approx. 95cm and width is 2.10m. The height of the glass partition from the drywall partition is approx.  175cm (up to the ceiling tile level) and width is 2.10m. Theses sizes include appropriate border frames that need to be installed by the contractor as required. The contractor shall install appropriate support structure to concrete ceiling slab/walls, frames, channels and other accessories to safely and securely install the glass partition. The contractor shall install grids or appropriate material to conceal the joints between the ceilings and new partitions. The height between the ceiling tile level and slab is 125cm. A minimum four metal or other appropriate supports shall be anchored or bolted in to the concrete ceiling slabs to install the glass partitions. This metal/other supports installation should not hamper with the existing HVAC, fire sprinkler or any other lines/connections in between the ceiling tile and slab.

- The actual frame where the glass is to be installed must be clean and free of liquids and debris, equipped with functioning weep holes to allow for excess moisture drainage and should be well-finished according to the manufacturer’s original standards. The frame should also be properly supported, fastened and entirely square, or flush with the intended and adjoining architecture according to plan and must also allow for specified tolerances.

- Install a standard size glass door (83”Hx35”W) with steel frames, hinges, hardware, door handle, hydraulic door closure, door stopper if any. The glass door should have stainless steel borders of approx. 20cm, on top and bottom levels. The glass door shall be clear tempered and should have a thickness of 6mm. The door handle shall be high quality stainless steel, made in USA or Europe, oval shaped with two keys to operate the door. The hydraulic door closer shall be high quality aluminum, preferably Norton or Yale brand or equivalent made in USA or Europe.  All other accessories used shall be high quality stainless steel and should carry a warranty of 2 years for rusting, discoloration, damages etc. The tempered glass used shall meet ASTM 1048 standards.

- Adjust drywall and framing necessary for new glass door installation. This work includes metal stud, stainless steel frame addition around the new door frame so that the wall is strengthened.

- The glass used for the glass partition shall be single pane type; clear tempered, should have 10mm thickness. The contractor shall supply all associated channels, frames, support materials to install the glass partition. The tempered glass used shall meet ASTM 1048 standards. All Fabrication that Penetrates the Glass Surface (i.e. holes, notches, sand blasting, cutting) Must Take Place prior to Tempering or Heat Strengthening.

- The Gypsum board to be “Type X” of 5/8” (16mm) nominal thickness, it should meet ASTM C 1396 standard. Provide vertical framing and continuous base and top track as appropriate.  Install horizontal bracing as needed. Metal studs should be approximately 89 mm with insulation similar thickness.  The contractor is responsible to supply and install 2” acoustic bats, R-15 high density type for the newly installed gypsum board partition.

- Re-finish existing/surrounding/adjoining/new walls to be smooth and like new. Provide proper bead or trim for where walls meet existing walls or new walls, finish to provide a smooth, consistent look. No visible patch work, joints, marks if any will be allowed.

- All walls (modified and new) to receive new paint. Existing walls shall receive two (2) coats of finish paint.

- New partitions to receive two (2) coats of primer and two (2) coats of finish paint. The paint color shall be the same existing; the color code of the paint shall be provided by the United States Government (USG).

- New carpet tiles, vinyl wall base, ceiling tiles shall be installed by the contractor. USG will furnish carpet tiles and ceiling tiles as needed.  Contractor is responsible for vinyl wall base, adhesive. Floor must be primed properly before re-installing carpet tiles.

- HVAC & ceiling lights modification works will be done by the USG.

- Contractor will not tamper with the fire sprinkler system while carrying out this project. Existing smoke detector/fires sprinkler system shall provide coverage during work and only be covered / disabled through permission of the USG prior to any dust producing activities.

  - Logistics

- Staging/storage areas available on grounds (Limited Space availability).

- Contractor to provide all Materials, skilled labor and Equipment necessary to complete the project.

  - Materials and Equipment

All Materials and equipment required for the satisfactory completion of the project shall be considered to be included and accounted for by the contractor.

  - Labor

All skilled Labor required for the satisfactory completion of the project shall be considered to be included and accounted for by the contractor.

Anything else not mentioned above but necessary to ensure a satisfactory completion of the work and in line with on-site instructions received from the CO/POSHO/authorized representatives. All work is to comply with the attached specifications. If work items are not specified, the applicable standard specifications noted above will apply. FAC will provide applicable specification sections to the contractor on request.

  - Cleaning

The contractor shall use floor mat/carpet or any other non-slippery materials outside the construction site/walkway/office area to avoid any dirt debris in any of the surrounding areas. The surrounding areas/office space shall always be neat, clean, and free of debris/tools/construction materials etc.

Clean area of work and restore all items to their existing conditions at the end of each day as long as they do not affect the next day progress. The work site shall always be kept clean and clear of obstructions as the surrounding area shall be in use and the work should pose the least impact upon the general day to day use of the property.

Warranty:

Two years warranty on the installed doors, hinges, handles, door closures, glasses and drywall partitions for cracks, breakage, damage, discoloration etc.

Samples:

Contractor must provide samples of all products used for this project, product catalogs/data sheets shall be provided when actual samples can’t be provided

Experience/Past performance:

Provide a list of similar and other projects/contracts previously performed during the last three years and points of contact with phone numbers.

4.0	CONTRACT ADMINISTRATION:

  - The Embassy does not make representations or warranties of whatsoever kind or nature, either expressed or implied, as to the quality, level of completion, accuracy, extent of compliance with the standards, codes and requirements described or referred to in this SOW, or the extent of coordination between or among the documents provided to the Contractor.

  - The Embassy has the right to inspect and test all services called for by the contract, to the extent practicable at all times and places during the term of the contract.  The COTR/FAC/POSHO Office will perform quality assurance inspections [QAI] and tests during installation to confirm the work is installed according to the SOW.

- RESPONSIBILITY OF THE CONTRACTOR:

  - The Contractor shall be responsible for the professional quality, technical accuracy, and the coordination of all construction and other services furnished under this contract. Prior to commencement of project, the Contractor will ensure all personnel hired for this project are formally trained and have the appropriate level of skills to perform the work required to meet acceptable industry standards. The Contractor shall, without additional compensation, correct or revise any errors or deficiencies in provided services to the satisfaction of the Embassy & Facility Management (FAC).

  - The Contractor shall identify a Project Site Manager who shall be responsible for the overall management of the project and shall represent the Contractor on the site during construction.  The Project Site Manager shall speak English.

  - The Contractor is responsible for safety and shall comply with all local labor laws, regulations, customs and practices pertaining to labor, safety and similar matters.  The Contractor shall promptly report all accidents resulting in lost time, disabling, or fatal injuries to the Embassy.

  - The Contractor shall be and remain liable to the Embassy in accordance with applicable law for all damages to the Embassy caused by the Contractor's negligent performance of any of the services furnished under this SOW.

6.0	CONSTRUCTION REQUIREMENTS

6.1	The Contractor shall be responsible for all required materials, equipment and personnel to manage, administer, and supervise the wood finishing project. All workmanship shall be of good quality and performed in a skillful manner as determined by the Embassy.

6.2	All materials incorporated into the project shall be new. The Contractor shall transport and safeguard all materials and equipment required for construction.

6.3	The Contractor shall at all times keep the work area free from accumulation of waste materials.  Upon completing construction, the Contractor shall remove all temporary facilities and leave the project site in a clean and orderly condition acceptable to the Embassy. All the construction debris, trash, materials if any shall be disposed of in accordance with the local government regulations.

6.4	All material planned to be used must be submitted for approval prior to installation. Material must be consistent with scope of work and drawings. Submittal requires shop drawings, cut sheets, information sheets and samples, as applicable to the specific item.

7.0	Deliverable Schedule

7.1	The Contractor shall commence work under this contract promptly, execute the work diligently, and achieve final completion including final cleanup and reinstatement disturbed structure/landscaping on the premises within the period specified.

7.2	Milestones:

Pre-construction material submittals		Within 2 days of Award

Embassy Review				1/2 days

Construction Begins				Immediately after FAC Approval

Final Cleanup Begins				3 days prior to Completion

Construction Completion			10 days

8.0	SECURITY

8.1	This is a non-classified project. The work to be performed under this contract requires that the Contractor identifies all employees, sub-contractors and vehicles that shall be used during the project to ensure that their named employees and the vehicles may enter the embassy compound. The list of employees and vehicles shall be submitted in advance as prescribed clause 9.

All vehicles, personnel, equipment required for the project are subject to security clearance at personnel and vehicle screening check-points prior to entering in to the embassy project site. This process normally takes time, depends upon the vehicular/personnel traffic at each security check point at the back side entrances of the embassy. Only five employees will be allowed to work at any given time for this project and they will be escorted by the embassy at all times.

9. 	GENERAL INFORMATION

All work will be done during working days, Sunday to Thursday, 0830-1630, except as advised by the COR/POSHO or his authorized representatives. Some areas must be done during weekend in coordination with Facility Manager/POSHO or his authorized representatives. Work outside these hours and times will be done only with approval of the Facility Manager/POSHO or his authorized representatives. List of or workers, vehicles, equipment involved in the construction must be submitted two weeks prior to starting the project makes the necessary access pass.

Work will be done in an efficient and professional manner, using only top quality tools and materials.  All work, equipment, materials, safety procedures followed by workers shall be inspected by the COR/POSHO or his authorized representatives.

10.	SAFETY

Considering the location is an office building/space, all required safety procedures to be followed. Please refer the safety documents attached with the solicitation document for more information. All workers must wear appropriate safety personal protective equipment to include safety shoes, safety, glasses, safety masks, head protection, body harness etc. Workers without appropriate safety gears will not be permitted to work at the embassy. Keep the work-site secured by barricading, keep the site clean during construction, and clean-up all debris and trash at the end of each workday.  The contractor shall never leave power equipment unattended without disconnecting them from their power source. Tools and materials shall be inspected by the COR/POSHO or his/her authorized representatives for its working conditions, appropriate grounding, quality etc. and they are stored in a location designated by the COR/POSHO.

11. 	INSPECTION & ACCEPTANCE

The project and services being performed and materials/supplies used to accomplish the project will be inspected by the COR/POSHO or his authorized representatives, to determine that all the work is carried out in a satisfactory manner and that all the materials used to complete the project are acceptable quality and standard. The contractor shall be responsible to immediately remedy any unacceptable work or conditions within the scope of work of this project

END OF SCOPE

Attachment B

U.S. EMBASSY-KUWAIT

FACILITY MANAGEMENT

THE CONTRACTOR’S GENERAL RESPONSBILITIES

FOR EMBASSY MANAGED CONSTRUCTION PROJECTS

- purpose

To notify the contractors of their general responsibilities related to Safety and Health for the Embassy managed construction projects; as listed in this solicitation:

Extra or different requirements will be established directly by the Contracting Officer’s Representative (COR) or the Post Occupational Safety and Health Officer (POSHO) to ensure all safety requirements are followed and to share any related information as required. All contractor personnel shall meet contract specifications. The COR or POSHO or his authorized designee can stop any work in case safety guidelines are not followed.

- GENERAL

The following is required by the contractor and their sub-contractors:

  - The contractor must demonstrate understanding of his responsibilities related to the safety requirements by addressing hazards in the planning processes and preconstruction meetings.

  - Prior to starting a project, the contractor is required to review the work site and identify hazards that may occur while performing the job.

  - Prior to starting a project, the contractor shall contact the CO or COR to ensure that they have received all pertinent information for the project including requirements for permits, floor plans, utility information, asbestos, lead based paint and other hazardous materials.

  - Per Embassy policy, the contractor must provide their workers with a safe and healthful conditions of employment.

  - The contractor is expected to provide a “competent person” to implement the site health and safety plan and to oversee its compliance. A competent person is an individual who, by way of training and/or experience, is knowledgeable of applicable standards, is capable of identifying workplace hazards relating to the specific operation, is designated by the employer, and has authority to take appropriate actions. The person assigned to oversee the project shall speak English. The contractor shall complete the attached hazard analysis form wherever necessary.

  - The contractor shall be responsible for the removal and/or disposal of hazardous waste generated from the project. Hazardous waste generated from the project must be removed and disposed of in accordance with the Department’s Hazardous Waste Management Policy as well as local laws and regulations (Policy attached).

  - The contractor shall ensure proper safety, health and environmental requirements of EM 385-1-1 (U.S. Army Corps of Engineers Safety & Health Requirements Manual) applicable to their project are followed.

  - The contractor shall ensure individuals working at the site are trained and are aware of potential hazards. The contractor shall ensure that these individuals are provided with proper safety equipment to prevent accidental injury in accordance with the requirements of the contract.

- BARRICADING AND FENCING

The contractor has the responsibility to maintain a safe and accessible path-of-travel for all pedestrians, including those with disabilities. Barricades act as warning devices, alerting others of the hazards created by construction activities, and should be used to control vehicular and pedestrian traffic safely through and around the work site.

The contractor is required to:

  - Erect and maintain for the duration of the contract proper barricades including fencing material, traffic cones, caution tape and temporary curb ramps complying with all access codes and regulations at all closed crosswalks and existing closed curb ramps.

  - Obtain all applicable permits required by the regulations.

  - Furnish, erect, and maintain all necessary signs, barricades, lighting, fencing, bridging, and flaggers that conform to the requirements set forth by Occupational Safety and Health Administration (OSHA).

  - Ensure that no construction materials are stored and/or placed on the path-of travel.

  - Maintain the construction barriers in a sound, neat, and clean condition.

  - Not occupy public sidewalks except where pedestrian protection is provided. The contractor shall not obstruct free and convenient approach to any fire hydrant, alarm box, or utility box.

  - Remove barriers and enclosures upon completion of the work in accordance with applicable regulatory requirements and to the satisfaction of the owner.

  - Provide protection for pedestrians consistent with all local codes, including the Americans with Disabilities Act (ADA) that can be read at http://www.ada.gov/pubs/adastatute08.htm#top

- HAND AND POWER TOOL SAFETY

The contractor has the responsibility to provide safe working conditions of tools and equipment.

The contractor is required to:

  - Ensure the safety of tools and equipment used by its workers.

  - Inspect at regular intervals and maintain in good condition all tools in accordance with the manufacturers' specification.

  - Ensure that all operating and moving parts operate and are clean.

  - Require that appropriate personal protective equipment be worn for hazards that may be encountered while using portable power tools and hand tools.

  - Ensure that tools are used for their intended purposes.

  - Ensure that all workers receive instruction on regulations and the safe use of each power tool.

  - Provide owners’ manuals including manufacturer’s specifications and suggested work practices and make the manuals available upon request to all workers required to use the equipment.

- PERSONAL PROTECTIVE EQUIPMENT (PPE)

Purpose: To inform contractors of their responsibilities under Embassy’s personal protective equipment standard while performing work at the Embassy.

Contractors are required to comply with the following provisions:

• Protective equipment for eyes, face, head, and extremities, protective clothing, respiratory devices, and protective shields and barriers, shall be used wherever it is necessary by reason of hazards of processes or environment, chemical hazards, radiological hazards, or mechanical irritants encountered in a manner capable of causing injury or impairment in the function of any part of the body through absorption, inhalation or physical contact.

• Each affected worker shall use appropriate eye or face protection when exposed to eye or face hazards from flying particles, molten metal, liquid chemicals, acids or caustic liquids, chemical gases or vapors, or potentially injurious light radiation.

• Each affected worker shall use appropriate respiratory protection when potentially exposed to air contaminated with harmful dusts, fogs, fumes, mists, gases, smokes, sprays, or vapors and when such hazards cannot be reduced or eliminated by effective engineering controls.

• Each affected worker shall wear protective helmets when working in areas where there is a potential for injury to the head from falling objects. Protective helmets shall also be worn to reduce electrical shock hazards when near expose electrical conductors which could contact the head.

• Each affected worker shall wear protective footwear when working in areas where there is a danger of foot injuries due to falling and rolling objects, or objects piercing the sole, and where such worker’s feet are exposed to electrical hazards.

• Each affected worker shall wear protective ear wear whenever noise exposures equal or exceed an 8-hour time-weighted average sound level (TWA) of 80 decibels and when engineering controls cannot reduce or eliminate the hazard.

• Each affected worker shall wear protective gloves when working in areas where hands are exposed to hazards such as those from skin absorption of harmful substances; severe cuts or lacerations; severe abrasions; punctures; chemical burns; thermal burns; and harmful temperature extremes.

• Contractors shall provide training and upon completion, each worker shall be tested, and certified in writing by the trainer. If at any time the trained worker changes work activities requiring different PPE, or exhibits lack of understanding of the required PPE, the worker shall be retrained and re-certified.

- NOISE

Purpose: To inform contractors of their responsibilities to their workers and Embassy community with respect to construction generated noise pollution. Embassy may impose additional time limitations on particular projects expected to make noise.

Use for any construction project that generates noise.

Contractors are required to:

• Identify noisy equipment and noisy operations and plan their work to provide maximal noise protection to workers and the community.

• Schedule noisy operations during off hours if possible. Noisy construction or demolition can be performed only during the hours of 7:00 am through 7:00 pm on weekdays, and the generated noise cannot exceed 80 dB except for pile driving.

• Provide a plan for how a contractor will comply with these regulations to the COR or POSHO in advance of the project.

• Erect barriers to isolate occupied space from noisy operations when required.

• Implement a hearing conservation program when workers are exposed to 80 dB or more in an 8 hour day. These programs include annual audiometric testing and require hearing protection devices, such as earplugs.

• Implement engineering or administrative noise controls when exposure exceeds 85 db. Engineering controls include redesigning the space to reduce machinery noise, replacing machinery with quieter equipment, enclosing the noise source or enclosing the noise receiver. Administrative controls include mandating the length of time an employee can be exposed to a particular noise source.

- FALL PROTECTION

The contractor has the responsibility to provide safe conditions when performing work at elevated surfaces (unguarded locations above six feet) at Embassy. Such locations may include but is not limited to the following:

- Portable and fixed ladders

- Aerial lifts

- Scaffolds

- Roofs

- Elevated work locations and platforms

The contractor is required to:

Contractors are required to:

• Reduce the hazards associated with falls.

• Control fall hazards first through engineering controls.

• Institute personal fall arrest systems, administrative controls and training when engineering controls are not feasible.

• Have a formal fall protection program in accordance with OSHA requirements or equivalent as determined by the POSHO

• Have the necessary fall protection equipment to safely perform the job.

• Have workers properly trained in the use of fall protection equipment.

• Have supervisors (or competent personnel) who ensure the use of fall protection equipment as required.

- SCAFFOLDING

Purpose: To inform contractors of their responsibilities when using, erecting and breaking down scaffolding.

Contractors are required to:

• Understand and comply with the Post’s Contractor Safety Program and propose scaffolding structure that is equivalent to those required by OSHA or accepted by POSHO or COR.

• Ensure all employees have received training in the use of scaffoldings.

• Contact the COR or POSHO with questions regarding safety and required precautions.

Contractors are also required to ensure that scaffoldings are:

• Erected and dismantled by competent workers, under the supervision of knowledgeable and experienced supervisors.

• Erected on sound and rigid footing, capable of carrying the maximum intended load without settling or displacement.

• Securely fastened with all braces, pins, screw jacks, base plates and other fittings installed as required by the manufacturer.

• Limited to authorized personnel only, especially after working hours.

• Equipped with standard guardrails and toe boards on all open sides and ends of platforms four (4) to ten (10) feet in height.

• Provided with a screen with maximum ½ inch openings between the toe board and the guardrail, where persons are required to work or pass under the scaffold.

• Replaced or repaired immediately if scaffolding and accessories have any defective parts.

• Provided with an access ladder or equivalent safe access.

The contractor shall ensure that the planking be:

• Scaffold grade or equivalent.

• Overlapped a minimum of 12 inches or secured from movement.

• Extended over their end supports for less than 6 and never more than 12 inches.

- HAZARDOUS WASTE MANAGEMENT

Purpose: To inform contractors of their responsibilities under Department’s Hazardous Waste

Management Program when handling, storing, transporting, and disposing of hazardous wastes generated at the Embassy.

The hazardous wastes associated with the construction including but not limited to: adhesives, cements, lubricants, spill residues, used oil, cleaning supplies, solvents, paints, paint thinners, empty cylinders, pipes, and drywalls are generated.

Contractors are required to:

• Identify any potential hazardous wastes associated with the planned work activity prior to commencing work

• Implement their own hazardous waste and employee training programs for the specific materials identified.

• Ensure no wastes are abandoned in place.

• Notify the COR or POSHO prior to the transportation, handling, storage and disposal of all solid and hazardous wastes potentially generated as part of the proposed work activities.

• Comply with all local and Department’s Hazmat and Environmental Services policies and procedures.

• Forward copies of all transportation, handling, storage, and disposal records including but not limited to Hazardous Waste Manifests, DOT Permits, and Disposal or Recycling certificates to the COR.

- HAZARD COMMUNICATIONS

Purpose: To inform contractors of their responsibilities under Department’s hazard communication policy regarding potentially hazardous materials present on construction sites and in posts buildings.

Contractors are required to:

• Maintain an effective hazard communication program.

• Ensure that COR or POSHOs disclose known site-specific hazards such as the presence of chemical, radiological or biological materials to post managed construction contractors.

• Maintain and have accessible copies of Safety Data Sheets (SDSs or equivalents) for hazardous chemicals brought onto Embassy property.

• Forward SDSs of hazardous materials (that produce strong odors) to the COR or POSHO for review.

• Use and store all hazardous or flammable chemicals, liquids, or gases brought onto the project site in approved containers conforming to Embassy’s and applicable local regulations.

• Secure permits, if applicable, for the temporary storage of hazardous materials on the project site.

• Ensure that spills of hazardous materials are contained and cleaned-up immediately and that all necessary means and materials are maintained at the work site to accomplish this task.

• Notify the COR or POSHO immediately of a hazardous material spill.

• Report to COR or POSHO immediately the discovery of any hazardous materials which has not been rendered harmless.

- ELECTRICAL SAFETY

Purpose.  To inform contractors of their responsibilities when performing work that may impact electrical systems on embassy properties.

Such activities include, but are not limited to:

• Installation of electrical systems, components, machinery, and equipment.   • Alterations of electrical systems, components, machinery, and equipment.   • Maintenance of existing systems and equipment.   • Demolition of existing systems.  • Temporary planned outages. • Tests and diagnostics.

Contractors are required to:

- Identify any potential sources of electrical energy likely to cause death, injury, or serious physical harm.

- Notify the COR or POSHO and the Project Manager of impact activities prior to the start of work.

- Coordinate planned outages with COR or POSHO and the Project Manager.

- Ensure all workers performing impact activities have received sufficient training in compliance with Embassy’s, Department’s and local regulations.

• 	Ensure all workers are provided adequate personal protective equipment as required by the regulations mentioned below.

• 	Ensure all work is performed in accordance with the guidelines of federal and

Ensure all work is performed in accordance with the guidelines of federal and  local regulations list below:

- Follow Lock-Out/Tag-Out procedures for the Control of Hazardous Energy as specified in the OSHA 29 CFR 1910.147 Standard, and in the Embassy’s Lock-Out/Tag-Out program.

- LOCKOUT / TAGOUT

Purpose: To inform contractors of their responsibilities when performing lockout/tagout activities at Embassy to ensure all persons potentially affected by de-energizing or reenergizing of building systems are properly protected and notified.

This is required when electrical, pneumatic, mechanical, thermal, hydraulic, and chemical, energies are found that must be controlled to prevent serious or fatal injuries.

Contractors are responsible for the following:

• Having a lockout/tag out program prior to performing work.

• Having trained workers prior to performing work.

• Understanding and complying with the Embassy’s lockout program.

• Informing the COR and POSHO if their program deviates from the Embassy program.

• Coordinating with the COR and POSHO prior to performing lockout/tag out activities.

• Providing their own lockout/tag out equipment that meets OSHA standards.

• Performing lockout/tag out activities in accordance with OSHA standards.

• Following special procedures for jobs requiring multiple lockout devices and those involving shift or personnel changes.

The contractors will not be permitted to work on any energized circuits while working in any embassy managed projects.

- HOT WORK PERMIT

Purpose: To inform contractors of their responsibilities when performing hot work activities at Embassy. The hot work permit is designed to reduce the potential of an uncontrolled ignition of materials in a hot work area.

This is required when contractor’s work involves heat, flame, sparks, or smoke. Examples of hot work include but are not limited to brazing, cutting, grinding, soldering, gas or arc welding, and torch-applied roofing. Hot work permits are not required during the construction of new facilities or renovations of unoccupied existing facilities.

Contractors must be responsible for the following:

• Understanding and complying with the Embassy hot work permit program.

• Having trained workers and approved fire prevention equipment on site prior to performing work.

• Obtaining a hot work permit from the COR or POSHO prior to the hot work activity within occupied existing facilities, 40 feet of a building or potential hazard such as a fuel storage tank, and confined spaces regardless of location.

• Coordinating with the COR or POSHO the temporary shutdown of localized fire systems to prevent possible fire alarm activation and disruption of normal business operations.

• Posting the hot work permit at the job site in an accessible and conspicuous location.

• Submitting the hot work permit to the COR or POSHO at the completion of the activity.

• Conducting their hot work activities in a sound fire safe manner and following the precautions outlined on the hot work permit.

• Assuring that a firewatcher remains on the job for 60 minutes after the completion of the hot work.

- TRENCHING AND EXCAVATIONS

Purpose:  To inform contractors of their responsibilities while performing trenching and excavation operations at Embassy. This is required when drilling, digging and trenching are performed.  Contractors must apply the following safety controls:

- Before any excavation work begins, underground utilities shall be identified and the location marked of underground pipes, electrical conductors, any  other structures.

- Evaluation is required of the trenching site by a "competent person" who knows and is trained to identify soil types, proper protective systems and hazardous conditions.

- Contact local authorities for procedures and notification requirements.

- Conduct a daily inspection of the excavation and the adjacent areas prior to work and as needed during the workday. If there are any unsafe conditions, work shall stop in the excavation and personnel removed until the problems are corrected.

- Monitor and recognize hazardous atmospheres and conditions such as vibration, external loads, weather conditions, ground water conditions and confined spaces.

- Check all protective material or equipment for any damage.

- When excavations are deeper than 4 feet, ladders or steps shall be located so that a worker does not need to travel more than 25 feet in the excavation before being able to exit. See OSHA’s confined space standard 29 CFR-1910.148 for testing before workers enter excavations greater than 4 feet in depth.

- Each worker in an excavation shall be protected from cave-ins by an adequate protective system designed in accordance with OSHA Standard 1926, Subpart P.

- Examination of the ground by a competent person for excavations less than five (5) feet in depth must present no indication of a potential cave-in hazard.  If a cave-in hazard exists, protective systems are required.

- When excavations are deeper than five (5) feet, the sides shall be provided with a protective system (shored, braced or sloped sufficiently) to protect against hazardous ground movement.

- When heavy equipment will be operated nearby, the shoring or bracing shall be able to withstand this extra load regardless of the depth of the excavation.  For any excavation that a person will enter, all dirt, debris and excavation material shall be effectively stored or retained at least two (2) feet from the edge of the excavation.

- Adequate protection from hazards associated with water accumulation should be in place before working in excavations.

- Signs and Barricades shall be displayed at all excavation/trenching sites.

- All excavations into which a person could fall or trip shall be guarded.  While work is being performed in or near the opening, the guards surrounding the area shall be maintained.

- Barricades at least 3 to 5 feet high shall be spaced no further than ten (10) feet apart and yellow and black "Caution, Do Not Enter" construction tape shall be stretched securely between the barricades.

- A registered professional engineer (or equivalent) shall design excavations more than twenty feet deep.

- Excavations should be covered and not left open overnight.

- POWERED INDUSTRIAL LIFT TRUCKS

Purpose:  To inform contractors of their responsibilities with respect to industrial lift trucks, their operations and maintenance.

This is required when contractor uses fork trucks, tractors, platform lift trucks, motorized hand trucks, and other specialized industrial trucks powered by electric motors or internal combustion engines.

Contractors are required to ensure:

- Vehicles are inspected daily at the beginning of the work shift.  Inspections must be documented and made available upon request.

- Workers obey all safe operating procedures.

- Powered industrial lift truck drivers shall be trained by a competent person for each type of equipment they operate at a level equivalent to the OSHA requirements.

- Any power-operated industrial truck not in safe operating condition shall be removed from service.

- Only authorized personnel shall make all repairs.

- Only parts equivalent to those used in the original design shall replace all parts of any such industrial truck requiring replacement.

- No passengers are allowed to ride on a powered industrial truck.  No person shall be allowed to stand or pass under the elevated portion of any truck, whether loaded or empty.

- Unauthorized personnel shall not be permitted to ride on powered industrial trucks.

- Operators will sound the horn and use extreme caution when meeting pedestrians, making turns, and traveling through doors.

- When loading trailers, dock plates will be used. Operators will assure dock plates are in good condition and will store on edge when not in use.

- Operators are instructed to report all accidents, regardless of fault and severity.

16. LEAD-BASED PAINT

Purpose: To inform contractors of their responsibilities under the Embassy’s Lead Management Program and to provide guidelines to contractors who may potentially impact lead-based paint at Embassy. These are not specifications for lead-based paint abatement.

This is required when Embassy managed construction involves manipulation and/or demolition of painted surfaces.

Contractors are required to:

• Request from the Project Manager or the COR the location of lead-containing building materials in the work area.

• Provide COR or the CO with lead-safe work practices pertaining to the project.

• In the event that lead-based paint is impacted, take all necessary precautions to protect Embassy employees, families and visitors from the exposure to lead dust or contamination. Such measures may include using plastic sheeting to isolate the work area, using wet techniques, and/or using a HEPA vacuum.

• Ensure that construction dust does not enter occupied space, HVAC system or other work areas.

- CONFINED SPACE ENTRY

Purpose: To inform contractors of their responsibilities during confined space entry activities at

the Embassy. Confined space is defined as any space that:

(1) Is large enough and so configured that an employee can bodily enter and perform assigned work; and

(2) Has limited or restricted means for entry or exit (for example, tanks, vessels, silos, storage bins, hoppers, vaults, and pits are spaces that may have limited means of entry.); and (3) Is not designed for continuous employee occupancy.

Use anytime you may have confined space in your construction project. Types of confined space entries may include but are not limited to: telecommunication manholes, HVAC systems, sewer manholes, sewage ejection chambers, steam manholes, crawlspaces, boilers, tanks, and water-meter manholes.

The contractor is required to:

• Identify permit-required confined spaces.

• Evaluate each confined space for the following:

• Presence of explosive gases equal to or greater than 10% of lower explosive limit (LEL).

• Oxygen Deficiency and Oxygen Enriched Atmospheres

• Concentrations of Carbon Monoxide and Hydrogen Sulfide.

• Electric shocks, burns, walking/working surfaces, heat stress, noise hazards, and/or any other recognized hazard.

• Control potential hazards with the following measures:

• Mechanical – Use proper lockout/tag out procedures when needed to prevent hazards within the confined space

• Ventilation – If exposed to harmful vapors or an oxygen deficient atmosphere exists; a ventilation fan shall be used for the duration of the job.

• Slips and fall – Use caution if shoes and /or ladders are wet or oily. Inspect shoes prior to entry.

• Burns and Heat Stress – The use of a ventilation fan will provide cooler temperatures. Use caution around hot equipment and avoid overexertion within the space. Take frequent breaks if needed.

• To prevent an explosion, do not use equipment that may cause flame or sparks in an oxygen-enriched atmosphere.

• Personal protective equipment (goggles, gloves, dust mask, respirator) shall be worn when a potential hazard exists.

• Coordinate entry operations when workers are working in or near the area.

• Inform the CO or POSHO of entry procedures that will be followed and of any hazards identified or created.

• Provide documentation of their company’s entry procedures to CO or POSHO before work begins.

• Provide rescue operation procedures.

Confined space entry work permit shall be obtained from POSHO or COR prior to entering any confined spaces.

18. INDOOR ENVIRONMENTAL QUALITY

Purpose: To inform contractors of their responsibility to minimize the impact construction-related activities have on indoor environmental quality at the embassy.

Contractors are required to:

• Ensure that no dust, vapors, and fumes are released into the occupied space during sanding, grinding, roofing, flooring, painting, welding, cutting, jack-hammering and demolitions.

• Use a HEPA filtered equipment to provide negative pressure or to minimize recirculation of contaminants.

• Implement engineering controls; such as dilution or local exhaust ventilation and isolation of mechanical systems.

• Install critical barriers made of polyethylene sheeting on doors, windows, vents, etc. in order to isolate the specific work area.

• Minimize dust, use wet methods when appropriate.

• Have trained workers and approved equipment on site prior to performing work.

• Use the least toxic material suitable for the application (for example, latex paint rather than oil-based). Products containing solvents and those that emit gases and vapors must be submitted to the COR or POSHO review and approval prior to use.

• Communicate with COR or POSHO to implement effective strategies (for example, working off hours) to minimize occupant exposure.

• Relocate sources of contamination (for example, a diesel generator or tar kettle) away from the building air intake.

- ADDITIONAL NOTES

The COR will work directly with the contractors ensuring that they follow all required safety guidelines and in case any deficiency is found during the QA/QC/Safety inspections, the projects can be stopped by the COR until the condition is remediated. During the jobs if any different work conditions appear, the COR can indicate further safety requirements to the contractor. The COR will work with the POSHO in order to guarantee all required safety procedures are followed.

Escorting of Local Contractors:

Proper escorting procedures will be briefed and must be approved (in advance) by the COR or RSO prior to starting the project. The contractors must follow all escorting requirement as advised by the COR. Contractors must participate in all embassy security/fire drills while working in the embassy compound.

Hot WORK Permits:

Any grinding, welding, brazing, torch cutting, soldering or any work with Fire Hazard requires a Hot Permit from the COR, POSHO or FAC.

Any work with toxic materials or any material that can cause discomfort, harm, or injury to tenants must also require prior permit from the COR or the POSHO.

JACK HAMMING OR CHIPPING:

Any work that involves continuous noise that will disrupt Embassy operations must have prior approval from the COR or be performed after normal business hours.

Protection of Government Property:

Proper procedures shall be used at all times when work is being conducted at the embassy properties to protect existing building systems, finishes and equipment.

Smoking:

U.S. Government policy prohibits all smoking from inside any U.S. Government property, including the rooftop or within 25 feet of a U.S. Government building.  Embassy has only two designated smoking areas; the workers may use these areas for smoking.

WORK SITE MISHAP/INJURY REPORTING:

Contractors must report all work related injuries/mishaps to POSHO, or COR or his authorized representative as soon as it occurs.

SUBCONTRACTORS:

Subcontracts, (if approved).  The contractor shall be responsible for its subcontractors’ to be in compliance with all safety requirements as prescribed above.

WRITTEN PROGRAM:

Before commencing work, the contractor shall:

(1)  Submit a written plan to the CO or COR or POSHO for implementing all requirements as prescribed above.  The plan shall include specific management or technical procedures for effectively controlling hazards associated with the project; and,

(2) Submit an Activity Hazard Analysis & Accident Prevention Plans?

(3)  Meet with the CO or COR or POSHO to discuss and develop a mutual understanding related to administration and implementation of the overall safety program.

Note: Contractor shall contact the COR or POSHO for any questions, clarifications, additional information required!

Revised: 03/2018; PappachanS