Scope of Work

New Antenna Transmission line Foundations

DESCRIPTION/SPECIFICATIONS/WORK STATEMENT

C.1	INTRODUCTION:

C.1.1 	The contractor shall construct twenty seven (27) foundations to support a new open-wire transmission line at the work site.  The work site at the International Broadcasting Bureau’s (IBB) Transmitting Station (the site) on a 2200-acre site in Umm Al-Rimam, 50 km from Kuwait City, adjacent to Highway 80.

C.2	SITE CONDITIONS

C.2.1	Soil

Based on a geotechnical report of the Kuwait Station site, the following soil properties shall be considered:

Net Allowable soil bearing pressure: 		            294.3 kPa

Sulfates (parts per million):	                                       2400 ppm			            Chlorides (parts per million):			   	  110 ppm			        pH:							 		           7.6

C.2.2	RF SAFETY

The contractor also shall ensure that all work is performed in accordance with both the transmitting station’s RF safety plan and the applicable OSHA guidelines for human exposure to Non-ionizing electromagnetic radiation.

C.2.3    WORK SCHEDULE

The installation is being performed at a working transmitting facility. The contractor is required to coordinate all construction activities with IBB Kuwait transmitting station Manager. The contractor shall not disrupt or interfere with the station’s ongoing broadcast mission.

C.3	Material

C.3.1    The Contractor shall use Type V, high-sulfite-resisting Portland cement with clean water at a maximum water to cement ratio of 0.45.

C.3.3	The Contractor shall use reinforcing bars of ASTM A615 Grade 60 or equivalent.

C.4	DESCRIPTION OF WORK TO BE PERFORMED:

C.4.1	This project consists of excavating (Digging) foundations, assembling reinforcing steel rebar cages, installing wooden forms, and pouring concrete for transmission line poles in accordance with the foundation designs in Attachment A.

C.4.2	The Contractor shall provide transportation for all material and staff performing work at the site.

C.4.3	The Contractor shall provide storage for all tools and material to be housed at the site.

C.4.4	The Contractor shall provide all material, labor, tools, and supervision necessary to construct the foundations described in the table below.

C.4.5	The Contractor shall provide documented compression strength tests for each foundation showing a minimum compression strength of 20MPH after 14 days.

| Foundation Type | Width [meters] | Length [meters] | Depth [meters] | Volume [cubic meters] | qty | subtotal |
| --- | --- | --- | --- | --- | --- | --- |
| SP 1 "pole block" | 1.3 | 1 | 1 | 1.3 | 11 | 14.3 |
| A "back stay" | 2 | 1 | 1.2 | 2.4 | 11 | 26.4 |
| G 1 "pole block" | 1.6 | 2.7 | 1 | 4.32 | 1 | 4.32 |
| G 2 "back stay" | 2 | 1.5 | 1.3 | 3.9 | 1 | 3.9 |
| L "pole block" | 1.5 | 2.5 | 1 | 3.75 | 1 | 3.75 |
| BP 7 "back stay" | 2 | 1.5 | 1.3 | 3.9 | 1 | 3.9 |
| Balun Foundation | 1 | 3 | 2 | 6 | 1 | 6 |
|  |  |  | Total Concrete [cubic meters] |  |  | 62.57 |

.