US Embassy, Astana / Kazakhstan

STATEMENT OF WORK

FOR

Tennis Court Resurfacing Project

1.0 INTRODUCTION

1.1 The U.S. American Embassy in Astana requests contract services to repair by replacing the existing concrete tennis court-acrylic surface with professional graded acrylic topcoat.

1.2 The facility is located in Astana, Koshkarbayev str. 3. All site visits, pre-inspections and details regarding the Tennis Court location shall be requested through the Embassy’s Facility Manager [FM] or Contracting Officer Representative [COR].

2.0 GENERAL REQUIREMENTS

2.1 The US Embassy is in the process to renovate the existing tennis court. Project includes removal of existing court surface materials consisting of an area of 28.4m x 37.2m along with any loose concrete or acrylic flakes, including removal/disposal of materials.

2.1a; All materials for the new tennis court surface preparation with leveling compounds, repairs materials for any cracks, spalls’ or holes and installation of the new acrylic top coat shall be supplied by contractor. Topcoat color will be Blue with white lines in standard International Tennis Association format (fig. 2) and surrounding surface in green color.

2.2 Work shall be completed as expeditiously as possible. Contractor shall coordinate with Contracting Officer for work phasing and job sequencing with work commencing and completing in each unit in a sequential manner.

2.3 Contractor may be allowed to overlap phases upon exhibition of sufficient capability to execute the project simultaneously at multiple stages with the approval of the Contracting Officer [CO].

3.0 DESIGN REQUIREMENTS

3.1 The Contractor shall design and perform the new tennis court flooring with removal of existing materials and; replacing with professional grade acrylic coating, repair and leveling of existing surface and painting of all court lines as approved by the U.S. Government (Embassy).

3.2 The contractor shall provide and install telescoping net poles to allow for multi-use capabilities such as tennis, badminton and volleyball, such as Versa court systems.     http://www.versacourt.com/net-systems.html

3.3 The Contractor shall be responsible for the professional quality, technical accuracy, and the coordination of all designs, drawings, specifications, and other services furnished under this contract. The work shall be executed in a diligent manner in accordance with a negotiated firm fixed price and performance period. The period of performance for all Phases of the project shall be completed in 60 days from Contract Awarded.

3.4 The Contractor shall be required to prepare and submit reports, bill of materials, product literature, drawings, specifications, quality control schedules, safety plan and construction costs. These documents shall provide the necessary interfaces, coordination, and communication between the Embassy and Contractor for the delivery of a completed project.

4.0 WORK REQUIREMENTS

4.1 No activities shall begin until approvals of the Pre-Agreed Submittals for product materials are accepted by the COR.

4.2 All materials and equipment incorporated into the project shall be new unless noted otherwise. The Contractor shall transport and safeguard all materials and equipment required for this project.

4.3 The Contractor shall be responsible for all required materials not provided by the Embassy, equipment and personnel to manage, administer, and supervise the project. All workmanship shall be of good quality and performed in a skillful manner as determined by the COR.

4.4 The Contractor will be provided with a storage and staging area as determined by the COR. The Contractor shall be responsible for restoring the area to its original condition at the completion of the work. The Contractor shall be responsible for repair of any damage incurred to buildings or pavement as a result of storage activities. The Contractor is responsible for obtaining any additional off compound storage areas as required.

4.5 The Contractor shall at all times keep the work area free from accumulation of waste materials. Upon completing construction, the Contractor shall remove all temporary facilities and leave the project site in a clean and orderly condition acceptable to the COR.

5.0 PROJECT SECURITY

5.1 The work to be performed under this contract requires that the Contractor, its employees and sub-contractors submit corporate, financial and personnel information for review by the Embassy. Information submitted by the Contractor will not be disclosed beyond the Embassy.

5.2 The Contractor shall submit this information including construction vehicle requirements within 10 days of the Notice to Proceed.

5.3 All security requirements required by the Embassy Regional Security Officer shall be followed including requirement for name checks in advance of entry onto the site, access requests and identification of vehicles and materials coming on and off the site. Information for personnel and equipment requiring access to the Embassy compound must be submitted at least 7 days prior to the date of site entry.

6.0 KEY PLAN

Fig. 1

Fig. 2 International Tennis Association Court Dimensions

Fig. 3 example of final surface product – lettering not included