Embassy of the United States of America

San Salvador, El Salvador, C.A.

September 5, 2018

Dear Prospective Offeror/Quoter:

The American Embassy San Salvador, has a requirement to provide Solar Panels and to install them at CSL Comalapa parking lot roof, per attached specifications.  You are invited to submit a quotation.  The Request for Quotations (RFQ) consists of the following sections:

- Standard Form SF-18

- Basic information and specifications.

The Embassy plans to award a purchase order.  You are encouraged to make your quotation competitive.  You are also cautioned against any collusion with other potential offerors with regard to price quotations to be submitted.  The RFQ does not commit the American Embassy to make any award.  The Embassy may cancel this RFQ or any part of it.

A site visit has been scheduled on September 12, 2018 at 10:00 a.m., at CSL Comalapa,  Confirm your participation to:  melarame@state.gov with 24 hours in advance.

Please read the RFQ carefully, and if you are interested, submit your quotation.   Return the completed SF-18 to the address shown in Block 5a of the SF-18 by September 19, 2018 at 10:00 a.m.  Oral or late quotations will not be accepted.

Sincerely,

Debra L. Shea

Contracting Officer

Enclosure:

As Stated.

| REQUEST FOR QUOTATIONS (THIS IS NOT AN ORDER) |  |  |  |  | THIS RFQ [ ] IS [x] IS NOT A SMALL BUSINESS- SMALL PURCHASE SET-ASIDE (52.219-4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PAGE 1 |  | OF ¦ ¦ |  | PAGES 13 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. REQUEST NO. 19ES60-18-Q-0101 |  |  | 2. DATE ISSUED 09/05/2018 |  |  |  |  |  | 3. REQUISITION/PURCHASE REQUEST NO. PR7529810 |  |  |  |  |  |  | 4. CERT. FOR NAT. DEF. UNDER BDSA REG. 2 AND/OR DMS REG. 1 |  |  |  |  | RATING |  |  |  |  |  |
| 5A. ISSUED BY General Services Office, American Embassy, Blvd. y Urb. Santa Elena, Antiguo Cuscatlán, El Salvador |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 6. DELIVER BY (Date) |  |  |  |  |  |  |  |  |  |  |  |  |
| 5B. FOR INFORMATION CALL: (Name and telephone no.) (No collect calls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 7. DELIVERY FOB DESTINATION X OTHER (See Schedule) |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME Mayra Melara |  |  |  |  |  |  |  |  |  | TELEPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | AREA CODE |  |  | NUMBER 2501-2806 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. TO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9. DESTINATION |  |  |  |  |  |  |  |  |  |  |  |  |
| a. NAME |  |  |  |  |  |  | b. COMPANY |  |  |  |  |  |  |  | a. NAME OF CONSIGNEE AMERICAN EMBASSY |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | b. STREET ADDRESS Blvd. y Urb. Santa Elena, Ant. Cuscatlan |  |  |  |  |  |  |  |  |  |  |  |  |
| d. CITY |  |  |  |  |  |  |  | e. STATE |  |  |  |  | f. ZIP CODE |  |  | c. CITY El Salvador |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | d. STATE |  | e. ZIP CODE |  |  |  |  |  |  |  |  |  |  |
| 10. PLEASE FURNISH QUOTATIONS TO THE ISSUING OFFICE IN BLOCK 5A ON OR BEFORE CLOSE OF BUSINESS (Date) September 19, 2018 at 10:00 a.m. |  |  |  | IMPORTANT: This is a request for information, and quotations furnished are not offers. If you are unable to quote, please so indicate on this form and return it to the address in Block 5A. This request does not commit the Government to pay any costs incurred in the preparation of the submission of this quotation or to contract for supplies or services. Supplies are of domestic origin unless otherwise indicated by quoter. Any representations and/or certifications attached to this Request for Quotations must be completed by the quoter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. SCHEDULE (Include applicable Federal, State and local taxes) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEM NO. (a) | SUPPLIES/SERVICES (b) |  |  |  |  |  |  |  |  |  | QUANTITY (c) |  |  | UNIT (d) |  |  | UNIT PRICE (e) |  |  |  |  |  | AMOUNT (f) |  |  |  |
| 1 | Provide a quotation for solar panels to be installed at CSL Comalapa parking lot roof, as per attached technical specifications. Quotations to be delivered via email to melarame@state.gov No late proposals will be accepted. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | US$ |  |  |  |  |  | US$ |  |  |  |
| 12 DISCOUNT FOR PROMPT PAYMENT |  |  |  |  | a. 10 CALENDAR DAYS % |  |  |  |  |  | b. 20 CALENDAR DAYS % |  |  | c. 30 CALENDAR DAYS % |  |  |  |  |  | d. CALENDAR DAYS |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NUMBER |  |  |  |  | % |  |
| NOTE: Additional provisions and representations [ ] are [ x ] are not attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 NAME AND ADDRESS OF QUOTER |  |  |  |  |  |  |  |  |  |  |  | 14 SIGNATURE OF PERSON AUTHORIZED TO SIGN QUOTATION |  |  |  |  |  |  | 15 DATE OF QUOTATION |  |  |  |  |  |  |  |
| a. NAME OF QUOTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  | 16. SIGNER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. COUNTY |  |  |  |  |  |  |  |  |  |  |  | a. NAME (Type or print) |  |  |  |  |  |  |  |  | b. TELEPHONE |  |  |  |  |  |
| d. CITY |  | e. STATE |  |  |  | f. ZIP CODE |  |  |  |  |  | c. TITLE (Type or print) |  |  |  |  |  |  |  |  | AREA CODE |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | NUMBER |  |  |  |  |  |

STANDARD FORM 18

SCOPE OF WORK

INSTALLATION OF NEW SOLAR PANELS ON TOP OF THE PARKING LOT COVER AREA AT CSL COMALAPA, EL SALVADOR

- General Information

  - The Contractor shall furnish all labor, supervision, management, tools, materials, equipment, facilities, transportation, incidental engineering, and other items necessary to provide the services outlined below and described in this Scope of Work at the Cooperative Security Location (CSL), Comalapa Air Base, El Salvador.

  - The information provided in this Scope of Work (SOW) is intended to guide design and installation by establishing existing conditions and desired character, appearance, and function of the required solar panels. Drawings included in this SOW include site location plans.

  - The Contractor shall design and prepare complete documents for all work for the installation of solar panels on top of existing solid roof structure.

  - The project shall be done considering high quality, durability and easily maintainable systems, devices, and materials. The Contractor shall be responsible for the professional quality, code compliance, and technical accuracy of the project.

  - Work includes all specifications provided in this document including the information shown in the annexes.

In general, the contractor shall:

  - Supply and install 220 solar panels located over the top of the parking lot cover, separated in three sections or modules. The expected nominal power shall be at least 70 kWP. Work includes connecting the sections to 4 inverters and then to the existing solar panels metering panel located as shown in the drawings of the annexes.

- New Solar Panels System Specifications.

  - General Requirements

    - Site Work. Site work shall be accomplished in general accordance with the criteria drawings and project Technical Specifications. Site conditions shall remain unchanged other than the new work required and all surfaces completely repaired, patched and brought back to its original integrity and appearance. The Contractor shall verify all existing grades, elevations, and dimensions and shall verify the exact locations of structures prior to commencement of site construction operations. Any conflicts with existing conditions affecting the Contractor’s design for proposed improvements shall be brought to the attention of the Contracting Officer’s Representative immediately. It shall be the Contractor’s responsibility to locate any conflicts with proposed installation for all facilities and systems awarded. Minor modifications may be allowed for any suggested changes to the site location, utilities, or any other site improvements associated with the project as shown on the criteria drawings and as specified herein that the Contractor believes is necessary for satisfactory operation or functionality of the proposed project.

    - Temporary Facilities and Material Storage. Any temporary worker facilities required during installation shall be the responsibility of the Contractor at his own expense. Proposed locations for any required temporary facilities and material stockpiles shall be submitted to the Contracting Officer’s Representative for review and approval prior to commencement of construction. All material stockpiles shall be properly maintained and shall be removed from regular vehicular or pedestrian traffic areas. All temporary facilities and residual materials shall be removed from the site prior to final acceptance.

    - Existing structures. The existing parking lot facility has enough structural load capacity to be used as the new solar panels base. As built drawings and specifications for that facility is available at CSL Comalapa.

    - Concrete for electrical boxes/manholes shall have the following properties:

      - Normal weight concrete, W = 2325 kg/m3.

      - f’c = 30 MPa (4000 PSI) at 28 days.

    - All reinforcement steel shall be deformed bars conforming to ASTM A615M, 616M or A617M, grade 40 KSI.

    - All concrete and steel materials if needed should conform to the following codes, regulations, standards and recommended practices. Latest edition at time of request for proposals should govern.

      - ANSI American National Standards Institute Standards

      - ASTM American Society of Testing and Materials

      - ACI American Concrete Institute

  - Electrical Systems

    - Electrical equipment installation must be evaluated considering adequacy of performance, safety, and reliability. As a minimum, the following shall be provided for in the power system installation:

      - Adequate working space

      - Easy access for inspection

      - Easy access for sampling & testing

      - Disconnecting means for protection of workmen

      - Warning signs

      - Circuit lock-out features

      - Safety instructions

    - All interior electrical systems shall be designed to the latest industry standards, codes, government regulations, and as specified herein. Installation of all electrical system equipment, materials, components and devices shall conform to the approved Contractor’s design. The highest quality products and materials, safe and efficient construction methods, and skilled workmen shall be used to construct the approved electrical systems.

    - Generally, the interior wiring systems shall be in accordance with the proper codes and requirements. All wiring shall be protected by a raceway system, concealed with flush mounted boxes. Low voltage conductors unless noted otherwise shall be rated at 600 volts, selection based upon an ambient temperature of 30 degrees C, sizes selected based upon 60-degree C insulation for all sizes #1 and smaller and 75-degree C insulation for all 1/0 and larger and generally as follows:

Material: Copper only.

Minimum Size: #12 AWG

Type: Single insulated conductor.

Size: Conductor size should be based upon the following:

Current Loading

Ambient air temperature

Maximum conductor temperature rating, wet or dry

Cable construction

Voltage drop

Available short circuit current

Temperature rating of equipment terminations

Minimum size of #12 AWG

Low voltage conductors for nonlinear loads should be based on the use of 75 degrees C insulated conductors for branch circuits and feeders.

Low voltage wiring raceway systems shall be a minimum of 16mm and generally be as follows:

Interior: EMT

Exterior Below Grade: PVC coated Rigid Metallic Conduit or rigid PVC

Exterior Above Grade: Rigid Metallic Conduit

Interior wall penetrations shall be patched, repaired, painted, and brought back to match existing in appearance.

    - Grounding systems shall be designed and constructed in accordance with project criteria.

    - The connection point for all electrical power is the electrical panel labeled located inside the existing power generator house next to the existing solar panels connection point. The installation shall include all required materials and labor to connect this new system to the CSL’s existing electrical system.

    - The design and installation of all electrical system equipment, materials, components and devices should conform to the following codes, regulations, standards and recommended practices. Latest edition at time of request for proposals should govern.

      - ANSI American National Standards Institute Standards

      - ASTM American Society of Testing and Materials

      - EIA Electronic Industries Association

      - EPACT Energy Policy Act of 2005

      - IBC International Building Code

      - IEEE Institute of Electrical and Electronic Engineers

      - NEMA National Electrical Manufacturer’s Association

      - 01 10 10C Design Requirements - Page 13 of 17

      - NESC National Electrical Safety Code

      - NEC National Electric Code

      - NFPA National Fire Protection Association Codes and Standards

      - UFC 4-010-01 DoD Minimum Antiterrorism Standards for Buildings.

      - UL Underwriter’s Laboratories

  - Solar panels component requirements

    - The dimensions for each section, number of panels per section and panel’s slope is shown below:

| Section | Area (m2) | Modules | Slope |
| --- | --- | --- | --- |
| 1 | 252 | 120 | 5% |
| 2 | 112 | 45 | 5% |
| 3 | 130 | 55 | 5% |
| Total | 494 | 220 |  |

    - The specifications for the three phase inverters are the following:

| Section | Inverters | Model (or similar) | MPPT A / B |
| --- | --- | --- | --- |
| 1 | 2 | SYMO 20.0-3/480 | 4x15 |
| 2 | 1 | SYMO 15.0-3/480 | 3x15 |
| 3 | 1 | SYMO 15.0-3/480 | 3x15/1x10 |
| Total | 4 |  |  |

    - Each panel shall have a total of 72 cells. Each cell shall be square of 150 x 150 mm dimensions and panels shall include all accessories: Frames, back sheet and junction box.

    - Panels shall have a module fire performance of Class I, glass shall be antireflective and storm water resistant.

- As Built Drawings and O&M Manual.

  - Contractor shall provide a complete set of design, schematic and manufacturer drawings for each component of the system installation and the new facility building. Updated As-Built Drawings, Operations and Maintenance Manuals (in English and Spanish) of the system components and the building shall be provided at the end of the project. Operation and Maintenance (O&M) Data for the provided equipment, defining the importance of system interactions, troubleshooting, and long-term preventive operation and maintenance.

- Warranty.

  - A minimum of a one year warranty period is required. The warranty shall start at the time of project completion and acceptance by the US Navy COR representative. The contractor shall provide the CSL with a copy of the warranty and points of contacts for any warranty issues. Warranty issues must be responded to within 24 hours from time of notification. The warranty shall cover the entire installed system to include all systems, sub-systems, assemblies, sub-assemblies, parts, labor, and preventive maintenance required to maintain the warranty. Within 30 days of warranty expiration, the contractor shall conduct a joint warranty inspection with the CSL to ensure there are no warranty defects prior to the warranty’s expiration.

- Site Visit.

  - During the site visit the contractor is required to verify the conditions, existing facility’s measurements and submit their design drawings with the proposal.

Site visit date:  September 12, 2018, 10:00 a.m.

Location:  COMUSNAVSO FOL El Salvador

2a. Brigada Aerea, Centro de Monitoreo Comalapa

Comalapa, La Paz

El Salvador.

- Contractor Responsibilities.

  - Contractor shall furnish all transportation, equipment, tools and any other items and all services to perform all operations required by this statement of work.

  - Contractor shall provide a fully qualified on-site manager who shall be responsible for the performance of work. The project manager shall have full authority to act for the contractor. The project manager shall be on-site during normal work hours and for contingencies requiring work beyond normal work hours.

  - Prior to commencement of work, Contractor shall provide names of all individuals assigned to the work crew, and all vehicle information needed for the job to the CSL Security Officer.

  - Contractor will ensure that at the end of each workday all associated tools and materials are removed or stored neatly and securely as not to prevent day to day operations.

  - On-site inspections and quality control will be conducted by the contractor during the work hours. Proof of these inspections shall be provided the COR. Prior to completion, the contractor and Navy shall conduct a joint inspection to ensure all work was completed adequately and within specifications.

  - Contractor will be financially responsible for any damage done by his workers to the CSL property and materials included in this work.

- Schedule.

  - Normal daytime work hours at CSL are from 0800 to 1600 Monday through Friday, excluding American and Salvadoran observed holidays. Contractor may be authorized to work outside of these hours only with proper coordination 48 hours in advance and government approval.

  - Before commencing work, the Contractor shall submit a project schedule with estimated completion date.

- Security.

  - The contractor shall follow existing security procedures and instructions applicable to CSL COMALAPA. The contractor shall be responsible for the physical security of all materials, supplies and equipment, including property that he is utilizing.

  - Pass Requirements: Contractor is responsible for providing the CSL Security Officer with a list of company personnel that will be used to execute the contract. The list must contain the following information on each person:

    - Name, nationality and Identification Number

    - Time period during which the individual will require a pass.

    - Proof of satisfactory personnel background through the Salvadoran Policia Nacional Civil Report and Ministry of Justice Report (Ministerio de Justicia y Seguridad Publica Dirección General de Centros Penales).

    - Other documentation required by the CSL Security Officer may be requested.

  - Vehicles

Contractor is responsible for providing the CSL Security Officer with the descriptions of any vehicles to be used during the execution of the contract.  The information on each vehicle must include:

    - Make, model, year and color.

    - Plate number and registration.

  - Contractor Personnel

Contractor personnel shall follow all applicable security escort instructions to include the following rules of engagement:

    - All Contractor personnel will wear a badge issued by CSL at all times while on the installation.  The contractors shall return their issued badges to security dispatch when leaving the installation.

    - Contractor personnel will only work on the designated area. While on this area, Contractor personnel must be under escort at all times.  If for any reason Contractor personnel are separated from their escort, Contractor personnel must report back to the entry control point.

    - Contractor personnel will not be allowed into any areas, especially office areas without proper escort.

    - The following items are prohibited: wear of any type of military uniform; contraband (weapons, drugs, etc.); cellular telephones; still cameras or video recording devices. No pictures shall be taken inside or outside the facilities without the approval of the CSL Security Officer.

- NOTE -

THE CSL SECURITY OFFICER HAS THE RIGHT TO REFUSE ENTRANCE TO ANY CONTRACTOR PERSONNEL NOT IN COMPLIANCE WITH INSTALLATION GUIDELINES

- Accident Prevention and Safety

  - All vehicles operated by the Contractor will obey all traffic signs, speed limits and laws while transiting through the Salvadoran Segunda Brigada base and CSL installation.

  - The prevention of fire is imperative during construction projects. The contractor is responsible for enforcing fire safety in his work area.

  - The contractor shall have serviceable fire extinguisher readily available at all times.

  - The contractor shall adhere to all fall protection safety regulations required.

  - The contractor shall conduct daily safety inspections while on site.

  - Accident notification:  Notify the Contracting Officer as soon as practical, but not later than four hours, after any accident meeting the definition of Recordable Injuries or Illnesses or High Visibility Accidents, property damage equal to or greater than $2,000, or any weight handling equipment accident.  Within notification include contractor name; contract title; type of  contract; name of activity, installation or location where accident occurred; date and time of accident; names of personnel injured; extent of property damage, if any; extent of injury, if known, and brief description of accident (to include type of construction equipment used, PPE used, etc.). Preserve the conditions and evidence on the accident site until the Government investigation team arrives on-site and Government investigation is conducted.

  - The contractor must meet the following U.S. safety requirement and standards:

    - AMERICAN SOCIETY OF SAFETY ENGINEERS (ASSE/SAFE)

      - ASSE/SAFE A10.32 (2004) Fall Protection

      - ASSE/SAFE A10.34 (2001; R 2005) Protection of the Public on or Adjacent to Construction Sites

      - ASSE/SAFE Z359.1 (2007) Safety Requirements for Personal Fall Arrest Systems, Subsystems and Components

    - NATIONAL FIRE PROTECTION ASSOCIATION (NFPA)

      - NFPA 10 (2007; Errata 2007; AMD 1 2007) Standard for Portable  Fire Extinguishers

      - NFPA 70 (2007; AMD 1 2008) National Electric Code – 2008 Edition

      - NFPA 70E (2008) Electrical Safety in the Workplace

    - U.S. ARMY CORPS OF ENGINEERS (USACE)

      - EM 385-1-1 (2008) Safety and Health Requirements Manual

- Work Completion and POC

  - Prior to final acceptance of work completed and issuance of payment, Contractor will    ensure the work area is clean of any debris that were generated during the installation   project and that the work site is returned to its original pre-installation condition.

  - Contractor shall do a complete system test and certification

- Annexes (See next page)

ANNEX #1 – EXISTING PARKING LOT FACILITY AND NEW SOLAR PANELS AREA (NTS)

Existing Bus Stop Facility

CSL’s Parking Lot Cover Area

ANNEX #2 – NEW CONNECTION DETAILS (NTS)

New Solar Panels Area

New Inverters location

New proposed connection lines

Admin. Bldg.

Connection to existing facility

Payment Terms:  Net 30 days after goods received.

IMPORTANT NOTE:  In order to be eligible for award, vendors must be registered in the US Government System for Award Management (SAM).  Please visit this for our QUICK GUIDE FOR CONTRACTOR REGISTRATION:

http://photos.state.gov/libraries/elsavador/892757/MICLASON/Quick_Guide_for_Contract_Registrations.pdf

If you are not registered in SAM, you will not be eligible for award.

Evaluation Factors:

Award will be made to the lowest priced, acceptable, responsible quoter.

The Government will determine acceptability by assessing the offeror's compliance with the terms of the RFQ.  The Government will determine responsibility by analyzing whether the apparent successful quoter complies with the requirements of FAR 9.1, including:

- ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

- satisfactory record of integrity and business ethics;

- necessary organization, experience, and skills or the ability to obtain them;

- necessary equipment and facilities or the ability to obtain them; and

- otherwise qualified and eligible to receive an award under applicable laws and regulations.

FAR 52.252-2 Clauses Incorporated By Reference (FEB 1998)

This purchase order or BPA incorporates the following clauses by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this address:  https://www.acquisition.gov/far

DOSAR clauses may be accessed at:  http://www.statebuy.state.gov/dosar/dosartoc.htm

# FEDERAL ACQUISITION REGULATION (48 CFR Chapter 1) CLAUSES

| NUMBER | TITLE | DATE |
| --- | --- | --- |
| 52.204-9 | Personal Identity Verification of Contractor Personnel (if contractor requires physical access to a federally-controlled facility or access to a Federal information system) | JAN 2011 |
| 52.212-4 | Contract Terms and Conditions – Commercial Items (Alternate I (OCT 2008) of 52.212-4 applies if the order is time-and-materials or labor-hour) | SEPT 2013 |
| 52.225-19 | Contractor Personnel in a Diplomatic or Consular Mission Outside the United States (applies to services at danger pay posts only) | MAR 2008 |
| 52.225-25 | Prohibition on Contracting with Entities Engaging in Sanctioned Activities Relating to Iran – Representation and Certification (applies to acquisitions above the micropurchase threshold) | DEC 2012 |
| 52.227-19 | Commercial Computer Software License (if order is for software) | DEC 2007 |
| 52.228-3 | Workers’ Compensation Insurance (Defense Base Act) (if order is for services and contractor employees are covered by Defense Base Act insurance) | APR 1984 |
| 52.228-4 | Workers’ Compensation and War-Hazard Insurance (if order is for services and contractor employees are not covered by Defense Base Act insurance) | APR 1984 |

The following clause is provided in full text:

52.212-5  	Contract Terms and Conditions Required to Implement Statutes or Executive Orders—Commercial Items (Sept 2013)

(a) The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clauses, which are incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

(1) 52.222-50, Combating Trafficking in Persons (Feb 2009) (22 U.S.C. 7104(g)).

___Alternate I (Aug 2007) of 52.222-50 (22 U.S.C. 7104(g)).

(2) 52.233-3, Protest After Award (Aug 1996) (31 U.S.C. 3553).

(3) 52.233-4, Applicable Law for Breach of Contract Claim (Oct 2004) (Pub. L. 108-77, 108-78).

(b) The Contractor shall comply with the FAR clauses in this paragraph (b) that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

[Contracting Officer: check as appropriate]

__ (1) 52.203-6, Restrictions on Subcontractor Sales to the Government (Sept 2006), with Alternate I (Oct 1995) (41 U.S.C. 253g and 10 U.S.C. 2402).

__ (2) 52.203-13, Contractor Code of Business Ethics and Conduct (Apr 2010) (Pub. L. 110-252, Title VI, Chapter 1 (41 U.S.C. 251 note)).

__ (3) 52.203-15, Whistleblower Protections under the American Recovery and Reinvestment Act of 2009 (June 2010) (Section 1553 of Pub. L. 111-5). (Applies to contracts funded by the American Recovery and Reinvestment Act of 2009.)

__ (4) 52.204-10, Reporting Executive Compensation and First-Tier Subcontract Awards (Jul 2013) (Pub. L. 109-282) (31 U.S.C. 6101 note).

__ (5) 52.204-11, American Recovery and Reinvestment Act—Reporting Requirements (Jul 2010) (Pub. L. 111-5).

__ (6) 52.209-6, Protecting the Government’s Interest When Subcontracting with Contractors Debarred, Suspended, or Proposed for Debarment. (Aug 2013) (31 U.S.C. 6101 note).

__ (7) 52.209-9, Updates of Publicly Available Information Regarding Responsibility Matters (Jul 2013) (41 U.S.C. 2313).

__ (8) 52.209-10, Prohibition on Contracting with Inverted Domestic Corporations (May 2012) (section 738 of Division C of Pub. L. 112-74, section 740 of Division C of Pub. L. 111-117, section 743 of Division D of Pub. L. 111-8, and section 745 of Division D of Pub. L. 110-161).

__ (9) 52.219-3, Notice of HUBZone Set-Aside or Sole-Source Award (Nov 2011) (15 U.S.C. 657a).

__ (10) 52.219-4, Notice of Price Evaluation Preference for HUBZone Small Business Concerns (Jan 2011) (if the offeror elects to waive the preference, it shall so indicate in its offer) (15 U.S.C. 657a).

__ (11) [Reserved]

__ (12)(i)  52.219-6, Notice of Total Small Business Set-Aside (Nov 2011) (15 U.S.C. 644).

__ (ii) Alternate I (Nov 2011).

__ (iii) Alternate II (Nov 2011).

__ (13)(i)  52.219-7, Notice of Partial Small Business Set-Aside (June 2003) (15 U.S.C. 644).

__ (ii) Alternate I (Oct 1995) of 52.219-7.

__ (iii) Alternate II (Mar 2004) of 52.219-7.

__ (14) 52.219-8, Utilization of Small Business Concerns (Jul 2013) (15 U.S.C. 637(d)(2) and (3)).

__ (15)(i)  52.219-9, Small Business Subcontracting Plan (Jul 2013) (15 U.S.C. 637(d)(4)).

__ (ii) Alternate I (Oct 2001) of 52.219-9.

__ (iii) Alternate II (Oct 2001) of 52.219-9.

__ (iv) Alternate III (Jul 2010) of 52.219-9.

__ (16) 52.219-13, Notice of Set-Aside of Orders (Nov 2011)(15 U.S.C. 644(r)).

__ (17) 52.219-14, Limitations on Subcontracting (Nov 2011) (15 U.S.C. 637(a)(14)).

__ (18) 52.219-16, Liquidated Damages—Subcontracting Plan (Jan 1999) (15 U.S.C. 637(d)(4)(F)(i)).

__ (19)(i)  52.219-23, Notice of Price Evaluation Adjustment for Small Disadvantaged Business Concerns (Oct 2008) (10 U.S.C. 2323) (if the offeror elects to waive the adjustment, it shall so indicate in its offer).

__ (ii) Alternate I (June 2003) of 52.219-23.

__ (20) 52.219-25, Small Disadvantaged Business Participation Program—Disadvantaged Status and Reporting (Jul 2013) (Pub. L. 103-355, section 7102, and 10 U.S.C. 2323).

__ (21) 52.219-26, Small Disadvantaged Business Participation Program— Incentive Subcontracting (Oct 2000) (Pub. L. 103-355, section 7102, and 10 U.S.C. 2323).

__ (22) 52.219-27, Notice of Service-Disabled Veteran-Owned Small Business Set-Aside (Nov 2011) (15 U.S.C. 657 f).

__ (23)  52.219-28, Post Award Small Business Program Rerepresentation (Jul 2013) (15 U.S.C. 632(a)(2)).

__ (24) 52.219-29, Notice of Set-Aside for Economically Disadvantaged Women-Owned Small Business (EDWOSB) Concerns (Jul 2013) (15 U.S.C. 637(m)).

__ (25) 52.219-30, Notice of Set-Aside for Women-Owned Small Business (WOSB) Concerns Eligible Under the WOSB Program (Jul 2013) (15 U.S.C. 637(m)).

__ (26) 52.222-3, Convict Labor (June 2003) (E.O. 11755).

_X_ (27) 52.222-19, Child Labor—Cooperation with Authorities and Remedies (Mar 2012) (E.O. 13126).

__ (28) 52.222-21, Prohibition of Segregated Facilities (Feb 1999).

__ (29) 52.222-26, Equal Opportunity (Mar 2007) (E.O. 11246).

__ (30) 52.222-35, Equal Opportunity for Veterans (Sep 2010)(38 U.S.C. 4212).

__ (31) 52.222-36, Affirmative Action for Workers with Disabilities (Oct 2010) (29 U.S.C. 793).

__ (32) 52.222-37, Employment Reports on Veterans (Sep 2010) (38 U.S.C. 4212).

__ (33) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (Dec 2010) (E.O. 13496).

__ (34) 52.222-54, Employment Eligibility Verification (Jul 2012). (Executive Order 12989). (Not applicable to the acquisition of commercially available off-the-shelf items or certain other types of commercial items as prescribed in 22.1803.)

__ (35)(i)  52.223-9, Estimate of Percentage of Recovered Material Content for EPA–Designated Items (May 2008) (42 U.S.C. 6962(c)(3)(A)(ii)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

__ (ii) Alternate I (May 2008) of 52.223-9 (42 U.S.C. 6962(i)(2)(C)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

__ (36) 52.223-15, Energy Efficiency in Energy-Consuming Products (Dec 2007) (42 U.S.C. 8259b).

__ (37)(i)  52.223-16, IEEE 1680 Standard for the Environmental Assessment of Personal Computer Products (Dec 2007) (E.O. 13423).

__ (ii) Alternate I (Dec 2007) of 52.223-16.

__ (38) 52.223-18, Encouraging Contractor Policies to Ban Text Messaging While Driving (Aug 2011) (E.O. 13513).

__ (39) 52.225-1, Buy American Act—Supplies (Feb 2009) (41 U.S.C. 10a-10d).

__ (40)(i)  52.225-3, Buy American Act—Free Trade Agreements—Israeli Trade Act (Nov 2012) (41 U.S.C. chapter 83, 19 U.S.C. 3301 note, 19 U.S.C. 2112 note, 19 U.S.C. 3805 note, 19 U.S.C. 4001 note, Pub. L. 103-182, 108-77, 108-78, 108-286, 108-302, 109-53, 109-169, 109-283, 110-138, 112-41, 112-42, and 112-43).

__ (ii) Alternate I (Mar 2012) of 52.225-3.

__ (iii) Alternate II (Mar 2012) of 52.225-3.

__ (iv) Alternate III (Nov 2012) of 52.225-3.

__ (41) 52.225-5, Trade Agreements (Sept 2013) (19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note).

__ (42) 52.225-13, Restrictions on Certain Foreign Purchases (June 2008) (E.O.’s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury).

__ (43) 52.225-26, Contractors Performing Private Security Functions Outside the United States (Jul 2013) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. 2302 Note).

__ (44) 52.226-4, Notice of Disaster or Emergency Area Set-Aside (Nov 2007) (42 U.S.C. 5150).

__ (45) 52.226-5, Restrictions on Subcontracting Outside Disaster or Emergency Area (Nov 2007) (42 U.S.C. 5150).

__ (46) 52.232-29, Terms for Financing of Purchases of Commercial Items (Feb 2002) (41 U.S.C. 255(f), 10 U.S.C. 2307(f)).

__ (47) 52.232-30, Installment Payments for Commercial Items (Oct 1995) (41 U.S.C. 255(f), 10 U.S.C. 2307(f)).

_X_ (48) 52.232-33, Payment by Electronic Funds Transfer—System for Award Management (Jul 2013) (31 U.S.C. 3332).

__ (49) 52.232-34, Payment by Electronic Funds Transfer—Other than System for Award Management (Jul 2013) (31 U.S.C. 3332).

__ (50) 52.232-36, Payment by Third Party (Jul 2013) (31 U.S.C. 3332).

__ (51) 52.239-1, Privacy or Security Safeguards (Aug 1996) (5 U.S.C. 552a).

__ (52)(i)  52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Feb 2006) (46 U.S.C. Appx. 1241(b) and 10 U.S.C. 2631).

__ (ii) Alternate I (Apr 2003) of 52.247-64.

(c) The Contractor shall comply with the FAR clauses in this paragraph (c), applicable to commercial services, that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

[Contracting Officer check as appropriate.]

__ (1) 52.222-41, Service Contract Act of 1965 (Nov 2007) (41 U.S.C. 351, et seq.).

__ (2) 52.222-42, Statement of Equivalent Rates for Federal Hires (May 1989) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (3) 52.222-43, Fair Labor Standards Act and Service Contract Act—Price Adjustment (Multiple Year and Option Contracts) (Sep 2009) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (4) 52.222-44, Fair Labor Standards Act and Service Contract Act—Price Adjustment (Sep 2009) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (5) 52.222-51, Exemption from Application of the Service Contract Act to Contracts for Maintenance, Calibration, or Repair of Certain Equipment—Requirements (Nov 2007) (41 351, et seq.).

__ (6) 52.222-53, Exemption from Application of the Service Contract Act to Contracts for Certain Services—Requirements (Feb 2009) (41 U.S.C. 351, et seq.).

__ (7) 52.222-17, Nondisplacement of Qualified Workers (Jan 2013) (E.O.13495).

__ (8) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (Mar 2009) (Pub. L. 110-247).

__ (9) 52.237-11, Accepting and Dispensing of $1 Coin (Sept 2008) (31 U.S.C. 5112(p)(1)).

(d)  Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, and does not contain the clause at 52.215-2, Audit and Records—Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR Subpart 4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e)(1) Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c), and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in this paragraph (e)(1) in a subcontract for commercial items. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause—

(i) 52.203-13, Contractor Code of Business Ethics and Conduct (Apr 2010) (Pub. L. 110-252, Title VI, Chapter 1 (41 U.S.C. 251 note)).

(ii) 52.219-8, Utilization of Small Business Concerns (Jul 2013) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds $650,000 ($1.5 million for construction of any public facility), the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(iii) 52.222-17, Nondisplacement of Qualified Workers (Jan 2013) (E.O. 13495). Flow down required in accordance with paragraph (l) of FAR clause 52.222-17.

(iv) 52.222-26, Equal Opportunity (Mar 2007) (E.O. 11246).

(v) 52.222-35, Equal Opportunity for Veterans (Sep 2010) (38 U.S.C. 4212).

(vi) 52.222-36, Affirmative Action for Workers with Disabilities (Oct 2010) (29 U.S.C. 793).

(vii) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (Dec 2010) (E.O. 13496). Flow down required in accordance with paragraph (f) of FAR clause 52.222-40.

(viii) 52.222-41, Service Contract Act of 1965 (Nov 2007) (41 U.S.C. 351, et seq.).

_X_  (ix) 52.222-50, Combating Trafficking in Persons (Feb 2009) (22 U.S.C. 7104(g)).

___Alternate I (Aug 2007) of 52.222-50 (22 U.S.C. 7104(g)).

(x) 52.222-51, Exemption from Application of the Service Contract Act to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (Nov 2007) (41 U.S.C. 351, et seq.).

(xi) 52.222-53, Exemption from Application of the Service Contract Act to Contracts for Certain Services-Requirements (Feb 2009) (41 U.S.C. 351, et seq.).

(xii) 52.222-54, Employment Eligibility Verification (Jul 2012).

(xiii) 52.225-26, Contractors Performing Private Security Functions Outside the United States (Jul 2013) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. 2302 Note).

(xiv) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (Mar 2009) (Pub. L. 110-247). Flow down required in accordance with paragraph (e) of FAR clause 52.226-6.

(xv) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Feb 2006) (46 U.S.C. Appx. 1241(b) and 10 U.S.C. 2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the contractor may include in its subcontracts for commercial items a minimal number of additional clauses necessary to satisfy its contractual obligations.

(End of clause)

DEPARTMENT OF STATE ACQUISITION REGULATION (48 CFR Chapter 6) CLAUSES

| NUMBER | TITLE | DATE |
| --- | --- | --- |
| 652.225-71 | Section 8(a) of the Export Administration Act of 1979, As Amended (if order exceeds simplified acquisition threshold) | AUG 1999 |
| 652.229-70 | Excise Tax Exemption Statement for Contractors Within the United States (for supplies to be delivered to an overseas post) | JUL 1988 |
| 652.229-71 | Personal Property Disposition at Posts Abroad | AUG 1999 |
| 652.237-72 | Observance of Legal Holidays and Administrative Leave (for services where performance will be on-site in a Department of State facility) | APR 2004 |
| 652.239-71 | Security Requirements for Unclassified Information Technology Resources (for orders that include information technology resources or services in which the contractor will have physical or electronic access to Department information that directly supports the mission of the Department) | SEP 2007 |
| 652.242-70 | Contracting Officer’s Representative (if a COR will be named for the order) Fill-in for paragraph b: “The COR is ___________________” | AUG 1999 |
| 652.242-71 | Notice of Shipments (for overseas shipment of supplies) | JUL 1988 |
| 652.242-73 | Authorization and Performance | AUG 1999 |
| 652.243-70 | Notices | AUG 1999 |

The following clause is provided in full text, and is applicable for orders for services that will require contractor employees to perform on-site at a DOS location and/or that require contractor employees to have access to DOS information systems:

652.204-70    Department of State Personal Identification Card Issuance Procedures 
(MAY 2011)

(a)  The Contractor shall comply with the Department of State (DOS) Personal Identification Card Issuance Procedures for all employees performing under this contract who require frequent and continuing access to DOS facilities, or information systems.  The Contractor shall insert this clause in all subcontracts when the subcontractor’s employees will require frequent and continuing access to DOS facilities, or information systems.

(b)  The DOS Personal Identification Card Issuance Procedures may be accessed at  http://www.state.gov/m/ds/rls/rpt/c21664.htm .

(End of clause)